SUPPLEMENTARY MATERIAL

APPENDIX A

TABLE A1. System parameters @ LCC-HVDC transmission

| Parameters | Rectifier station | Inverter station |
| --- | --- | --- |
| HVDC transmission type | Bipolar and Monopolar |  |
| Transmission capacity (Pdc) in MW | 1000 MW per pole |  |
| Voltage capacity (Ud) kV | ± 500 kV for each pole |  |
| Current capacity (Id) kA | 2 kA per-pole |  |
| Converters classification | LCC | LCC |
| Converter capacity | 1200 MVA per pole | 1200 MVA per pole |
| Grid capacity | 500 kV, 60 Hz, 5000 MVA, | 345 kV, 50 Hz, 10,000 MVA |
| Converter transformers at | 1200 MVA, 60 Hz | 1200 MVA, 50 Hz |
| Smoothing Reactor (Ls) | 0.5 H on the boundaries of each pole | 0.5 H on the boundaries of each pole |
| Capacity of AC Filters at | 1200 Mvar, 60 Hz | 1200 Mvar, 50 Hz |
| Minimum Angle | α = 130 | γ = 180 |
| SCR | 2.5 | 5 |

TABLE A2. Simulated distributed transmission line parameter

| Parameter | Symbol and unit | Rating |
| --- | --- | --- |
| Resistance | R Ω/km | 0.0267 |
| Inductance | L H/km | 0.791e-3 |
| Capacitance | C F/m | 14.3e-9 |
| Length of transmission | Lt km | 900 km |