Supporting information

An open source, PCR based, point-of-care testing platform

Yaping Xie1, Zhou Sha1, Shuaiwu Huang1, Chiwei Yin1, Liangcheng Wan1, Jianjun Li1, Jiangang Ling1, Chang Wu1, and Lizhong Dai1, *

1Research and development department, Sansure Biotech Co., Ltd., Changsha, 410125, China
*lizhongdai@sansure.com.cn

Figure S1 Physical images of various components. (a) Top of the upper shell (b) Bottom of the upper shell (c) PCR chip (d) Detachable reagent rack

Figure S2 The relationship between dye concentration and fluorescence intensity measured in the instrument (a) FAM (b) VIC (c) ROX (d) CY5 (e) Atto 425 (f) CY5.5

Figure S3 Temperature curve used in the detection of HPV viruses.

Figure S4 The software interface of the instrument. By tapping the corresponding area on the touchscreen, users can customize and modify many parameters, which could meet the needs of most PCR tests. During the nucleic acid extraction process, multiple parameters including pipetting volume, pipetting order, temperature, heating time and magnetic attraction mode could be modified. During the nucleic acid amplification process, multiple parameters including program segments, cycles and temperature could be modified.

Figure S5 Detection of the novel coronavirus nucleic acid control dilution with a concentration of 200 copies per milliliter by this cartridge system and SLAN-96P.

Figure S6 Detection of 5 samples with reagents from different providers on this system. The amplification curve and temperature curve of the Beijing Applied reagents on the cartridge system was shown in the two images on the left.

| Fluorescent Dye | Excitation Filter | Emission filter |
| --- | --- | --- |
| Atto 425 | BP440/10 | BP480/10 |
| FAM | BP488/15 | BP515/10 |
| VIC | BP535/10 | BP557/8 |
| ROX | BP580/10 | BP612/20 |
| CY5 | BP635/20 | BP658/10 |
| CY5.5 | BP700/13 | BP742/40 |

Table S1 Parameters of the filters corresponding to six types of fluorescent dyes

| Component | Concentration |
| --- | --- |
| DNA template | 10 ng-1 µg per reaction |
| Primer | 0.1-1 µM |
| dNTPs | 200-500 µM (for each dNTP) |
| Polymerase | 2-4 U/100 µL |
| KCl | 10-50 mM |
| MgCl | 1.5-2.5 mM |
| Tris HCl | 10-50 mM |

Table S2 Recommended reagent concentration for the PCR reaction

Video S1 A short video, which demonstrated the flow of liquids during the nucleic acid extraction, amplification, and detection process in the cartridge visually.