Appendix Table 1. Parameters of different scan sequences.
	Parameters
	T1WI
	T2WI-FS
	DWI
	DCE-MRI

	TR (ms)
	540
	5509
	4000
	5.15

	TE (ms)
	7.92
	84
	66
	2.17

	Matrix
	192×100
	432×100
	192×100
	336×100

	FOV (mm)
	350×190
	[bookmark: OLE_LINK1]340×340
	350×190
	[bookmark: OLE_LINK2]340×340

	Thickness (mm)
	4.0
	4.0
	4.0
	1.0


TR: Repetition time, TE: Echo time, FOV: Field of view, T1WI: T1-weighted imaging, T2WI-FS: Fat-suppression T2-weighted imaging, DWI: Diffusion Weighted Imaging (b=50,800) , DCE-MRI: t1_quick3d_tra_fs _dyn.
[bookmark: _GoBack]Efrist: (S1-S0)/S0.
Vfirst: (S1-S0)/T1.
Smax: Maximum signal intensity after drug administration.
Tpeak: Time required to reach maximum enhancement signal.
Emax: Smax-S0/S0.
Vmax: Smax-S0/Tpeak.
Wash-in: The contrast enhancement rate of the inflow of contrast agent, which is the slope of the rise of the DCE curve.
Wash-out: The contrast attenuation rate of the outflow of the contrast agent is the slope of the DCE curve decline.
SER: Signal enhancement ratio.
S0: The signal intensity before enhancement. 
S1: Signal intensity in phase 1 after enhancement. 
Smax: Maximum signal intensity after enhancement. 
T1: The time required to scan a phase.
Tpeak: The time required for the contrast agent to reach its peak.

