Appendix Table 1. Parameters of different scan sequences.

| Parameters | T1WI | T2WI-FS | DWI | DCE-MRI |
| --- | --- | --- | --- | --- |
| TR (ms) | 540 | 5509 | 4000 | 5.15 |
| TE (ms) | 7.92 | 84 | 66 | 2.17 |
| Matrix | 192×100 | 432×100 | 192×100 | 336×100 |
| FOV (mm) | 350×190 | 340×340 | 350×190 | 340×340 |
| Thickness (mm) | 4.0 | 4.0 | 4.0 | 1.0 |

TR: Repetition time, TE: Echo time, FOV: Field of view, T1WI: T1-weighted imaging, T2WI-FS: Fat-suppression T2-weighted imaging, DWI: Diffusion Weighted Imaging (b=50,800) , DCE-MRI: t1_quick3d_tra_fs _dyn.

Efrist: (S1-S0)/S0.

Vfirst: (S1-S0)/T1.

Smax: Maximum signal intensity after drug administration.

Tpeak: Time required to reach maximum enhancement signal.

Emax: Smax-S0/S0.

Vmax: Smax-S0/Tpeak.

Wash-in: The contrast enhancement rate of the inflow of contrast agent, which is the slope of the rise of the DCE curve.

Wash-out: The contrast attenuation rate of the outflow of the contrast agent is the slope of the DCE curve decline.

SER: Signal enhancement ratio.

S0: The signal intensity before enhancement.

S1: Signal intensity in phase 1 after enhancement.

Smax: Maximum signal intensity after enhancement.

T1: The time required to scan a phase.

Tpeak: The time required for the contrast agent to reach its peak.