## Barcode and Libraries protocol
Nanopore sequencing protocol
For the GridION system, we used the PCR Barcoding Expansion (EXP-PBC001 or EXP-PBC096) with the Ligation Sequencing Kit V14 (SQK-LSK114), which includes a PCR step and is compatible with R10.4.1 flow cells (FLO-MIN114) and flongles (FLO-FLG114). Barcoding and library preparation took 150 minutes of time.
Library preparation
This protocol barcodes amplicons with 5’ PBC tail. For this, it requires the PCR Barcoding Expansion (EXP-PBC001 or EXP-PBC096) with the Ligation Sequencing Kit V14 (SQK-LSK114).
In our particular case, the protocol we followed was the same for Flow cell and Flongle devices only it changed in libraries concentration for loading on each device type.
Phase of barcoding PCR
PCR reaction with 100-200 fmol of each sample for a maximum of 12 samples (11 samples and the control-white) adjusted the volume to 48µl, 2µl of PCR Barcode and 50µl of LongAmp Taq 2X master mix. Total volume of 100µl into 0.2ml PCR tubes.
Program PCR on a thermal cycler: An initial denaturation of 3 min at 95°C, 15 cycles with denaturation of 15 seconds at 95ºC, annealing of 15 seconds at 62°C, extension of 1 min/kb at 65°C, a final extension of 1 min at 65°C and hold at 4ºC. PCR duration time ~39 minutes.
PCR clean up and Qubit quantification
In 1.5ml DNA Eppendorf LoBind tubes is added 0.4ml volume of resuspended AMPure XP Beads (40µl) to each reaction and is mixed with Hulamixer ™during 10 minutes at RT. Later the tubes are placed in a magnetic rack and beads pellets are washed with 200µl of freshly prepared 80% ethanol twice and the ethanol is removed using a pipette. Finally, the beads were resuspended in 25µl of nuclease-free water during 2 minutes at room temperature. The tubes were replaced in a magnetic rack and the eluates were collected in 0.2 ml tubes.
Barcoded library was quantified using Qubit ™ fluorometer and they pooled of ≤ 1µg in 49µl Nuclease-free water (normalized equimolarly to ≤ 83 ng/barcode in the case of sequencing for 12 samples in the flow cells devices) The concentration of each sample/barcode is in function of library samples number. To obtain the required volume, UNIVAPO Vacuum Concentrator (Uniequip, Germany) was used.
End-prep and clean up
In a 0.2ml PCR tube mix 1µl of DNA Control Sample (DCS), 49µl of DNA, 7µl of Ultra II End-prep Reaction Buffer and 3µl Ultra II End-prep Enzyme Mix. Incubate at 20ºC for 5 minutes and 65ºC for 5 minutes in a thermal cycler.
In 1.5ml DNA Eppendorf LoBind tube is added 60µl volume of resuspended AMPure XP Beads to end-prep reaction (60µl) and is mixed with Hulamixer ™during 10 minutes at RT. Later the tube is placed in a magnetic rack and beads pellets are washed with 200µl of freshly prepared 80% ethanol twice and the ethanol is removed using a pipette.
Finally, the beads were resuspended in 60µl of nuclease-free water during 2 minutes at RT. The tubes were replaced in a magnetic rack and the 60µl eluate was collected in 1.5 ml Eppendorf DNA LoBind tube.
Adapter ligation, clean up and Qubit quantification
In 1.5ml DNA Eppendorf LoBind tube mix 60µl of DNA sample from the previous step, 25µl of Ligation Buffer (LNB), 10µl of NEBNext Quick T4 DNA Ligase and 5µl Ligation Adapter (LA). Incubate at RT for 10 minutes.
Add 40µl volume of resuspended AMPure XP Beads to adapter ligation prep (100µl) and is mixed with Hulamixer ™during 10 minutes at RT. The tube is placed in a magnetic rack and beads pellets are washed with 250µl of Short Fragment Buffer (SFB) twice with flicking the beads to resuspend, spin down and return the tube to the magnetic rack and SFB is removed using a pipette.
Finally, the beads were resuspended in 15µl of Elution Buffer (EB) water during 10 minutes at RT. The tubes were replaced in a magnetic rack and the 15µl eluate was collected in 1.5 ml Eppendorf DNA LoBind tube.
Barcoded library was quantified using Qubit ™ fluorometer and made up our library to 12 µl at 10-20fmol with R10.4.1 flow cells (FLO-MIN114) or 5 µl at 5-10fmol with flongles (FLO-FLG114).
Priming and loading the SpotON of flow cell
To prepare the Flow-Cell priming mix with BSA we added 1170 µl of Flow Cell Flush (FCF), 5 µl of BSA at 50 mg/ml and 30 µl of Flow Cell Tether (FCT). Load 800 µl of the priming mix into priming port of flow cell and wait 5 minutes. During this time is prepared the library for loading with 37.5 µl of Sequencing Buffer (SB), 25.5 µl of Library Beads (LIB) and 12µl DNA library. Load 200 µl of the priming mix into priming port of flow cell with the SpotOn sample port open and after that add 75 µl of the library via SpotON drop by drop. Finally were closed the priming port and SpotON.
Priming and loading the sample port of flongles
To prepare the Flongle priming mix we added 117 µl of Flow Cell Flush (FCF) and 3 µl of Flow Cell Tether (FCT). Load 120 µl of priming mix into the Flongle flow cell by slowly pipetting down. Immediately add 30 µl of sequencing mix: 15 µl of Sequencing Buffer (SB), 10 µl of Library Beads (LIB) and 5µl DNA library. Seal the Flongle flow cell using the adhesive tape over the sample port.
Barcoding strategy
The barcode score represents how closely a read sequence matches to a known barcode sequence. So if the classification of the reads is performed under a barcode scores of 60, this graph suggests ~2% of those reads might be misclassified. However, using a barcode score of 70 leads to a percentage of almost 0 of misclassified reads (see Figure). The barcode score optimised to balance classification against miss or no classification. Increasing the cut-off may mean that much less reads will be assigned to any barcode even though it may have a really confident call on that barcode. This would essentially mean that the false negative (no classification) rate goes up and the false positive (mis-classified) goes down.
For diseases diagnosis it is very important to stablish a very precise allocation of positive and negative animals. Since the sequencing using Flow Cells included many samples (11 to 22) of MVV ELISA positive and negative animals, it is essential that the barcodes are correctly assigned to each sample.
In this study we have found that a barcode score of 70 in the white control sample does not map any reads against the various Maedi genomes and genes included in the fasta file.
Relationship between Q-score and basecalling accuracy (%). The red points highlight common Q values (Q7, Q10, Q15, Q20, Q30)

## Flow-Cells BLOOD
FAW55096
Barcode | Sample | ELISA | qPCR EXOPOL | PCR GAGPOL_1 | AMPLICON size | Electrof. | NANO ng/µl | vol.(µl) | H2O (48µl) | Qubit ng/µl | ng/24µl sample | Pool | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
1 | Ram 1 | Positive | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 245 | 2 | 46 | 0.766 | 18.3
2 | Ram 2 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 252 | 2 | 46 | 0.822 | 19.7
3 | Ram 3 | Positive Ant. | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 258 | 2 | 46 | 0.592 | 14.2
4 | Ram 4 | Positive | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 279 | 2 | 46 | 0.666 | 15.9
5 | Ram 5 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 251 | 2 | 46 | 0.818 | 19.6
6 | Ram 6 | Positive | Positive | Nested-Multiplex | 1200bp+770bp | Positive | 256 | 2 | 46 | 1.2 | 28.8
7 | Ram 7 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 251 | 2 | 46 | 0.4 | 9.6
8 | Ram 8 | Positive | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 228 | 2 | 46 | 0.538 | 12.9
9 | Ram 9 | Positive | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 274 | 2 | 46 | 0.424 | 10.1
10 | Ram 10 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 237 | 2 | 46 | 0.438 | 10.5
11 | Ram 11 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 247 | 2 | 46 | 0.388 | 9.3
12 | White |  |  | Nested-Multiplex | 1200bp+770bp |  | 304 | 2 | 46 | 0.262 | 7
[11 empty] | 169ng total | 1,86ng/µl | 4,02ng/µl | 30,15ng | 1192 pores
3µl sample
1,2µl Exosap
FAV56516
Barcode | Sample | ELISA | qPCR EXOPOL | PCR GAGPOL_1 | AMPLICON size | Electrof. | NANO ng/µl | vol.(µl) | H2O (48µl) | Qubit ng/µl | ng/24µl sample | Pool | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
1 | Ram 12 | Positive | Positive | Nested-Multiplex | 1200bp+770bp | Positive | 231 | 2 | 46 | 0.682 | 16.3
2 | Ram 13 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 258 | 2 | 46 | 0.43 | 10.3
3 | Ram 14 | Positive | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 244 | 2 | 46 | 0.484 | 11.6
4 | Ram 15 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 264 | 2 | 46 | 0.32 | 7.68
5 | Ram 17 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 242 | 2 | 46 | 0.428 | 10.2
6 | Ram 18 | Positive | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 256 | 2 | 46 | 0.532 | 12.7
7 | Ram 19 | Positive | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 247 | 2 | 46 | 0.368 | 8.8
8 | Ram 20 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 244 | 2 | 46 | 0.42 | 10.1
9 | Ram 21 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 259 | 2 | 46 | 0.382 | 9.2
10 | Ram 22 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 271 | 2 | 46 | 0.478 | 11.4
11 | Ram 23 | Negative | Negative | Nested-Multiplex | 1200bp+770bp | Positive | 261 | 2 | 46 | 0.556 | 13.3
12 | White |  |  | Nested-Multiplex | 1200bp+770bp |  | 310 | 2 | 46 | 0.212 | 5.1
[11 empty] | 127ng total | 1,23ng/µl | 3,42ng/µl | 30,1ng | 1201 pores
FAY08869
Barcode | Sample | ELISA | qPCR EXOPOL | PCR GAGPOL_2 | AMPLICON size | Electrof. | Qubit ng/µl | 8,3ng/sample | Pool | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
1 | Ram 1 | Positive | Negative | Multiplex | 903bp+770bp | ? | 3.4 | 2.4
2 | Ram 2 | Negative | Negative | Multiplex | 903bp+770bp | ? | 0.894 | 9.2
3 | Ram 3 | Positive | Negative | Multiplex | 903bp+770bp | ? | 0.616 | 13.5
4 | Ram 4 | Positive | Negative | Multiplex | 903bp+770bp | Positive | 1.52 | 5.4
5 | Ram 5 | Negative | Negative | Multiplex | 903bp+770bp | Negative | 0.67 | 12.4
6 | Ram 6 | Positive | Positive | Multiplex | 903bp+770bp | Positive | 1.04 | 8
7 | Ram 7 | Negative | Negative | Multiplex | 903bp+770bp | Positive | 1.17 | 7.1
8 | Ram 8 | Positive | Negative | Multiplex | 903bp+770bp | Positive | 0.684 | 12.1
9 | Ram 9 | Positive | Negative | Multiplex | 903bp+770bp | Positive | 0.346 | all
10 | Ram 10 | Negative | Negative | Multiplex | 903bp+770bp | ? | 0.956 | 8.7
11 | Ram 11 | Negative | Negative | Multiplex | 903bp+770bp | ? | 0.576 | 14.4
12 | White |  |  | Multiplex | 903bp+770bp |  | 0.298 | all
[9 empty] | 1,41ng/µl | 1,82ng/µl | 25,5ng | 1425 pores
5µl sample
2µl Exosap
FAU98679
Barcode | Sample | ELISA | qPCR EXOPOL | PCR GAGPOL_2 | AMPLICON size | Electrof. | Qubit ng/µl | 8,3ng/sample | Pool | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
1 | Ram 12 | Positive | Positive | Multiplex | 903bp+770bp | Positive | 1.21 | 6.8
2 | Ram 13 | Negative | Negative | Multiplex | 903bp+770bp | Positive | 0.748 | 11.1
3 | Ram 14 | Positive | Negative | Multiplex | 903bp+770bp | Positive | 0.89 | 9.3
4 | Ram 15 | Negative | Negative | Multiplex | 903bp+770bp | ? | 1.17 | 7.1
5 | Ram 17 | Negative | Negative | Multiplex | 903bp+770bp | Positive | 2.28 | 3.6
6 | Ram 18 | Positive | Negative | Multiplex | 903bp+770bp | ? | 1.05 | 8
7 | Ram 19 | Positive | Negative | Multiplex | 903bp+770bp | ? | 1.07 | 8
8 | Ram 20 | Negative | Negative | Multiplex | 903bp+770bp | ? | 1.02 | 8
9 | Ram 21 | Negative | Negative | Multiplex | 903bp+770bp | Positive | 3.94 | 2.1
10 | Ram 22 | Negative | Negative | Multiplex | 903bp+770bp | Positive | 1.25 | 6.7
11 | Ram 23 | Negative | Negative | Multiplex | 903bp+770bp | Positive | 1.35 | 6.1
12 | White |  |  | Multiplex | 903bp+770bp |  | 0.974 | 8.5
[9 empty] | 1,98ng/µl | 3,60ng/µl | 30ng | 681 pores
FAY75906
Barcode | Sample | ELISA | qPCR EXOPOL | PCR GAGPOL_2 | AMPLICON size | vol.(µl) | H2O (48µl) | Qubit ng/µl | 45,5ng/sample | Library | Reload /pores | ng of final library | SQK_LSK114 EXP-PBC096
1 | Ram 1 | Positive | Negative | Multiplex | 903bp+770bp | 21 | 27 | 1.55 | All 31.0
2 | Ram 2 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 2.74 | 16.6
3 | Ram 3 | Positive | Negative | Multiplex | 903bp+770bp | 21 | 27 | 20.6 | 2.2
4 | Ram 4 | Positive | Negative | Multiplex | 903bp+770bp | 21 | 27 | 2.96 | 15.3
5 | Ram 5 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 3.04 | 15
6 | Ram 6 | Positive | Positive | Multiplex | 903bp+770bp | 21 | 27 | 1.81 | All 36,2
7 | Ram 7 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 18.2 | 2.5
8 | Ram 8 | Positive | Negative | Multiplex | 903bp+770bp | 21 | 27 | 1.16 | All 23.2
9 | Ram 9 | Positive | Negative | Multiplex | 903bp+770bp | 21 | 27 | 1.24 | All 24.8
10 | Ram 10 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 1.02 | All 20.4
11 | Ram 11 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 6.54 | 6.9
12 | Ram 12 | Positive | Positive | Multiplex | 903bp+770bp | 21 | 27 | 8.18 | 5.6
13 | Ram 13 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 4.56 | 10
14 | Ram 14 | Positive | Negative | Multiplex | 903bp+770bp | 21 | 27 | 3.38 | 13.4
15 | Ram 15 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 6.58 | 6.9
16 | White |  |  | Multiplex | 903bp+770bp | 21 | 27 | 0.316 | All 60.3
17 | Ram 17 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 7.56 | 6
18 | Ram 18 | Positive | Negative | Multiplex | 903bp+770bp | 21 | 27 | 7.04 | 6.5
19 | Ram 19 | Positive | Negative | Multiplex | 903bp+770bp | 21 | 27 | 3.48 | 13
20 | Ram 20 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 5.32 | 8.5
21 | Ram 21 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 2.2 | All 44.0
22 | Ram 22 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 2.12 | All 42.0
23 | Ram 23 | Negative | Negative | Multiplex | 903bp+770bp | 21 | 27 | 3.2 | 14.2
[9 empty] | 910 ng total | 42,4 ng/µl | 1/1469 pores | 65ng
[11 empty] | 2 | 424ng
15µl sample
6µl Exosap

## Flow_Cell EXOPOL-lung
FAY31146
Barcode | Sample | qPCR EXOPOL | PCR GAGPOL_2 | AMPLICON size | Qubit ng/µl | vol.(µl) | H2O (48µl) | Qubit ng/µl | 200 ng/sample | Library | Reload /pores | ng of final library | SQK_LSK114 EXP-PBC096
1 | EXO_lung_1 | Negative | Multiplex | 903bp+770bp | 7.12 | 29 | 19 | 7.22 | All
2 | EXO_lung_2 | Negative | Multiplex | 903bp+770bp | 2.02 | 43.6 | 4.4 | 1.28 | All
7 | EXO_lung_7 | Positive | Multiplex | 903bp+770bp | 23.06 | 9 | 39 | 37 | 5.5
9 | EXO_lung_9 | Positive | Multiplex | 903bp+770bp | 48.2 | 5 | 43 | 9.9 | 9.9
24 | White |  | Multiplex | 903bp+770bp | 0.25 | 48 |  | 1.32 | All | 23,6 ng/µl
[11 empty] | 1/250 pores | 94,4ng
[11 empty] | 2 | 236ng

## Flow-Cells SPERM
FAS63766 | GAGPOL_1
Barcode | Muestra | PCR | AMPLICON size | Electrof. | NANO ng/µl | vol.(µl) | H2O (48µl) | Qubit ng/µl | ng/sample | Pool | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
1 | Ram 1 | Nested-Multiplex | 1200pb+770pb | Positive | 180 | 6 | 42 | 0.918 | 22
2 | Ram 2 | Nested-Multiplex | 1200pb+770pb | Negative | 184 | 6 | 42 | 0.782 | 18.7
3 | Ram 3 | Nested-Multiplex | 1200pb+770pb | Negative | 187 | 6 | 42 | 0.672 | 16.1
4 | Ram 4 | Nested-Multiplex | 1200pb+770pb | Negative | 193 | 6 | 42 | 0.434 | 10.4
5 | Ram 5 | Nested-Multiplex | 1200pb+770pb | Negative | 214 | 6 | 42 | 0.648 | 15.5
6 | Ram 6 | Nested-Multiplex | 1200pb+770pb | Negative | 190 | 6 | 42 | 0.954 | 22.8
7 | Ram 7 | Nested-Multiplex | 1200pb+770pb | Negative | 190 | 6 | 42 | 0.636 | 15.2
8 | Ram 8 | Nested-Multiplex | 1200pb+770pb | Negative | 185 | 6 | 42 | 0.56 | 13.4
9 | Ram 9 | Nested-Multiplex | 1200pb+770pb | Positive | 171 | 6 | 42 | 0.676 | 16.2
10 | Ram 10 | Nested-Multiplex | 1200pb+770pb | Positive | 180 | 6 | 42 | 0.43 | 10.3
11 | Ram 11 | Nested-Multiplex | 1200pb+770pb | Negative | 180 | 6 | 42 | 0.37 | 8.88
12 | White | Nested-Multiplex | 1200pb+770pb |  | 190 | 6 | 42 | 0.228 | 5.47
[5 empty] | 5µl sample |  |  |  |  | 2,12ng/µl | 3,42ng/µl | 30,1ng | 942 pores
2µl Exosap
FAV81840 | GAGPOL_1
Barcode | Muestra | PCR | AMPLICON size | Electrof. | NANO ng/µl | vol.(µl) | H2O (48µl) | Qubit ng/µl | ng/sample | Pool | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
1 | Ram 12 | Nested-Multiplex | 1200pb+770pb | Positive | 176 | 6 | 42 | 1.01 | 18.18
2 | Ram 13 | Nested-Multiplex | 1200pb+770pb | Positive | 193 | 6 | 42 | 0.788 | 18.9
3 | Ram 14 | Nested-Multiplex | 1200pb+770pb | Positive | 250 | 6 | 42 | 1.16 | 20.88
4 | Ram 15 | Nested-Multiplex | 1200pb+770pb | Positive | 180 | 6 | 42 | 1.02 | 18.36
5 | Ram 17 | Nested-Multiplex | 1200pb+770pb | Positive | 196 | 6 | 42 | 0.526 | 12.6
6 | Ram 18 | Nested-Multiplex | 1200pb+770pb | Positive | 182 | 6 | 42 | 0.488 | 11.7
7 | Ram 19 | Nested-Multiplex | 1200pb+770pb | Positive | 179 | 6 | 42 | 0.512 | 12.3
8 | Ram 20 | Nested-Multiplex | 1200pb+770pb | Positive | 175 | 6 | 42 | 0.684 | 16.4
9 | Ram 21 | Nested-Multiplex | 1200pb+770pb | Negative | 212 | 6 | 42 | 1.17 | 21.06
10 | Ram 22 | Nested-Multiplex | 1200pb+770pb | Positive | 177 | 6 | 42 | 0.26 | 6.24
11 | Ram 23 | Nested-Multiplex | 1200pb+770pb | Positive | 170 | 6 | 42 | 0.778 | 18.6
12 | White | Nested-Multiplex | 1200pb+770pb |  | 190 | 6 | 42 | 0.332 | 7.9 | 2,48ng/µl | 7,18ng/µl | 32,3ng | 1124 pores
FAY63397 | GAGPOL_2
Barcode | Sample | PCR | AMPLICON size | vol.(µl) | H2O (48µl) | Qubit ng/µl | 83ng/muestra | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC096
1 | Ram 1 | Multiplex | 903bp+770bp | 14 | 34 | 7.46 | 11.1
2 | Ram 2 | Multiplex | 903bp+770bp | 14 | 34 | 2.3 | All
3 | Ram 3 | Multiplex | 903bp+770bp | 14 | 34 | 10 | 8.3
4 | Ram 4 | Multiplex | 903bp+770bp | 14 | 34 | 7.82 | 10.6
5 | Ram 5 | Multiplex | 903bp+770bp | 14 | 34 | 11.4 | 7.3
6 | Ram 6 | Multiplex | 903bp+770bp | 14 | 34 | 4.56 | 18.2
7 | Ram 7 | Multiplex | 903bp+770bp | 14 | 34 | 5.88 | 14.1
8 | Ram 8 | Multiplex | 903bp+770bp | 14 | 34 | 4.54 | 18.3
9 | Ram 9 | Multiplex | 903bp+770bp | 14 | 34 | 6.2 | 13.4
10 | Ram 10 | Multiplex | 903bp+770bp | 14 | 34 | 2.24 | All
11 | Ram 11 | Multiplex | 903bp+770bp | 14 | 34 | 1.76 | All
23 | White | Multiplex | 903bp+770bp | 14 | 34 | 0.238 | All | 43,4ng/µl | 43,4ng | 1513 pores
10µl sample
4µl Exosap
FAY61578 | GAGPOL_2
Barcode | Sample | PCR | AMPLICON size | vol.(µl) | H2O (48µl) | Qubit ng/µl | 83ng/muestra | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC096
12 | Ram 12 | Multiplex | 903bp+770bp | 14 | 34 | 4.98 | 16.6
13 | Ram 13 | Multiplex | 903bp+770bp | 14 | 34 | 1.08 | All
14 | Ram 14 | Multiplex | 903bp+770bp | 14 | 34 | 1.98 | All
15 | Ram 15 | Multiplex | 903bp+770bp | 14 | 34 | 3.14 | All
16 | Ram 17 | Multiplex | 903bp+770bp | 14 | 34 | 5.58 | 14.8
17 | Ram 18 | Multiplex | 903bp+770bp | 14 | 34 | 3.6 | 23.1
18 | Ram 19 | Multiplex | 903bp+770bp | 14 | 34 | 1.25 | All
19 | Ram 20 | Multiplex | 903bp+770bp | 14 | 34 | 1.67 | All
20 | Ram 21 | Multiplex | 903bp+770bp | 14 | 34 | 6.96 | 12
21 | Ram 22 | Multiplex | 903bp+770bp | 14 | 34 | 6.46 | 12.8
22 | Ram 23 | Multiplex | 903bp+770bp | 14 | 34 | 4.24 | 19.5
24 | White | Multiplex | 903bp+770bp | 14 | 34 | 0.79 | All | 32,4ng/µl | 42,12ng | 1444 pores

## Flow-Cells SWABS
FAW56564 | GAGPOL_1
Barcode | Sample | PCR | AMPLICON size | Electrof. | NANO ng/µl | vol.(µl) | H2O (48µl) | Qubit ng/µl | ng/muestra | Pool | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
1 | Ram 1 | Anidada-Multiplex | 1200pb+770pb | Negative | 294 | 6 | 42 | 1.35 | 18.9
2 | Ram 2 | Anidada-Multiplex | 1200pb+770pb | Negative | 306 | 6 | 42 | 0.59 | 14.16
3 | Ram 3 | Anidada-Multiplex | 1200pb+770pb | Negative | 248 | 6 | 42 | 0.408 | 9.8
4 | Ram 4 | Anidada-Multiplex | 1200pb+770pb | Negative | 285 | 6 | 42 | 1.87 | 18.7
5 | Ram 5 | Anidada-Multiplex | 1200pb+770pb | Negative | 265 | 6 | 42 | 0.694 | 16.6
6 | Ram 6 | Anidada-Multiplex | 1200pb+770pb | Positive | 291 | 6 | 42 | 0.8 | 19.2
7 | Ram 7 | Anidada-Multiplex | 1200pb+770pb | Positive | 284 | 6 | 42 | 0.768 | 18.4
8 | Ram 8 | Anidada-Multiplex | 1200pb+770pb | Positive | 274 | 6 | 42 | 0.396 | 9.5
9 | Ram 9 | Anidada-Multiplex | 1200pb+770pb | Negative | 247 | 6 | 42 | 0.18 | 4.3
10 | Ram 10 | Anidada-Multiplex | 1200pb+770pb | Negative | 299 | 6 | 42 | 0.208 | 5
11 | Ram 11 | Anidada-Multiplex | 1200pb+770pb | Positive | 254 | 6 | 42 | 0.332 | 7.9
12 | White |  |  |  | 257 | 6 | 42 | 0.274 | 6.5
[5 empty] | 5µl sample |  |  |  |  | 1,62ng/µl | 1,94ng/µl | 27,16ng | 1186 pores
2µl Exosap
FAV81713 | GAGPOL_1
Barcode | Sample | PCR | AMPLICON size | Electrof. | NANO ng/µl | vol.(µl) | H2O (48µl) | Qubit ng/µl | ng/muestra | Pool | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
1 | Ram 12 | Anidada-Multiplex | 1200pb+770pb | Negative | 234 | 6 | 42 | 0.362 | 8.7
2 | Ram 13 | Anidada-Multiplex | 1200pb+770pb | Negative | 259 | 6 | 42 | 0.336 | 8.1
3 | Ram 14 | Anidada-Multiplex | 1200pb+770pb | Positive | 264 | 6 | 42 | 0.612 | 14.6
4 | Ram 15 | Anidada-Multiplex | 1200pb+770pb | Positive | 260 | 6 | 42 | 0.406 | 9.7
5 | Ram 17 | Anidada-Multiplex | 1200pb+770pb | Positive | 259 | 6 | 42 | 13.1 | 19.5
6 | Ram 18 | Anidada-Multiplex | 1200pb+770pb | Negative | 266 | 6 | 42 | 0.47 | 11.3
7 | Ram 19 | Anidada-Multiplex | 1200pb+770pb | Negative | 271 | 6 | 42 | 0.622 | 15
8 | Ram 20 | Anidada-Multiplex | 1200pb+770pb | Positive | 267 | 6 | 42 | 0.66 | 15.8
9 | Ram 21 | Anidada-Multiplex | 1200pb+770pb | Positive | 249 | 6 | 42 | 0.514 | 12.3
10 | Ram 22 | Anidada-Multiplex | 1200pb+770pb | Positive | 233 | 6 | 42 | 0.816 | 19.5
11 | Ram 23 | Anidada-Multiplex | 1200pb+770pb | Positive | 253 | 6 | 42 | 2.54 | 17.78
12 | White | Anidada-Multiplex | 1200pb+770pb |  | 255 | 6 | 42 | 1.46 | 20.44 | 2,16ng/µl | 5,76ng/µl | 29,9ng | 1008 pores
FAY42405 | GAGPOL_2
Barcode | Sample | PCR | AMPLICON size | vol.(µl) | H2O (48µl) | Qubit ng/µl | 83ng/sample | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC096
1 | Ram 1 | Multiplex | 903bp+770bp | 14 | 34 | 1.89 | All
2 | Ram 2 | Multiplex | 903bp+770bp | 14 | 34 | 1.42 | All
3 | Ram 3 | Multiplex | 903bp+770bp | 14 | 34 | 0.81 | All
4 | Ram 4 | Multiplex | 903bp+770bp | 14 | 34 | 6.26 | All
5 | Ram 5 | Multiplex | 903bp+770bp | 14 | 34 | 1.39 | All
6 | Ram 6 | Multiplex | 903bp+770bp | 14 | 34 | 0.916 | All
7 | Ram 7 | Multiplex | 903bp+770bp | 14 | 34 | 0.878 | All
8 | Ram 8 | Multiplex | 903bp+770bp | 14 | 34 | 0.806 | All
9 | Ram 9 | Multiplex | 903bp+770bp | 14 | 34 | 1.66 | All
10 | Ram 10 | Multiplex | 903bp+770bp | 14 | 34 | 0.742 | All
11 | Ram 11 | Multiplex | 903bp+770bp | 14 | 34 | 0.622 | All
24 | White | Multiplex | 903bp+770bp | 14 | 34 | 0.722 | All | 11,4ng/µl | 42,18ng | 1/943 pores
[5 empty] | 10µl sample |  |  |  |  | 2
4µl Exosap
FAY61578 | GAGPOL_2
Barcode | Sample | PCR | AMPLICON size | vol.(µl) | H2O (48µl) | Qubit ng/µl | 83ng/sample | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC096
12 | Ram 12 | Multiplex | 903bp+770bp | 14 | 34 | 1.65 | All
13 | Ram 13 | Multiplex | 903bp+770bp | 14 | 34 | 8.1 | 10.2
14 | Ram 14 | Multiplex | 903bp+770bp | 14 | 34 | 1.74 | All
15 | Ram 15 | Multiplex | 903bp+770bp | 14 | 34 | 1.23 | All
17 | Ram 17 | Multiplex | 903bp+770bp | 14 | 34 | 0.798 | All
18 | Ram 18 | Multiplex | 903bp+770bp | 14 | 34 | 0.69 | All
19 | Ram 19 | Multiplex | 903bp+770bp | 14 | 34 | 1.21 | All
20 | Ram 20 | Multiplex | 903bp+770bp | 14 | 34 | 0.864 | All
21 | Ram 21 | Multiplex | 903bp+770bp | 14 | 34 | 1.3 | All
22 | Ram 22 | Multiplex | 903bp+770bp | 14 | 34 | 3.14 | All
23 | Ram 23 | Multiplex | 903bp+770bp | 14 | 34 | 2.96 | All
25 | White | Multiplex | 903bp+770bp | 14 | 34 | 0.656 | All | 16,4ng/µl | 41ng | 252 pores

## Flow-Cells PBMCs
FAZ57997
Barcode | Sample | ELISA | qPCR EXOPOL | PCR GAGPOL_2 | AMPLICON size | Qubit ng/µl | vol µl(125ng) | H2O 24µl | Qubit ng/µl | ng/sample (67ng) | Library | Reload/pores | ng of final library | SQK-LSK 114 EXP-PBC096
32 | Ram 2 | Negative | Negative | Multiplex | 903bp+770bp | 27 | 5 | 19 | 14.8 | 4.6
33 | Ram 3 | Positive | Negative | Multiplex | 903bp+770bp | 30.4 | 4.2 | 19.8 | 13.4 | 5
34 | Ram 4 | Positive | Negative | Multiplex | 903bp+770bp | 27 | 5 | 19 | 9.7 | 7
35 | Ram 5 | Negative | Negative | Multiplex | 903bp+770bp | 25.4 | 5 | 19 | 7.8 | 8.6
36 | Ram 6 | Positive | Positive | Multiplex | 903bp+770bp | 26.4 | 5 | 19 | 10.7 | 6.3
37 | Ram 7 | Negative | Negative | Multiplex | 903bp+770bp | 20.2 | 6.2 | 17.8 | 15.8 | 4.3
39 | Ram 9 | Positive | Negative | Multiplex | 903bp+770bp | 31 | 4 | 20 | 9.8 | 7
40 | Ram 10 | Negative | Negative | Multiplex | 903bp+770bp | 48 | 3 | 21 | 13.8 | 4.8
41 | Ram 11 | Negative | Negative | Multiplex | 903bp+770bp | 22 | 6 | 18 | 7.9 | 8.5
42 | Ram 12 | Positive | Positive | Multiplex | 903bp+770bp | 25 | 5 | 19 | 8.9 | 7.5
44 | Ram 14 | Positive | Negative | Multiplex | 903bp+770bp | 26 | 5 | 19 | 10.8 | 6.3
45 | Ram 15 | Negative | Negative | Multiplex | 903bp+770bp | 26.8 | 5 | 19 | 8.8 | 7.5
47 | Ram 17 | Negative | Negative | Multiplex | 903bp+770bp | 32.6 | 4 | 20 | 9 | 7.5
49 | Ram 19 | Positive | Negative | Multiplex | 903bp+770bp | 28.8 | 4.3 | 19.8 | 13.8 | 4.8
53 | Ram 23 | Negative | Negative | Multiplex | 903bp+770bp | 29.6 | 4.3 | 19.8 | 19.3 | 3.5
54 | white |  |  | Multiplex | 903bp+770bp | 40.8 | 5 | 21 | 2.3 | All
[11 empty] | 35ng/µl | 1/1527 | 70ng
[12 empty] | 2/188 | 105ng
FBB18794
Barcode | Sample | ELISA | qPCR EXOPOL | PCR GAGPOL_2 | AMPLICON size | Qubit ng/µl | vol µl(125ng) | H2O 24µl | Qubit ng/µl | ng/sample(67ng) | Library | Reload/pores | ng of final library | SQK-LSK 114 EXP-PBC096
32 | Ram 2 | Negative | Negative | Multiplex | 903bp+770bp | 27 | 5 | 19 | 14.8 | 4.6
33 | Ram 3 | Positive | Negative | Multiplex | 903bp+770bp | 30.4 | 4.2 | 19.8 | 13.4 | 5
34 | Ram 4 | Positive | Negative | Multiplex | 903bp+770bp | 27 | 5 | 19 | 9.7 | 7
35 | Ram 5 | Negative | Negative | Multiplex | 903bp+770bp | 25.4 | 5 | 19 | 7.8 | 8.6
36 | Ram 6 | Positive | Positive | Multiplex | 903bp+770bp | 26.4 | 5 | 19 | 10.7 | 6.3
37 | Ram 7 | Negative | Negative | Multiplex | 903bp+770bp | 20.2 | 6.2 | 17.8 | 15.8 | 4.3
39 | Ram 9 | Positive | Negative | Multiplex | 903bp+770bp | 31 | 4 | 20 | 9.8 | 7
40 | Ram 10 | Negative | Negative | Multiplex | 903bp+770bp | 48 | 3 | 21 | 13.8 | 4.8
41 | Ram 11 | Negative | Negative | Multiplex | 903bp+770bp | 22 | 6 | 18 | 7.9 | 8.5
42 | Ram 12 | Positive | Positive | Multiplex | 903bp+770bp | 25 | 5 | 19 | 8.9 | 7.5
44 | Ram 14 | Positive | Negative | Multiplex | 903bp+770bp | 26 | 5 | 19 | 10.8 | 6.3
45 | Ram 15 | Negative | Negative | Multiplex | 903bp+770bp | 26.8 | 5 | 19 | 8.8 | 7.5
47 | Ram 17 | Negative | Negative | Multiplex | 903bp+770bp | 32.6 | 4 | 20 | 9 | 7.5
49 | Ram 19 | Positive | Negative | Multiplex | 903bp+770bp | 28.8 | 4.3 | 19.8 | 13.8 | 4.8
53 | Ram 23 | Negative | Negative | Multiplex | 903bp+770bp | 29.6 | 4.3 | 19.8 | 19.3 | 3.5
54 | white |  |  | Multiplex | 903bp+770bp | 40.8 | 5 | 21 | 2.3 | All
[11 empty] | 35ng/µl | 1/543 | 70ng
[12 empty] | 2/100 | 238ng

## Flongles BLOOD-LUNG
ASC557
Barcode | Sample | ELISA | qPCR | PCR GAGPOL_2 | AMPLICON size | Qubit ng/µl | 12,5ng/sample | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
1 | Ram 18 | Positive | Negative | Multiplex | 903pb+770pb | 5.92 | 2.2
2 | Ram 19 | Positive | Negative | Multiplex | 903pb+770pb | 0.324 | All
3 | Ram 20 | Negative | Negative | Multiplex | 903pb+770pb | 1.71 | 7.3
4 | Ram 21 | Negative | Negative | Multiplex | 903pb+770pb | 2.2 | 5.7
5 | Ram 22 | Negative | Negative | Multiplex | 903pb+770pb | 1.02 | 12.5
6 | Ram 23 | Negative | Positive | Multiplex | 903pb+770pb | 2.28 | 5.5
7 | EXO_lung_3 |  | Negative | Multiplex | 903pb+770pb | 0.942 | 13.2
8 | EXO_lung_6 |  | Positive | Multiplex | 903pb+770pb | 2.64 | 4.7
9 | White |  |  | Multiplex | 903pb+770pb | 1.5 | 8.3 | 5,54ng/µl | 10ng | 78 pores
10µl sample
4µl Exosap
ASU060
Barcode | Sample | ELISA | qPCR | PCR GAGPOL_2 | AMPLICON size | Qubit ng/µl | 16,6ng/sample | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
2 | blood 2 | Negative | Negative | Multiplex | 903pb+770pb | 2.54 | 6.5
5 | blood 17 | Negative | Negative | Multiplex | 903pb+770pb | 3.36 | 4.9
6 | blood 18 | Positive | Negative | Multiplex | 903pb+770pb | 3.56 | 4.6
7 | blood 19 | Positive | Negative | Multiplex | 903pb+770pb | 2.84 | 5.8
8 | blood 20 | Negative | Negative | Multiplex | 903pb+770pb | 1.83 | 9.1
10 | blood 22 | Negative | Negative | Multiplex | 903pb+770pb | 2.2 | 7.5
12 | White |  |  | Multiplex |  |  |  | 6,84ng/µl | 10,26ng | 95 pores
10µl sample
4µl Exosap
ARC997
Barcode | Sample | ELISA | qPCR | PCR GAGPOL_2 | AMPLICON size | Qubit ng/µl | 5.5ng/sample | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
5 | Ram 5 | Negative | Negative | Multiplex | 903pb+770pb | 0.67 | 8,3µl
6 | Ram 6 | Positive | Positive | Multiplex | 903pb+770pb | 1.04 | 5,2µl
9 | Ram 21 | Negative | Negative | Multiplex | 903pb+770pb | 3.94 | 1,4µl
11 | Ram 23 | Negative | Negative | Multiplex | 903pb+770pb | 1.35 | 4,1µl
12 | White |  |  | Multiplex |  |  |  | 0,984ng/µl | 5ng | 80 pores
10µl sample
4µl Exosap
ARB965
Barcode | Sample | ELISA | qPCR | PCR GAGPOL_2 | AMPLICON size | Qubit ng/µl | 8.3ng/sample | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC001
1 | Ram 12 | Positive | Positive | Multiplex | 903pb+770pb | 1.21 | 6,9µl
3 | Ram 3 | Positive Ant. | Negative | Multiplex | 903pb+770pb | 0.616 | 9,7µl
4 | Ram 15 | Negative | Negative | Multiplex | 903pb+770pb | 1.17 | 7.1µl
5 | Ram 5 | Negative | Negative | Multiplex | 903pb+770pb | 0.6 | 13,8µl
6 | Ram 6 | Positive | Positive | Multiplex | 903pb+770pb | 1.04 | 8µl
9 | Ram 21 | Negative | Negative | Multiplex | 903pb+770pb | 3.94 | 2µl
10 | Ram 10 | Negative | Negative | Multiplex | 903pb+770pb | 0.956 | 8,6µl
11 | Ram 23 | Negative | Negative | Multiplex | 903pb+770pb | 1.35 | 6µl
8 | White |  |  | Multiplex |  |  |  | 3,56ng/µl | 10ng | 75 pores
10µl sample
4µl Exosap
ATA155
Barcode | Sample | ELISA | qPCR | PCR GAGPOL_2 | AMPLICON size | Qubit ng/µl | 20ng/sample | Library | ng of final library | Reload/pores | SQK_LSK114 EXP-PBC096
4 | Ram 4 | Positive | Negative | Multiplex | 903pb+770pb | 1.37 | All
5 | Ram 5 | Negative | Negative | Multiplex | 903pb+770pb | 2.08 | 12.1
66 | Ram 6 | Positive | Positive | Multiplex | 903pb+770pb | 1.11 | All
7 | Ram 7 | Negative | Negative | Multiplex | 903pb+770pb | 8.02 | 3.2
24 | White |  |  | Multiplex | 903pb+770pb | 0.152 | All | 6,66ng/µl | 33ng | 81 pores
10µl sample
4µl Exosap

## Flow-Cells P25
FAY32157 | 2025-02-18 | Test primers 6 samples
Barcode | Sample | ELISA | PCR | Amplicon | Qubit BR | vol(110-160ng) | H2O (11,5ul) | Qubit HS | ng/sample | Library | Reload/pores | ng of final library | Native Barcoding Kit 24 V14 (SQK-NBD114.24)
BC3 | Ram12 | Positive | HQ_P25_20F/HQ_P25_2R | 1286bp | 30.6 | 5.4 | 6.1 | 17.2 | 129
BC4 | Ram13 | Negative | HQ_P25_20F/HQ_P25_2R | 1286bp | 36.8 | 4.5 | 7 | 21.4 | 160.5
BC10 | Ram12 | Positive | HQ_P25_300F/HQ_P25_2R | 967bp | 37.6 | 3.5 | 8 | 19 | 142.5
BC11 | Ram13 | Negative | HQ_P25_300F/HQ_P25_2R | 967bp | 35.4 | 3.8 | 7.7 | 18.8 | 141
BC17 | Ram12 | Positive | HQ_P25_5G+6G_400F/HQ_P25_2R | 863bp | 54 | 2.1 | 9.4 | 11.5 | 86.25
BC18 | Ram13 | Negative | HQ_P25_5G+6G_400F/HQ_P25_2R | 863bp | 27.4 | 4.1 | 7.4 | 16.8 | 126
[10 empty] | 30,2 ng/µl | 171 pores | 66,5ng
[5 empty] | S1 110 |  |  | S1 29,69
[5 empty] | S2 12162 |  |  | S2 15185
FBB18794 | 2025-03-03 | Test primers 24 samples
Barcode | Sample | ELISA | PCR | Amplicon | Qubit BR | vol(110-160ng) | H2O (11,5ul) | Qubit HS | ng/sample | Library | Reload/pores | ng of final library | Native Barcoding Kit 24 V14 (SQK-NBD114.24)
BC1 | Ram5 | Negative | HQ_P25_20F/HQ_P25_2R | 1286bp | 24.4 | 6.7 | 4.8 | 29.2 | 219
BC2 | Ram7 | Negative | HQ_P25_20F/HQ_P25_2R | 1286bp | 19.5 | 8.2 | 3.3 | 19.6 | 147
BC3 | Ram12 | Positive | HQ_P25_20F/HQ_P25_2R | 1286bp | 30.6 | 5.4 | 6.1 | 24 | 180
BC4 | Ram13 | Negative | HQ_P25_20F/HQ_P25_2R | 1286bp | 36.8 | 4.5 | 7 | 22.8 | 171
BC5 | Ram15 | Negative | HQ_P25_20F/HQ_P25_2R | 1286bp | 18 | 9 | 2.5 | 18.6 | 139.5
BC6 | Ram17 | Negative | HQ_P25_20F/HQ_P25_2R | 1286bp | 21.2 | 7.6 | 3.9 | 18.5 | 138.75
BC7 | Ram20 | Negative | HQ_P25_20F/HQ_P25_2R | 1286bp | 15.4 | 10.5 | 1 | 24.6 | 184.5
BC22 | White |  | HQ_P25_20F/HQ_P25_2R | 1286bp | Too low | 11.5 | 0 | 0.2 | 1.5
BC8 | Ram5 | Negative | HQ_P25_300F/HQ_P25_2R | 967bp | 30 | 4.4 | 7.1 | 18.5 | 138.75
BC9 | Ram7 | Negative | HQ_P25_300F/HQ_P25_2R | 967bp | 14 | 9.4 | 2.1 | 25.6 | 192
BC10 | Ram12 | Positive | HQ_P25_300F/HQ_P25_2R | 967bp | 37.6 | 3.5 | 8 | 16.4 | 123
BC11 | Ram13 | Negative | HQ_P25_300F/HQ_P25_2R | 967bp | 35.4 | 3.8 | 7.7 | 20.8 | 156
BC12 | Ram15 | Negative | HQ_P25_300F/HQ_P25_2R | 967bp | 14.2 | 9.3 | 2.2 | 20.8 | 156
BC13 | Ram17 | Negative | HQ_P25_300F/HQ_P25_2R | 967bp | 16.9 | 7.6 | 3.9 | 17.5 | 131.25
BC14 | Ram20 | Negative | HQ_P25_300F/HQ_P25_2R | 967bp | 16.7 | 7.8 | 3.7 | 23.8 | 178.5
BC23 | White |  | HQ_P25_300F/HQ_P25_2R | 967bp | Too low | 11.5 | 0 | 0.252 | 1.89
BC15 | Ram5 | Negative | HQ_P25_5G+6G_400F/HQ_P25_2R | 863bp | 27.8 | 4 | 7.5 | 15.2 | 456
BC16 | Ram7 | Negative | HQ_P25_5G+6G_400F/HQ_P25_2R | 863bp | 15.4 | 7 | 4.5 | 20.2 | 606
BC17 | Ram12 | Positive | HQ_P25_5G+6G_400F/HQ_P25_2R | 863bp | 54 | 2.1 | 9.4 | 10.7 | 321
BC18 | Ram13 | Negative | HQ_P25_5G+6G_400F/HQ_P25_2R | 863bp | 27.4 | 4.1 | 7.4 | 20.6 | 618
BC19 | Ram15 | Negative | HQ_P25_5G+6G_400F/HQ_P25_2R | 863bp | 11.2 | 10 | 1.5 | 23.2 | 696
BC20 | Ram17 | Negative | HQ_P25_5G+6G_400F/HQ_P25_2R | 863bp | 22.4 | 5 | 6.5 | 13.1 | 393
BC21 | Ram20 | Negative | HQ_P25_5G+6G_400F/HQ_P25_2R | 863bp | 20.6 | 5.4 | 6.1 | 9.32 | 279
BC24 | White |  | HQ_P25_5G+6G_400F/HQ_P25_2R | 863bp | Too low | 11.5 | 0 | 6.36 | 279
[10 empty] | 79,2ng/µl | 1302 pores | 118,8ng
[5 empty] | S1 110 |  |  | S1 29,69
[5 empty] | S2 12162 |  |  | S2 15185
FBB18740 | 2025-03-20 | Primers HQ-25 20F-2R 22 samples
Barcode | Sample | ELISA | PCR | Amplicon | Qubit BR | vol(160ng) | H2O (11,5ul) | Qubit HS | ng/sample | Library | Reload/pores | ng of final library | Native Barcoding Kit 24 V14 (SQK-NBD114.24)
BC1 | Ram1 | Positive | HQ-P25 20F/2R | 1286bp | 18.3 | 7.8 | 3.7 | 12.7 | 95.25
BC2 | Ram2 | Negative | HQ-P25 20F/2R | 1286bp | 20.4 | 8 | 3.5 | 20.8 | 156
BC3 | Ram3 | Positive | HQ-P25 20F/2R | 1286bp | 18.9 | 8.5 | 3 | 21 | 157.5
BC4 | Ram4 | Positive | HQ-P25 20F/2R | 1286bp | 17.1 | 9.5 | 2 | 17.5 | 131.25
BC5 | Ram5 | Negative | HQ-P25 20F/2R | 1286bp | 33.6 | 5 | 6.5 | 13.3 | 99.75
BC6 | Ram6 | Positive | HQ-P25 20F/2R | 1286bp | 22 | 7.3 | 4.2 | 18.3 | 137.25
BC7 | Ram7 | Negative | HQ-P25 20F/2R | 1286bp | 16.3 | 8.7 | 2.8 | 13.6 | 102
BC8 | Ram8 | Positive | HQ-P25 20F/2R | 1286bp | 15.7 | 8.2 | 3.3 | 14.8 | 111
BC9 | Ram9 | Positive | HQ-P25 20F/2R | 1286bp | 24.2 | 6.7 | 4.8 | 18.1 | 135.75
BC10 | Ram10 | Negative | HQ-P25 20F/2R | 1286bp | 20.6 | 8 | 3.5 | 16.4 | 123
BC11 | Ram11 | Negative | HQ-P25 20F/2R | 1286bp | 20.8 | 8 | 3.5 | 13.2 | 99
BC12 | Ram12 | Positive | HQ-P25 20F/2R | 1286bp | 18.6 | 8.5 | 3 | 15 | 112.5
BC13 | Ram13 | Negative | HQ-P25 20F/2R | 1286bp | 23.6 | 7 | 4.5 | 23.8 | 178.5
BC14 | Ram14 | Positive | HQ-P25 20F/2R | 1286bp | 24.6 | 6.5 | 5 | 18 | 135
BC15 | Ram15 | Negative | HQ-P25 20F/2R | 1286bp | 17 | 9.4 | 2.1 | 20.8 | 156
BC16 | White |  | HQ-P25 20F/2R | 1286bp | Too Low | 11.5 | 0 | 0.234 | 1.755
BC17 | Ram17 | Negative | HQ-P25 20F/2R | 1286bp | 40 | 4 | 7.5 | 11.9 | 89.25
BC18 | Ram18 | Positive | HQ-P25 20F/2R | 1286bp | 19 | 8.5 | 3 | 22.2 | 166.5
BC19 | Ram19 | Positive | HQ-P25 20F/2R | 1286bp | 14 | 11.5 | 0 | 20.6 | 154.5
BC20 | Ram20 | Negative | HQ-P25 20F/2R | 1286bp | 18.7 | 9 | 2.5 | 23 | 172.5
BC21 | Ram21 | Negative | HQ-P25 20F/2R | 1286bp | 15 | 8 | 3.5 | 19.2 | 144
BC22 | Ram22 | Negative | HQ-P25 20F/2R | 1286bp | 23 | 7 | 4.5 | 18.9 | 141.75
BC23 | Ram23 | Negative | HQ-P25 20F/2R | 1286bp | 21.4 | 7.6 | 3.9 | 13 | 97.5
[10 empty] | 93ng/µl | 1404 | 102ng
|  |  |  | S1 114,48 |  |  | S1 27,23
|  |  |  | S2 14579 |  |  | S2 15992
FBB18740 | 2025-04-08 | Primers HQ-25 20F-2R 5 samples Elisa positive
Barcode | Sample | ELISA | PCR | Amplicon | Qubit BR | vol(160ng) | H2O (11,5ul) | Qubit HS | ng/sample | Library | Reload/pores | ng of final library | Native Barcoding Kit 24 V14 (SQK-NBD114.24)
BC1 | Ram1 | Positive | HQ_P25_20_2F/HQ_P25_2R | 1286bp | 30 | 5.4 | 6.1 | 17.2 | 137
BC3 | Ram3 | Positive | HQ_P25_20_2F/HQ_P25_2R | 1286bp | 20.8 | 8 | 3.5 | 23.2 | 185
BC4 | Ram4 | Positive | HQ_P25_20_2F/HQ_P25_2R | 1286bp | 24 | 6.6 | 4.9 | 18.2 | 145
BC18 | Ram18 | Positive | HQ_P25_20_2F/HQ_P25_2R | 1286bp | 18.5 | 8.9 | 2.6 | 25 | 200
BC19 | Ram19 | Positive | HQ_P25_20_2F/HQ_P25_2R | 1286bp | 8.2 | 11.5 | 0 | 14.5 | 116
BC24 | White |  | HQ_P25_20_2F/HQ_P25_2R | 1286bp | Too Low | 3 | 8.5 | 0.262 | 2.096
[10 empty] | 27ng/µl | 265 | 81ng
FBB21998 | 2025-04-08 | Primers HQ-25 20F-2R 5 samples Elisa negative
Barcode | Sample | ELISA | PCR | Amplicon | Qubit BR | vol(160ng) | H2O (11,5ul) | Qubit HS | ng/sample | Library | Reload/pores | ng of final library | Native Barcoding Kit 24 V14 (SQK-NBD114.24)
BC20 | Ram2 | Negative | HQ_P25_20_2F/HQ_P25_2R | 1286bp | 25.4 | 6.4 | 5.1 | 15.3 | 122
BC11 | Ram11 | Negative | HQ_P25_20_2F/HQ_P25_2R | 1286bp | 24 | 6.6 | 4.9 | 13.8 | 110
BC2 | Ram20 | Negative | HQ_P25_20_2F/HQ_P25_2R | 1286bp | 25.4 | 6.4 | 5.1 | 22.4 | 179
BC22 | Ram22 | Negative | HQ_P25_20_2F/HQ_P25_2R | 1286bp | 20.8 | 8 | 3.5 | 24 | 192
BC23 | Ram23 | Negative | HQ_P25_20_2F/HQ_P25_2R | 1286bp | 26.4 | 6.2 | 5.3 | 16.2 | 129
BC24 | White |  | HQ_P25_20_2F/HQ_P25_2R | 1286bp | Too Low | 3 | 8.5 | Too Low | 2.016
[10 empty] | 24,4ng/µl | 457 | 81ng

## Flow-Cell Herd2_VQ BLOOD
FBC34199 | Blood
BC | ID Labo | ELISA diagnosis | PCRs | QBR ng/µl | 160ng vol.(µl) | H2O(11,5µl) | QHS ng/µl | ng/sample | Library | Pores | Native Barcoding ki t24V14 (SQK-NBD 114-24)
BC3 | Ram3_VQ | negative | GagPol2 + P25 | 49.8 | 4 | 7.5 | 12.6 | 100 | 2025-05-27 | 13:15 h
BC4 | Ram4_VQ | negative | GagPol2 + P25 | 34.8 | 5 | 6.5 | 19.4 | 155
BC5 | Ram5_VQ | negative | GagPol2 + P25 | 43.2 | 4 | 7.5 | 16 | 128
BC6 | Ram6_VQ | negative | GagPol2 + P25 | 47.8 | 4 | 7.5 | 14 | 112
BC7 | Ram7_VQ | negative | GagPol2 + P25 | 32.6 | 5 | 6.5 | 16.2 | 128
BC8 | Ram8_VQ | negative | GagPol2 + P25 | 35.4 | 5 | 6.5 | 21.6 | 168
BC9 | Ram9_VQ | negative | GagPol2 + P25 | 48.4 | 4 | 7.5 | 16.2 | 128
BC10 | Ram10_VQ | negative | GagPol2 + P25 | 49.6 | 4 | 7.5 | 20.2 | 160
BC11 | Ram11_VQ | negative | GagPol2 + P25 | 47.8 | 4 | 7.5 | 20.6 | 160
BC13 | Ram13_VQ | negative | GagPol2 + P25 | 62.6 | 3 | 8.5 | 15.7 | 120
BC14 | Ram14_VQ | negative | GagPol2 + P25 | 46.8 | 4 | 7.5 | 15.7 | 120
BC15 | Ram15_VQ | negative | GagPol2 + P25 | 50.2 | 4 | 7.5 | 24 | 192
BC16 | Ram16_VQ | negative | GagPol2 + P25 | 48.4 | 4 | 7.5 | 13.5 | 104
BC17 | Ram17_VQ | negative | GagPol2 + P25 | 36.6 | 5 | 6.5 | 24.2 | 192
BC18 | Ram18_VQ | negative | GagPol2 + P25 | 47.2 | 4 | 7.5 | 15 | 120
BC19 | Ram19_VQ | negative | GagPol2 + P25 | 43.8 | 4 | 7.5 | 22.2 | 176
BC20 | Ram20_VQ | negative | GagPol2 + P25 | 61 | 3 | 8.5 | 18.7 | 144
BC22 | Ram22_VQ | negative | GagPol2 + P25 | 44.6 | 4 | 7.5 | 16.7 | 128
BC24 | White |  | GagPol2 + P25 | 30 | 5 | 6.5 | 3.52 | 24
[8 empty] | 85,5ng/µl |  | 1516 pores
|  |  | S1 113,63 |  |  | S1 27,05
|  |  | S2 10969 |  |  | S2 14726