## SUMMARY DATA
RAW DATA
CUT-OFF DETERMINATION
using ROC curve (round 2)
No | ID | IFAT RESULTS | OD ELISA2 | results (OD each sample - cut off) | ELISA results |  | Coordinates of the Curve
1 | XG27C | 1 | 2.178 | 1.6495 | 1 |  | Test Result Variable(s): | OD ELISA2
2 | T71C2 | 1 | 1.5755 | 1.047 | 1 |  | Positive if Greater Than or Equal Toa | Sensitivity | 1 - Specificity
3 | XB8C | 0 | 0.1615 | -0.367 | 0 |  | -0.9675 | 1 | 1
4 | T36C9 | 1 | 1.283 | 0.7545 | 1 |  | 0.037 | 1 | 0.99
5 | T71C13 | 1 | 1.8565 | 1.328 | 1 |  | 0.06475 | 1 | 0.98
6 | T61C1 | 0 | 0.288 | -0.2405 | 0 |  | 0.08825 | 1 | 0.97
7 | T71C10 | 1 | 1.6395 | 1.111 | 1 |  | 0.08925 | 1 | 0.96
8 | T73C10 | 0 | 0.52 | -0.0085 | 0 |  | 0.094 | 1 | 0.95
9 | PS044 | 0 | 0.1085 | -0.42 | 0 |  | 0.1 | 1 | 0.94
10 | T90C8 | 0 | 0.169 | -0.3595 | 0 |  | 0.1035 | 0.97959 | 0.94
11 | XB4C | 0 | 0.2455 | -0.283 | 0 |  | 0.10625 | 0.97959 | 0.93
12 | PS060 | 0 | 0.201 | -0.3275 | 0 |  | 0.108 | 0.97959 | 0.92
13 | XC19C | 0 | 0.429 | -0.0995 | 0 |  | 0.11025 | 0.97959 | 0.91
14 | T61C3 | 1 | 2.302 | 1.7735 | 1 |  | 0.1135 | 0.97959 | 0.9
15 | T79C2 | 1 | 1.4895 | 0.961 | 1 |  | 0.121 | 0.97959 | 0.89
16 | T73C9 | 0 | 0.38 | -0.1485 | 0 |  | 0.1275 | 0.97959 | 0.88
17 | T70C11 | 1 | 1.3945 | 0.866 | 1 |  | 0.13575 | 0.97959 | 0.87
18 | T70C20 | 1 | 2.3975 | 1.869 | 1 |  | 0.14425 | 0.97959 | 0.86
19 | T71C14 | 1 | 1.0965 | 0.568 | 1 |  | 0.15325 | 0.97959 | 0.85
20 | T79C20 | 0 | 0.468 | -0.0605 | 0 |  | 0.162 | 0.97959 | 0.84
21 | XC15C | 0 | 1.1735 | 0.645 | 1 |  | 0.16425 | 0.97959 | 0.83
22 | T6C2 | 1 | 1.838 | 1.3095 | 1 |  | 0.1675 | 0.97959 | 0.82
23 | PS073 | 0 | 0.2215 | -0.307 | 0 |  | 0.1755 | 0.97959 | 0.81
24 | XA7C | 0 | 0.202 | -0.3265 | 0 |  | 0.18375 | 0.97959 | 0.8
25 | T61C16 | 0 | 0.098 | -0.4305 | 0 |  | 0.18575 | 0.97959 | 0.79
26 | T1C1 | 0 | 0.324 | -0.2045 | 0 |  | 0.19025 | 0.97959 | 0.78
27 | T79C17 | 0 | 0.448 | -0.0805 | 0 |  | 0.19525 | 0.97959 | 0.77
28 | T61C2 | 0 | 0.2125 | -0.316 | 0 |  | 0.197 | 0.97959 | 0.76
29 | XC6C | 0 | 0.32 | -0.2085 | 0 |  | 0.19875 | 0.97959 | 0.75
30 | XH11C | 1 | 0.815 | 0.2865 | 1 |  | 0.20025 | 0.97959 | 0.74
31 | T61C8 | 0 | 0.09 | -0.4385 | 0 |  | 0.2015 | 0.97959 | 0.73
32 | T70C18 | 1 | 1.549 | 1.0205 | 1 |  | 0.20375 | 0.97959 | 0.72
33 | PS064 | 0 | 0.2755 | -0.253 | 0 |  | 0.209 | 0.97959 | 0.71
34 | T2C1 | 0 | 0.262 | -0.2665 | 0 |  | 0.217 | 0.97959 | 0.69
35 | T73C6 | 0 | 0.198 | -0.3305 | 0 |  | 0.22425 | 0.97959 | 0.68
36 | T98C4 | 1 | 0.9315 | 0.403 | 1 |  | 0.22975 | 0.97959 | 0.66
37 | T79C15 | 0 | 0.4165 | -0.112 | 0 |  | 0.23425 | 0.97959 | 0.65
38 | T1C4 | 0 | 0.227 | -0.3015 | 0 |  | 0.2405 | 0.97959 | 0.64
39 | T61C6 | 1 | 2.3125 | 1.784 | 1 |  | 0.24525 | 0.97959 | 0.63
40 | T90C2 | 0 | 0.245 | -0.2835 | 0 |  | 0.2535 | 0.97959 | 0.62
41 | XC5C | 0 | 0.2615 | -0.267 | 0 |  | 0.26175 | 0.97959 | 0.61
42 | T79C14 | 0 | 0.4315 | -0.097 | 0 |  | 0.26225 | 0.97959 | 0.6
43 | T90C9 | 0 | 1.074 | 0.5455 | 1 |  | 0.2675 | 0.97959 | 0.59
44 | XC3C | 1 | 0.933 | 0.4045 | 1 |  | 0.274 | 0.97959 | 0.58
45 | PS063 | 0 | 3.0205 | 2.492 | 1 |  | 0.2775 | 0.97959 | 0.57
46 | T77C12 | 1 | 0.102 | -0.4265 | 0 |  | 0.28125 | 0.97959 | 0.56
47 | T90C7 | 0 | 0.1075 | -0.421 | 0 |  | 0.2855 | 0.97959 | 0.55
48 | T90C1 | 0 | 0.2055 | -0.323 | 0 |  | 0.29225 | 0.97959 | 0.54
49 | PS123 | 1 | 1.224 | 0.6955 | 1 |  | 0.302 | 0.97959 | 0.53
50 | T54C1 | 0 | 0.381 | -0.1475 | 0 |  | 0.313 | 0.97959 | 0.52
51 | T73C8 | 0 | 0.2125 | -0.316 | 0 |  | 0.31925 | 0.97959 | 0.51
52 | T99C11 | 1 | 2.8725 | 2.344 | 1 |  | 0.321 | 0.97959 | 0.5
53 | PS126 | 0 | 0.334 | -0.1945 | 0 |  | 0.323 | 0.97959 | 0.49
54 | XC16C | 0 | 0.236 | -0.2925 | 0 |  | 0.3265 | 0.97959 | 0.48
55 | T90C6 | 0 | 0.3715 | -0.157 | 0 |  | 0.32925 | 0.97959 | 0.47
56 | T1C3 | 1 | 1.1415 | 0.613 | 1 |  | 0.33025 | 0.97959 | 0.46
57 | PS047 | 0 | 0.329 | -0.1995 | 0 |  | 0.3325 | 0.97959 | 0.44
58 | PS128 | 0 | 0.227 | -0.3015 | 0 |  | 0.33525 | 0.97959 | 0.43
59 | PS002 | 0 | 0.3395 | -0.189 | 0 |  | 0.338 | 0.97959 | 0.42
60 | T36C6 | 1 | 1.2785 | 0.75 | 1 |  | 0.3475 | 0.97959 | 0.41
61 | T79C16 | 0 | 0.4185 | -0.11 | 0 |  | 0.3625 | 0.97959 | 0.4
62 | PS127 | 0 | 0.448 | -0.0805 | 0 |  | 0.36975 | 0.97959 | 0.38
63 | T73C2 | 1 | 1.389 | 0.8605 | 1 |  | 0.37075 | 0.97959 | 0.37
64 | PS004 | 0 | 0.1855 | -0.343 | 0 |  | 0.372 | 0.97959 | 0.36
65 | T70C15 | 1 | 1.766 | 1.2375 | 1 |  | 0.376 | 0.97959 | 0.35
66 | T79C11 | 0 | 0.3795 | -0.149 | 0 |  | 0.37975 | 0.97959 | 0.34
67 | T61C11 | 1 | 1.1115 | 0.583 | 1 |  | 0.3805 | 0.97959 | 0.33
68 | PS116 | 1 | 1.0835 | 0.555 | 1 |  | 0.3815 | 0.97959 | 0.32
69 | T71C6 | 1 | 2.4425 | 1.914 | 1 |  | 0.3945 | 0.97959 | 0.31
70 | PS076 | 0 | 0.425 | -0.1035 | 0 |  | 0.41175 | 0.97959 | 0.3
71 | T90C5 | 0 | 0.2325 | -0.296 | 0 |  | 0.4175 | 0.97959 | 0.29
72 | PS125 | 0 | 0.166 | -0.3625 | 0 |  | 0.42175 | 0.97959 | 0.28
73 | T4C5 | 0 | 0.0885 | -0.44 | 0 |  | 0.427 | 0.97959 | 0.27
74 | T62C1 | 0 | 0.331 | -0.1975 | 0 |  | 0.43025 | 0.97959 | 0.26
75 | XC7C | 0 | 0.3185 | -0.21 | 0 |  | 0.43275 | 0.97959 | 0.25
76 | T90C10 | 0 | 0.283 | -0.2455 | 0 |  | 0.436 | 0.97959 | 0.24
77 | XA6C | 0 | 0.382 | -0.1465 | 0 |  | 0.443 | 0.97959 | 0.23
78 | T1C2 | 0 | 0.4605 | -0.068 | 0 |  | 0.4485 | 0.97959 | 0.21
79 | T61C4 | 0 | 0.6935 | 0.165 | 1 |  | 0.4515 | 0.97959 | 0.2
80 | T61C5 | 1 | 1.812 | 1.2835 | 1 |  | 0.45625 | 0.97959 | 0.19
81 | PS075 | 0 | 0.182 | -0.3465 | 0 |  | 0.4595 | 0.97959 | 0.18
82 | PS121 | 0 | 0.3295 | -0.199 | 0 |  | 0.46425 | 0.97959 | 0.17
83 | PS062 | 0 | 0.4715 | -0.057 | 0 |  | 0.46975 | 0.97959 | 0.16
84 | XB9C | 0 | 0.454 | -0.0745 | 0 |  | 0.47625 | 0.97959 | 0.15
85 | T88C1 | 1 | 0.979 | 0.4505 | 1 |  | 0.48375 | 0.97959 | 0.14
86 | T79C8 | 0 | 0.1625 | -0.366 | 0 |  | 0.49225 | 0.95918 | 0.14
87 | XC17C | 1 | 1.7335 | 1.205 | 1 |  | 0.49825 | 0.95918 | 0.13
88 | T99C17 | 1 | 0.696 | 0.1675 | 1 |  | 0.50925 | 0.95918 | 0.12
89 | XE3C | 1 | 1.5335 | 1.005 | 1 |  | 0.52075 | 0.95918 | 0.11
90 | PS130 | 0 | 0.105 | -0.4235 | 0 |  | 0.5285 | 0.95918 | 0.1
91 | T5C1 | 1 | 1.3245 | 0.796 | 1 |  | 0.57875 | 0.95918 | 0.09
92 | T69C4 | 1 | 1.5065 | 0.978 | 1 |  | 0.65775 | 0.95918 | 0.08
93 | PS061 | 0 | 0.2625 | -0.266 | 0 |  | 0.69475 | 0.95918 | 0.07
94 | T90C3 | 0 | 0.3365 | -0.192 | 0 |  | 0.69625 | 0.93878 | 0.07
95 | PS129 | 0 | 0.498 | -0.0305 | 0 |  | 0.70525 | 0.93878 | 0.06
96 | PS045 | 0 | 1.943 | 1.4145 | 1 |  | 0.7645 | 0.91837 | 0.06
97 | XA3C | 0 | 0.0325 | -0.496 | 0 |  | 0.838 | 0.89796 | 0.06
98 | PS077 | 0 | 0.5355 | 0.007 | 1 |  | 0.88625 | 0.87755 | 0.06
99 | T88C6 | 1 | 0.4865 | -0.042 | 0 |  | 0.9215 | 0.87755 | 0.05
100 | T73C7 | 0 | 0.9115 | 0.383 | 1 |  | 0.93225 | 0.85714 | 0.05
101 | T61C18 | 0 | 0.331 | -0.1975 | 0 |  | 0.956 | 0.83673 | 0.05
102 | T70C10 | 1 | 1.4635 | 0.935 | 1 |  | 0.98275 | 0.81633 | 0.05
103 | T79C9 | 0 | 0.438 | -0.0905 | 0 |  | 1.0283 | 0.81633 | 0.04
104 | PS074 | 0 | 0.186 | -0.3425 | 0 |  | 1.072 | 0.79592 | 0.04
105 | T6C3 | 0 | 0.6965 | 0.168 | 1 |  | 1.0787 | 0.79592 | 0.03
106 | T71C20 | 1 | 2.029 | 1.5005 | 1 |  | 1.09 | 0.77551 | 0.03
107 | T71C9 | 1 | 1.242 | 0.7135 | 1 |  | 1.104 | 0.7551 | 0.03
108 | T79C13 | 0 | 0.322 | -0.2065 | 0 |  | 1.1168 | 0.73469 | 0.03
109 | XC11C | 0 | 0.3695 | -0.159 | 0 |  | 1.1318 | 0.71429 | 0.03
110 | T61C7 | 0 | 0.4985 | -0.03 | 0 |  | 1.1575 | 0.69388 | 0.03
111 | T2C3 | 0 | 0.3555 | -0.173 | 0 |  | 1.1772 | 0.69388 | 0.02
112 | T88C8 | 1 | 1.857 | 1.3285 | 1 |  | 1.2025 | 0.67347 | 0.02
113 | T71C5 | 1 | 2.3565 | 1.828 | 1 |  | 1.233 | 0.65306 | 0.02
114 | T77C21 | 1 | 1.703 | 1.1745 | 1 |  | 1.2603 | 0.63265 | 0.02
115 | XB13C | 0 | 0.1995 | -0.329 | 0 |  | 1.2807 | 0.61224 | 0.02
116 | T70C19 | 1 | 1.446 | 0.9175 | 1 |  | 1.3037 | 0.59184 | 0.02
117 | XC18C | 0 | 0.4585 | -0.07 | 0 |  | 1.3567 | 0.57143 | 0.02
118 | PS065 | 0 | 0.088 | -0.4405 | 0 |  | 1.3918 | 0.55102 | 0.02
119 | PS001 | 0 | 0.2965 | -0.232 | 0 |  | 1.4203 | 0.53061 | 0.02
120 | XC2C | 1 | 1.181 | 0.6525 | 1 |  | 1.4547 | 0.5102 | 0.02
121 | T89C6 | 1 | 0.861 | 0.3325 | 1 |  | 1.4765 | 0.4898 | 0.02
122 | PS046 | 0 | 0.622 | 0.0935 | 1 |  | 1.498 | 0.46939 | 0.02
123 | PS003 | 0 | 0.481 | -0.0475 | 0 |  | 1.5135 | 0.44898 | 0.02
124 | T6C4 | 0 | 0.145 | -0.3835 | 0 |  | 1.527 | 0.42857 | 0.02
125 | T70C13 | 1 | 1.987 | 1.4585 | 1 |  | 1.5413 | 0.40816 | 0.02
126 | XC4C | 0 | 0.2725 | -0.256 | 0 |  | 1.5622 | 0.38776 | 0.02
127 | PS122 | 0 | 0.37 | -0.1585 | 0 |  | 1.6075 | 0.36735 | 0.02
128 | T79C10 | 0 | 0.0415 | -0.487 | 0 |  | 1.6713 | 0.34694 | 0.02
129 | T79C19 | 0 | 0.434 | -0.0945 | 0 |  | 1.7183 | 0.32653 | 0.02
130 | XC14C | 0 | 0.449 | -0.0795 | 0 |  | 1.7498 | 0.30612 | 0.02
131 | T79C18 | 0 | 0.1945 | -0.334 | 0 |  | 1.789 | 0.28571 | 0.02
132 | XC9C | 0 | 0.127 | -0.4015 | 0 |  | 1.825 | 0.26531 | 0.02
133 | T61C19 | 0 | 0.128 | -0.4005 | 0 |  | 1.8473 | 0.2449 | 0.02
134 | PS048 | 0 | 0.3695 | -0.159 | 0 |  | 1.8567 | 0.22449 | 0.02
135 | PS007 | 0 | 0.9865 | 0.458 | 1 |  | 1.9 | 0.20408 | 0.02
136 | T71C3 | 1 | 2.725 | 2.1965 | 1 |  | 1.965 | 0.20408 | 0.01
137 | T89C4 | 1 | 1.122 | 0.5935 | 1 |  | 2.008 | 0.18367 | 0.01
138 | T4C1 | 0 | 0.112 | -0.4165 | 0 |  | 2.1035 | 0.16327 | 0.01
139 | XA4C | 0 | 0.1435 | -0.385 | 0 |  | 2.24 | 0.14286 | 0.01
140 | T61C17 | 0 | 0.3075 | -0.221 | 0 |  | 2.3072 | 0.12245 | 0.01
141 | T79C12 | 0 | 0.115 | -0.4135 | 0 |  | 2.3345 | 0.10204 | 0.01
142 | T79C7 | 0 | 0.196 | -0.3325 | 0 |  | 2.377 | 0.081633 | 0.01
143 | T79C6 | 0 | 0.3725 | -0.156 | 0 |  | 2.42 | 0.061224 | 0.01
144 | T90C4 | 0 | 0.407 | -0.1215 | 0 |  | 2.5838 | 0.040816 | 0.01
145 | T71C4 | 1 | 1.07 | 0.5415 | 1 |  | 2.7988 | 0.020408 | 0.01
146 | PS124 | 0 | 0.2795 | -0.249 | 0 |  | 2.9465 | 0 | 0.01
147 | T98C2 | 1 | 0.714 | 0.1855 | 1 |  | 4.0205 | 0 | 0
148 | T91C8 | 1 | 1.5205 | 0.992 | 1 |  | a. The smallest cutoff value is the minimum observed test value minus 1, and the largest cutoff value is the maximum observed test value plus 1. All the other cutoff values are the averages of two consecutive ordered observed test values.
149 | XC10C | 0 | 0.5215 | -0.007 | 0
OD ELISA2
|  |  |  | Std. Errora | Asymptotic Sig.b | Asymptotic 95% Confidence Interval
[6 empty] | Lower Bound | Upper Bound
|  |  |  | 0.022746 | 2.4643e-19 | 0.9095 | 0.99866

## Calibration curve
dilution | OD (450nm)
1:50 | 0.823
1:100 | 0.564
1:200 | 0.526