Established average OD600 value for 1x108CFU/mL of K. pneumoniae

| S.no | Host | OD600 value for 1x108CFU/mL | Average CFU/mL at the corresponding OD600 |
| --- | --- | --- | --- |
| 1 | TASP92 | 0.431 | ~1x108 |
| 2 | TASP50 | 0.384 | ~1x108 |
| 3 | TASP18 | 0.542 | ~1x108 |
| 4 | TASP32 | 0.727 | ~1x108 |
| 5 | TASP06 | 0.463 | ~1x108 |
| 6 | TASP117 | 0. 513 | ~1x108 |
| 7 | TASP09 | 0.366 | ~1x108 |
| 8 | TASP37 | 0.254 | ~1x108 |
| 9 | TASP101 | 0.441 | ~1x108 |
| 10 | TASP76 | 0.228 | ~1x108 |

- Procedure: The bacterial culture was grown for 18 hours in Tryptone Soy Broth (TSB).

- The culture was thoroughly mixed to ensure homogeneity, and the optical density at 600 nm (OD600) was measured using a spectrophotometer that had been previously blanked with TSB media.

- A series of serial dilutions of the culture was prepared using sterile media to cover a range of bacterial concentrations.

- Each dilution was plated in triplicate onto agar plates and incubated under optimal growth conditions for the isolation hosts. After incubation, the colonies were counted on plates that contained 30-300 colonies to ensure accuracy, and the colony-forming units per milliliter (CFU/mL) were calculated for each dilution based on the dilution factor.

- The OD600 values of the corresponding dilutions were measured.

- A standard curve was constructed by plotting the measured OD600 values against the corresponding CFU/mL values obtained from the colony counts.

- The OD600 value corresponding to 1 × 10^8 CFU/mL was determined by interpolation.