Established average OD600 value for 1x108CFU/mL of K. pneumoniae
	S.no
	Host
	OD600 value for 1x108CFU/mL
	Average CFU/mL at the corresponding OD600

	1
	TASP92
	0.431 
	~1x108

	2
	TASP50
	0.384
	~1x108

	3
	TASP18 
	0.542
	~1x108

	4
	TASP32
	0.727
	~1x108

	5
	TASP06
	0.463
	~1x108

	6
	TASP117 
	0. 513
	~1x108

	7
	TASP09
	0.366
	~1x108

	8
	TASP37 
	0.254
	~1x108

	9
	TASP101
	0.441
	~1x108

	10
	TASP76
	0.228
	~1x108


1. Procedure: The bacterial culture was grown for 18 hours in Tryptone Soy Broth (TSB). 
2. The culture was thoroughly mixed to ensure homogeneity, and the optical density at 600 nm (OD600) was measured using a spectrophotometer that had been previously blanked with TSB media. 
3. A series of serial dilutions of the culture was prepared using sterile media to cover a range of bacterial concentrations. 
4. Each dilution was plated in triplicate onto agar plates and incubated under optimal growth conditions for the isolation hosts. After incubation, the colonies were counted on plates that contained 30-300 colonies to ensure accuracy, and the colony-forming units per milliliter (CFU/mL) were calculated for each dilution based on the dilution factor. 
5. The OD600 values of the corresponding dilutions were measured.
6. A standard curve was constructed by plotting the measured OD600 values against the corresponding CFU/mL values obtained from the colony counts. 
7. [bookmark: _GoBack]The OD600 value corresponding to 1 × 10^8 CFU/mL was determined by interpolation. 

