A

B

A

B

Supplementary Figures

Fig. S1. Chemical structure of (A) CFPM and (B) TAZO.

Fig. S2. RMSECV plot of the calibration set as a function of the optimum latent variables (LVs) for the (A) PCR, and (B) FA-PLS models.

Fig. S3. Elliptical confidence regions for CFPM and TAZO with the ideal point.

Fig. S4. Triangular pyramid illustrating the analytical chemistry for sustainability concept based on the Need – Quality - Sustainability (NQS) index.

Supplementary Tables

Table S1: Optimized parameters of the Firefly algorithm used for variable selection to enhance the predictability of the PLS models.

| Parameter | CFPM | TAZO |
| --- | --- | --- |
| Number of fireflies | 25 | 25 |
| Maximum number of generations | 100 | 100 |
| Randomization parameter (α) | 0.25 | 0.20 |
| Attractiveness coefficient (βο) | 1.0 | 1.0 |
| Absorption coefficient (γ) | 0.9 | 0.8 |

Table S2: Validation parameters for the determination of CFPM and TAZO in pharmaceutical preparations using the proposed chemometric models.

| Parameters | PCR |  | GA-PLS |  |
| --- | --- | --- | --- | --- |
|  | CFPM | TAZO | CFPM | TAZO |
| Working range (μg mL-1) | 1–17 | 1–9 | 1–17 | 1–9 |
| Slope a | 0.9984 | 0.9976 | 0.9992 | 0.9988 |
| Intercept a | 0.0132 | 0.0179 | 0.0086 | 0.0114 |
| r2 a | 0.9992 | 0.9991 | 0.9996 | 0.9995 |
| LOD (μg mL-1) b | 0.0863 | 0.0724 | 0.0648 | 0.0529 |
| LOQ (μg mL-1) b | 0.2615 | 0.2194 | 0.1964 | 0.1603 |
| RMSEC c | 0.326 | 0.301 | 0.248 | 0.221 |
| RMSEP d | 0.371 | 0.345 | 0.281 | 0.257 |
| RRMSEP e | 2.218 | 2.457 | 1.684 | 1.923 |
| BCRMSEP f | 0.129 | 0.118 | 0.082 | 0.074 |
| SEC g | 0.341 | 0.315 | 0.262 | 0.236 |
| Accuracy h (M.R % ± S.D) | 99.32 ± 0.618 | 99.56 ± 0.689 | 99.71 ± 0.487 | 99.83 ± 0.532 |
| Repeatability h (%RSD ) | 0.653 | 0.724 | 0.492 | 0.548 |
| Intermediate precision h (%RSD ) | 0.768 | 0.832 | 0.611 | 0.657 |
| Robustness h (%RSD ) | 0.846 | 0.901 | 0.689 | 0.742 |
| Experimental t value i | 3.97 | 2.31 | 2.13 | 1.15 |
| Critical value t(0.025, 12) | 2.179 | 2.179 | 2.179 | 2.179 |
| Critical value t(0.01, 12) | 2.681 | 2.681 | 2.681 | 2.681 |
| Parameters | MCR-ALS |  |  |  |
|  | CFPM | TAZO |  |  |
| Range (μg mL-1) | 1–17 | 1–9 |  |  |
| Slope a | 0.9997 | 0.9994 |  |  |
| Intercept a | 0.0041 | 0.0063 |  |  |
| r2 a | 0.9999 | 0.9998 |  |  |
| LOD (μg mL-1) b | 0.0487 | 0.0396 |  |  |
| LOQ (μg mL-1)b | 0.1476 | 0.1200 |  |  |
| RMSEC c | 0.186 | 0.163 |  |  |
| RMSEP d | 0.214 | 0.192 |  |  |
| RRMSEP e | 1.283 | 1.437 |  |  |
| BCRMSEP f | 0.047 | 0.041 |  |  |
| SEC g | 0.197 | 0.171 |  |  |
| Accuracy h (M.R % ± S.D) | 100.12 ± 0.352 | 100.05 ± 0.398 |  |  |
| Repeatability h (%RSD ) | 0.361 | 0.402 |  |  |
| Intermediate precision h (%RSD ) | 0.452 | 0.496 |  |  |
| Robustness h (%RSD ) | 0.518 | 0.563 |  |  |
| Experimental t value i | 1.22 | 0.45 |  |  |
| Critical value t(0.025, 12) | 2.179 | 2.179 |  |  |
| Critical value t(0.01, 12) | 2.681 | 2.681 |  |  |

a Data of the straight line plotted between predicted concentrations versus actual concentrations of the validation set.

b The LOD and LOQ calculations are based on the net analyte signals.

c Root mean square error of calibration.

d Root mean square error of prediction.

e Relative root mean square error of prediction.

f Bias corrected mean square error of prediction.

g standard error of calibration

h Average of three determinations.

itexp = |100 - R̄exp| × √n/SR, Where: R̄exp is the mean recovery percentage, n is the number of samples (13),  and SR is the standard deviation of recoveries.

Table S3: One-way ANOVA statistical analysis comparing the performance of three chemometric methods for the simultaneous determination of CFPM and TAZO (95% confidence level)

| Component |  | Sum of squares | df | Mean square | F | P value |
| --- | --- | --- | --- | --- | --- | --- |
| CFPM | Between Groups | 0.284 | 2 | 0.142 | 1.38 (3.89) a | 0.279 |
|  | Within Groups | 2.468 | 24 | 0.103 | — | — |
|  | Total | 2.752 | 26 | — | — | — |
| TAZO | Between Groups | 0.196 | 2 | 0.098 | 1.11 (3.89) a | 0.346 |
|  | Within Groups | 2.119 | 24 | 0.088 | — | — |
|  | Total | 2.315 | 26 | — | — | — |

a Figures in parentheses represent the corresponding critical value of F at P < 0.05.

Table S4: Matrix effect assessment for Cefepime (CFPM) and Tazobactam (TAZO) in human plasma using the optimized MCR-ALS model

| Analyte | Spiked Level (µg mL⁻¹) | Calculated Concentration in Neat Solution (µg mL⁻¹) a | Calculated Concentration in Post-Extraction Spiked Plasma (µg mL⁻¹) a | Response in Neat Solution (a.u.) | Response in Post-Extraction Spiked Plasma (a.u.) | Matrix Factor (MF) b, d | Matrix Effect (%) c,e |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CFPM | 5.0 | 4.99 | 4.88 | 0.284 | 0.277 | 0.9780 | −2.20 |
|  | 10.0 | 9.97 | 9.81 | 0.566 | 0.555 | 0.9839 | −1.61 |
|  | 15.0 | 14.96 | 14.77 | 0.848 | 0.835 | 0.9873 | −1.27 |
| TAZO | 3.0 | 2.98 | 2.91 | 0.196 | 0.190 | 0.9765 | −2.35 |
|  | 5.0 | 4.99 | 4.88 | 0.327 | 0.319 | 0.9780 | −2.20 |
|  | 7.0 | 6.97 | 6.86 | 0.458 | 0.449 | 0.9842 | −1.58 |

a Calculated concentrations were obtained using the optimized MCR-ALS chemometric model.
b Matrix factor (MF) was calculated as the ratio of the calculated concentration in post-extraction spiked plasma to that obtained for the corresponding neat aqueous standard at the same nominal concentration.
c Matrix effect (%) was calculated as: Matrix Effect (%) = (MF − 1) × 100.
d Matrix factor values close to unity indicate negligible matrix-induced interference.
e Negative values indicate signal suppression, positive values indicate signal enhancement, and zero indicates the absence of matrix effect.