Development and Validation of a Green Dispersive Liquid-Liquid Microextraction-LC-MS/MS Method for Sotalol Quantification in Human Plasma Using Central Composite Design Optimization and Pharmacokinetic Application

Ahmed Serag a,*,  Maram H Abduljabbar b, Manal E. Alosaimi c,  Alaa O. Baryyan d, Reem M. Alnemari e, Fotoon Redwan d, Atiah H. Almalki f, g

a Pharmaceutical Analytical Chemistry Department, Faculty of Pharmacy, Al-Azhar University, Nasr City 11751, Cairo, Egypt

b Department of Pharmacology and Toxicology, College of Pharmacy, Taif University, P.O. Box 11099, Taif 21944, Saudi Arabia

c Department of Basic Sciences, College of Medicine, Princess Nourah bint Abdulrahman University, P.O. Box 84428, Riyadh 11671, Saudi Arabia

d Department of Pharmaceutical Sciences, Faculty of Pharmacy, Umm Al-Qura University, Makkah, Saudi Arabia

e Department of Pharmaceutics and Industrial Pharmacy, College of Pharmacy, Taif University, P.O. Box 11099, Taif 21944, Saudi Arabia

f Addiction and Neuroscience Research Unit, Health Science Campus, Taif University, P.O. Box 11099, Taif 21944, Saudi Arabia

g Department of Pharmaceutical Chemistry, College of Pharmacy, Taif University, P.O. Box 11099, Taif 21944, Saudi Arabia

*Corresponding author email address: (Ahmed Serag)  ahmedserag777@hotmail.com

Table S1: Central composite design matrix showing 27 experimental runs with four independent variables for DLLME optimization.

|  |  | Factor 1 | Factor 2 | Factor 3 | Factor 4 |
| --- | --- | --- | --- | --- | --- |
| Std | Run | A:Disperser volume | B:Extraction volume | C:pH | D:Centrifugation time |
|  |  | µL | µL |  | min |
| 14 | 1 | 1200 | 100 | 10 | 10 |
| 6 | 2 | 1200 | 100 | 10 | 3 |
| 25 | 3 | 800 | 200 | 6.5 | 6.5 |
| 2 | 4 | 1200 | 100 | 3 | 3 |
| 22 | 5 | 800 | 200 | 10.7 | 6.5 |
| 5 | 6 | 400 | 100 | 10 | 3 |
| 1 | 7 | 400 | 100 | 3 | 3 |
| 20 | 8 | 800 | 320 | 6.5 | 6.5 |
| 24 | 9 | 800 | 200 | 6.5 | 10.7 |
| 17 | 10 | 320 | 200 | 6.5 | 6.5 |
| 23 | 11 | 800 | 200 | 6.5 | 2.3 |
| 9 | 12 | 400 | 100 | 3 | 10 |
| 3 | 13 | 400 | 300 | 3 | 3 |
| 7 | 14 | 400 | 300 | 10 | 3 |
| 12 | 15 | 1200 | 300 | 3 | 10 |
| 26 | 16 | 800 | 200 | 6.5 | 6.5 |
| 19 | 17 | 800 | 80 | 6.5 | 6.5 |
| 21 | 18 | 800 | 200 | 2.3 | 6.5 |
| 18 | 19 | 1280 | 200 | 6.5 | 6.5 |
| 15 | 20 | 400 | 300 | 10 | 10 |
| 27 | 21 | 800 | 200 | 6.5 | 6.5 |
| 16 | 22 | 1200 | 300 | 10 | 10 |
| 4 | 23 | 1200 | 300 | 3 | 3 |
| 13 | 24 | 400 | 100 | 10 | 10 |
| 10 | 25 | 1200 | 100 | 3 | 10 |
| 11 | 26 | 400 | 300 | 3 | 10 |
| 8 | 27 | 1200 | 300 | 10 | 3 |

Table S2: Statistical parameters demonstrating adequacy and predictive capability of second-order polynomial models for both responses.

| Parameter | Recovery (%) | CV (%) |
| --- | --- | --- |
| R² | 0.9830 | 0.9713 |
| Adjusted R² | 0.9755 | 0.9608 |
| Predicted R² | 0.9569 | 0.9391 |
| Adequate Precision | 40.136 | 29.636 |
| CV % | 1.65 | 7.33 |

Table S3: Matrix effect and extraction recovery of sotalol assessed at three quality control levels (LQC, MQC, HQC).

| QC Level | Nominal Concentration (ng/mL) | Matrix effect (%) | Extraction recovery (%) |
| --- | --- | --- | --- |
| LQC | 3 | 97.47±9.609 | 99.54±4.911 |
| MQC | 600 | 91.57±3.745 | 102.92±5.364 |
| HQC | 1000 | 97.22±9.466 | 99.05±6.368 |

Table S4: Stability of sotalol in human plasma under various storage and handling conditions at two quality control levels (LQC, HQC).

| Condition | LQC |  | HQC |  |
| --- | --- | --- | --- | --- |
|  | Recovery (%) | CV (%) | Recovery (%) | CV(%) |
| 2-8°C 24h | 98.53 | 6.76 | 101.25 | 0.47 |
| Post-preparation (autosampler, 10°C) 48h | 96.25 | 1.99 | 95.53 | 2.38 |
| Room temperature 24h | 93.62 | 3.05 | 92.21 | 1.45 |
| Three freeze-thaw cycles(-70°C) | 93.7 | 1.85 | 92.16 | 7.05 |
| Long-term 40days (-70°C) | 92.23 | 8.08 | 92.18 | 5.06 |

Table S5: Comparison of the developed DLLME-LC-MS/MS method with previously reported analytical methods for sotalol determination in human plasma.

| Reference | Method | Sample Volume (µL) | Extraction Approach | Linearity (ng/mL) | Recovery (%) | LLOQ (ng/mL) | Runtime (min) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Bartek et al. [12] | HPLC-FLD | 1000 | SPE (C8 cartridge) | 10–6000 | 76.0 | 10 | ~18 |
| Boutagy & Shenfield [11] | HPLC-FLD | 300 | Protein precipitation (PCA) | 160–10,000 | >98 | 80 | ~7 |
| Chiap et al. [17] | HPLC-UV | 370 | Automated dialysis + cation-exchange TEC | 25–1000 | 60.4 | 25 | 19 |
| Rbeida et al. [15] | HPLC-FLD | 100 | RAM with cation exchange (XDSc) | 5–500 | ~96 | 5 | 19 |
| Li et al. [10] | LC-MS/MS | 100 | Protein precipitation (ACN) | 20–4000 | 85–99.7 | 20 | 7.5 |
| Zarghi et al. [19] | Ion-pair HPLC-FLD | 500 | Protein precipitation (PCA) | 20–1500 | 96.5 | 10 | 6 |
| Goryński et al. [22] | SPME-LC-MS/MS | 1200 | TF-SPME (HLB, 96-well) | 1–1000 | ~50 | 1.15 | ~12 |
| This work | DLLME-LC-MS/MS | 400 | CCD-optimised DLLME | 1–1200 | 99–103 | 1 | 4 |

### Fig. S1: Diagnostic plots for validation of second-order polynomial models: (A-B) normal probability plots of externally studentized residuals for recovery and CV models showing linear distribution, (C-D) predicted versus actual values demonstrating excellent correlation, (E-F) externally studentized residuals versus run number showing random scatter, and (G-H) leverage versus run number indicating absence of influential outliers.

### Fig. S2: Numerical optimization results showing optimal DLLME conditions: (A) disperser volume = 1200 µL, (B) extraction solvent volume = 300 µL, (C) pH = 10, (D) centrifugation time = 3 min, with predicted extraction recovery = 95.29% and coefficient of variation = 4.16%.

### Fig. S3: Selectivity chromatograms demonstrating absence of interfering peaks in blank human plasma for (A) sotalol transition (m/z 273.1→255.1) and (B) atenolol internal standard transition (m/z 267.2→145.1).