[bookmark: _GoBack]Table S6. Real-time operational performance of AI alerts during post-implementation period (July–December 2023, n=621 calls)
	Metric
	Deterioration warning model
	STEMI detection model

	Alert threshold
	Risk score ≥65
	Probability >0.5

	Number of alerts (n, % of all calls)
	84 (13.5%)
	40 (6.4%)*

	True positives (n)
	34
	32

	False positives (n)
	50
	8

	Sensitivity (%)
	74 (validation) / 71 (operational)
	92 (validation) / 94 (operational)

	Specificity (%)
	91 (validation) / 89 (operational)
	96 (validation) / 95 (operational)

	Positive predictive value (PPV, %)
	41% (34/84)
	80% (32/40)*

	Negative predictive value (NPV, %)
	97%
	99%

	False positive rate (per 100 calls)
	8.1% (50/621)
	1.3% (8/621)



*Note: STEMI alerts are triggered only for patients with ECG acquisition; denominator is 500 calls with ECG data. Operational sensitivity/specificity calculated against final hospital diagnosis.

