Supplementary Information

The developmental profile of blood leukocyte telomere length in Thoroughbred horses

Alexandra L. Moss1*, Orlagh O’Reilly1, Amy Holtby2, John Browne3, Megan L. Power4, Emma C. Teeling4, Emmeline W. Hill3, Lisa M. Katz1*

1UCD School of Veterinary Medicine, University College Dublin, Belfield, Dublin D04V1W8, Ireland.

2 Zinto Labs Ltd., The Highline, Dun Laoghaire Industrial estate, Dublin A96W5T3, Ireland.

3UCD School of Agriculture and Food Science, University College Dublin, Belfield, Dublin D04V1W8, Ireland.

4UCD School of Biology & Environmental Science, University College Dublin, Belfield, Dublin D04V1W8, Ireland.

*Corresponding author

Email: Alex.Moss@nottingham.ac.uk

Telephone: +44 7552 415 169

​​

DNA extraction

A 100µL aliquot of buffy coat was first treated for removal of intact red blood cells (RBCs) with 300µL RBC lysis buffer (eBioscience™). The resulting solution was incubated at room temperature for five minutes before being centrifuged at 14,000 x g for 30 seconds to pellet the white blood cells (WBCs). Supernatant containing lysed RBCs was removed and the pelleted WBCs were resuspended in 90µL PBS solution. The solution of WBCs was treated with 30µL of proteinase K (Qiagen™) and 4µL of RNase A (Qiagen™) to remove protein and RNA contamination for later genomic DNA evaluation and incubated at 56°C for 45 minutes. DNA extraction was then carried out using the Qiagen™ DNeasy Blood & Tissue Kit as per manufacturer instructions.

## Telomere length measurements

Telomere length (TL) of peripheral blood mononuclear cells (PBMCs) is considered representative of TL in other somatic tissues (Daniali et al., 2013). Telomere and single copy gene primers for this work were designed using UCSC In-Silico PCR, Primer3 and Primer-BLAST, then validated prior to assay to have an efficiency within 90-110%. Two single copy genes were trialled to determine the most efficient primer for use in this study (see Supplementary Table 1).

PCR assays were prepared with 250nM in equivalent amounts of forward and reverse primer per well, for both telomere and eHBB primers and run immediately. All samples were run in triplicate, and every plate included a two-fold serially diluted inter-plate calibrator set (25ng, 12.5ng, 6.25ng), and negative control. Thermal profile for the telomere and eHBB assays were the same, with 10min at 95°C, then 40 cycles of 15s at 95°C followed by 1min at 60°C. Dissociation was assessed for a single peak through melt curve (60-95°C) analysis performed as a part of the primer validation standard curves. Data was input to the qBase+ software, which provided inter-plate correction and utilised a mean cycle threshold (Ct) for each sample triplicate, excluding outliers of >0.5 cycles. All samples fell within the standard curves established for the telomere and eHBB assays; hence, none were excluded for this reason.

Supplementary Table 1. Primer pair details from design and validation PCR runs prior to undertaking assay work. Base order reported in 5’-3’ sequence order.

| Primer | Forward Primer | Reverse Primer | Amplicon Size (bp) | Efficiency (%) |
| --- | --- | --- | --- | --- |
| Telomere | GGTTTGTTTGGGTTTGGGTTTGGGTTTGGGTTTGGGTT | GGCTTGCCTTACCCTTACCCTTACCCTTACCCTTACCCT | 78 | 82.79 |
| Equine Haemoglobin Subunit (eHBB) | GGTTCTTTGACTCCTTTGGGG | GCTTGTCACAGTGCAGCTC | 168 | 96.3 |
| Brain-derived neurotrophic factor (BDNF) | CGTTGGCTGACACTTTCGAA | CATGTTTGCAGCATCCAGGT | 194 | 93.46 |

Supplementary Table 2. Full descriptive data for study cohort with covariates.

| Foal ID | Mare ID | Mare Age (years) | Maternal Care Style (high/low) | Stallion Age (years) | Foal Sex (M/F) | Foal Birthweight (kg) |
| --- | --- | --- | --- | --- | --- | --- |
| 2 | 1 | 4 | Low | 11 | F | 44 |
| 4 | 3 | 13 | Low | 17 | F | 62 |
| 6 | 5 | 5 | High | 17 | M | 47 |
| 10 | 9 | 11 | High | 17 | M | 61 |
| 12 | 11 | 6 | Low | 9 | M | 55 |
| 14 | 13 | 7 | High | 17 | F | 62 |
| 18 | 17 | 8 | High | 11 | F | 51 |
| 22 | 21 | 9 | Low | 11 | F | 52 |
| 24 | 23 | 8 | High | 11 | M | 57 |
| 26 | 25 | 9 | High | 11 | M | 57 |
| 28 | 27 | 6 | Low | 17 | M | 56 |
| 30 | 29 | 6 | High | 7 | M | 53 |
| 32 | 31 | 10 | Low | 11 | F | 59 |
| 34 | 33 | 11 | Low | 6 | M | 47 |
| 38 | 37 | 5 | Low | 17 | M | 51 |
| 40 | 39 | 15 | High | 17 | F | 47 |
| 42 | 41 | 10 | High | 12 | F | 51 |
| 44 | 43 | 7 | High | 15 | M | 54 |
| 46 | 45 | 16 | High | 12 | F | 53 |
| 48 | 47 | 8 | High | 17 | F | 49 |
| 50 | 49 | 17 | Low | 17 | M | 49 |
| 52 | 51 | 16 | High | 17 | F | 56 |
| 54 | 53 | 9 | Low | 16 | F | 58 |
| 56 | 55 | 10 | High | 17 | F | 56 |
| 58 | 57 | 5 | High | 6 | F | 45 |
| 60 | 59 | 5 | High | 17 | M | 46 |
| 62 | 61 | 5 | High | 11 | F | 50 |
| 64 | 63 | 5 | High | 11 | F | 52 |
| 66 | 65 | 11 | Low | 17 | M | 62 |
| 68 | 67 | 12 | High | 11 | M | 57 |
| 70 | 69 | 12 | High | 15 | M | 53 |
| 72 | 71 | 10 | High | 11 | M | 56 |
| 74 | 73 | 13 | Low | 16 | F | 64 |
| 76 | 75 | 13 | Low | 11 | F | 52 |

Supplementary Table 3. List of variables used in linear mixed models (LMM) as additional fixed effects, to test for sources of variation in relative telomere length (RTL) with foal or mare RTL as the response variable and timepoint as a fixed effect.

| Variable | Data type | Model role | Included in foal RTL model | Included in mare RTL model | Rationale |
| --- | --- | --- | --- | --- | --- |
| Timepoint (Birth, 3, 6, 9, and 12 months) | Categorical | Fixed effect |  |  | Primary variable of interest to evaluate longitudinal changes in foal RTL over the developmental period |
| Offspring sex (female/male) | Categorical | Fixed effect |  |  | Test for sex-specific differences in RTL |
| Birth weight (kg) | Continuous | Fixed effect |  |  | Indicator of early developmental and intrauterine conditions that nay influence RTL |
| Mare age at time of breeding (yrs) | Continuous | Fixed effect |  |  | Included to evaluate potential maternal age effects on foal RTL and age on mare RTL |
| Sire age at time of breeding (yrs) | Continuous | Fixed effect |  |  | Included to evaluate potential paternal age effects on foal RTL |
| Maternal care style (high/low) | Categorical | Fixed effect |  |  | Validated behavioural phenotype reflecting early-life stress exposure and caregiving environment to assess the impact of early-life stress exposure on RTL |
| Timepoint x MCS interaction | Interaction term | Fixed effect |  |  | Tested to assess whether foal telomere dynamics differed by maternal care style |
| Individual identity (foal or mare) | Random factor | Random effect |  |  | Accounts for repeated longitudinal sampling of the same individual |

Supplementary Table 4. Results of Tukey multiple-comparisons post-hoc tests for the fixed effect of sampling timepoint on foal relative telomere length (RTL), based on the linear mixed-effects model reported in Table 2. Estimates represent pairwise differences in model-predicted means between timepoints. P-values are adjusted for multiple comparisons using Tukey’s method (single-step adjustment).

| Comparison | Estimate | SE | 95% CI | z | Adjusted p-value |
| --- | --- | --- | --- | --- | --- |
| Birth − 3 months | -0.395 | 0.143 | -0.785, -0.005 | -2.76 | 0.040 |
| Birth − 6 months | -0.309 | 0.143 | -0.699, 0.081 | -2.163 | 0.192 |
| Birth − 9 months | -0.202 | 0.144 | -0.596, 0.193 | -1.395 | 0.622 |
| Birth − 12 months | -0.530 | 0.146 | -0.929, -0.131 | -3.620 | 0.003 |
| 3 months − 12 months | -0.135 | 0.148 | -0.538, 0.268 | -0.916 | 0.911 |
| 6 months − 3 months | -0.085 | 0.144 | -0.479, 0.308 | -0.592 | 0.967 |
| 6 months − 12 months | -0.221 | 0.149 | -0.626, 0.185 | -1.486 | 0.564 |
| 9 months − 3 months | -0.193 | 0.146 | -0.591, 0.205 | -1.325 | 0.648 |
| 9 months − 6 months | -0.108 | 0.146 | -0.506. 0.290 | -0.738 | 0.949 |
| 9 months − 12 months | -0.328 | 0.148 | -0.731, 0.074 | -2.224 | 0.168 |

References

Daniali, L., A., B., E., S., J.D., K., C., L., M., K., K., D., M., G., & Aviv, A. (2013). Telomeres shorten at equivalent rates in somatic tissues of adults. Nature Communications, 19(4), 1597(e). https://doi.org/10.1038/ncomms2602