Supplementary Table 1: Peak resolution of various analytes separated and detected at different wavelengths

| Analytes (Wavelength) | Peak resolution |
| --- | --- |
| Levofloxacin (305nm) | 23.44±0.47 |
| Moxifloxacin (305nm) | 5.89±0.09 |
| Linezolid (254nm) | 3.66±0.08 |
| Pretomanid (330nm) | 13.72±0.60 |
| Clofazimine (305nm) | 10.61±0.37 |
| Bedaquiline (330nm) | 3.62±0.16 |
| Delamanid (330nm) | 6.57±0.42 |

Values are expressed as means±SD from the data obtained from three standard stock solutions

Supplementary Table 2. Short-term stability assay

|  | Standard concentration range (µg/mL) | Stability (%) at 40C for 24 h |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Extracted sample |  |  | Freshly extracted samples |  |  |
|  |  | Mean | SD | RSD% | Mean | SD | RSD% |
| Levofloxacin (305nm) | 1.0 | 107.8 | 4.1 | 3.83 | 101.3 | 0.6 | 0.62 |
|  | 2.0 | 105.2 | 2.6 | 2.46 | 101.9 | 2.1 | 2.03 |
|  | 4.0 | 106.0 | 0.5 | 0.48 | 103.6 | 4.4 | 4.27 |
|  | 6.0 | 106.7 | 2.6 | 2.39 | 102.3 | 3.7 | 3.62 |
|  | 8.0 | 104.0 | 1.1 | 1.06 | 102.5 | 1.9 | 1.87 |
|  | 10.0 | 106.1 | 4.6 | 4.30 | 103.2 | 3.3 | 3.19 |
|  | 20.0 | 109.6 | 4.8 | 4.34 | 103.5 | 5.0 | 4.78 |
| Moxifloxacin (305nm) | 1.0 | 110.4 | 5.2 | 4.73 | 101.5 | 0.7 | 0.64 |
|  | 2.0 | 106.1 | 2.5 | 2.37 | 101.7 | 1.9 | 1.86 |
|  | 4.0 | 106.3 | 1.1 | 1.01 | 104.3 | 4.8 | 4.59 |
|  | 6.0 | 106.8 | 2.6 | 2.43 | 102.2 | 3.4 | 3.33 |
|  | 8.0 | 104.0 | 1.3 | 1.24 | 103.2 | 2.6 | 2.52 |
|  | 10.0 | 106.1 | 4.5 | 4.28 | 102.6 | 3.3 | 3.17 |
|  | 20.0 | 109.8 | 4.9 | 4.47 | 102.0 | 6.0 | 5.83 |
| Linezolid (254nm) | 3.0 | 106.6 | 2.9 | 2.68 | 101.0 | 1.4 | 1.39 |
|  | 6.0 | 103.5 | 1.3 | 1.22 | 101.3 | 2.2 | 2.19 |
|  | 12.0 | 105.4 | 0.8 | 0.74 | 102.6 | 4.8 | 4.65 |
|  | 18.0 | 105.5 | 1.3 | 1.20 | 101.7 | 4.3 | 4.25 |
|  | 24.0 | 103.3 | 0.5 | 0.47 | 101.8 | 2.8 | 2.76 |
|  | 30.0 | 105.9 | 5.0 | 4.73 | 102.2 | 3.6 | 3.56 |
|  | 60.0 | 110.4 | 5.4 | 4.93 | 102.6 | 4.7 | 4.53 |
| Clofazimine (305nm) | 0.5 | 96.5 | 3.0 | 3.11 | 99.0 | 0.7 | 0.75 |
|  | 1.0 | 98.1 | 1.7 | 1.69 | 102.9 | 2.1 | 1.99 |
|  | 2.0 | 101.7 | 1.4 | 1.39 | 104.2 | 0.5 | 0.48 |
|  | 3.0 | 101.8 | 1.2 | 1.15 | 103.4 | 2.2 | 2.10 |
|  | 4.0 | 100.8 | 0.3 | 0.30 | 102.8 | 4.0 | 3.88 |
|  | 5.0 | 103.4 | 3.4 | 3.29 | 95.9 | 3.8 | 3.98 |
|  | 10.0 | 106.4 | 2.7 | 2.54 | 95.4 | 1.8 | 1.85 |
| Pretomanid (330nm) | 0.5 | 108.0 | 5.1 | 4.73 | 100.5 | 1.6 | 1.63 |
|  | 1.0 | 101.5 | 2.7 | 2.64 | 101.4 | 1.8 | 1.79 |
|  | 2.0 | 105.6 | 2.4 | 2.31 | 102.3 | 4.5 | 4.36 |
|  | 3.0 | 105.3 | 1.2 | 1.15 | 101.7 | 4.3 | 4.18 |
|  | 4.0 | 103.1 | 0.4 | 0.42 | 101.2 | 2.4 | 2.38 |
|  | 5.0 | 106.4 | 5.2 | 4.88 | 101.0 | 3.8 | 3.80 |
|  | 10.0 | 108.4 | 2.1 | 1.92 | 104.4 | 7.2 | 6.87 |
| Bedaquiline (330nm) | 0.5 | 107.2 | 4.5 | 4.18 | 96.9 | 2.0 | 2.06 |
|  | 1.0 | 107.8 | 4.3 | 3.98 | 100.9 | 3.2 | 3.17 |
|  | 2.0 | 105.2 | 9.7 | 9.21 | 98.7 | 5.8 | 5.91 |
|  | 3.0 | 101.7 | 2.3 | 2.28 | 100.5 | 1.8 | 1.82 |
|  | 4.0 | 104.3 | 8.1 | 7.75 | 100.6 | 7.1 | 7.04 |
|  | 5.0 | 106.9 | 5.0 | 4.67 | 103.2 | 7.8 | 7.51 |
|  | 10.0 | 106.7 | 3.0 | 2.85 | 100.3 | 9.6 | 9.53 |
| Delamanid (330nm) | 0.5 | 94.7 | 3.5 | 3.69 | 89.1 | 2.2 | 2.51 |
|  | 1.0 | 103.2 | 9.6 | 9.27 | 86.3 | 5.1 | 5.86 |
|  | 2.0 | 105.3 | 4.9 | 4.65 | 91.4 | 5.2 | 5.71 |
|  | 3.0 | 104.9 | 3.4 | 3.25 | 94.9 | 4.2 | 4.41 |
|  | 4.0 | 101.8 | 1.9 | 1.87 | 93.3 | 5.6 | 6.01 |
|  | 5.0 | 101.7 | 4.9 | 4.77 | 90.8 | 3.9 | 4.27 |
|  | 10.0 | 107.3 | 2.3 | 2.13 | 93.3 | 7.3 | 7.79 |

The data presented in the table were obtained from assays performed from three standard stock solutions. SD – Standard deviation;  RSD – Relative standard deviation.

Supplementary Figure 1. Representative chromatograms of anti-TB and anti-viral drugs tested for specificity

A)

11.93

B)

Response in mAU

4.91

C)

10.54

Minutes

Representative chromatograms of rifampicin (A), ethionamide (B) and nelfinavir (C) in drug-free human plasma eluted at different retention time and detected at 254nm, 305nm and 330nm, analyzed the optimized chromatographic conditions of the method.