## Overview
WARPD 1.0
West African Renewable Power Database
| Description | Database of existing, ongoing, planned and potential hydro, solar and wind power plants across mainland West Africa
| Authors | Sebastian Sterl, Inne Vanderkelen, Celray James Chawanda, Daniel Russo, Robert J. Brecha, Ann van Griensven, Nicole van Lipzig, Wim Thiery
| Contact | sebastian.sterl@vub.be
| Copyright | WARPD 1.0 © 2019 CIREG project (https://cireg.pik-potsdam.de/en/). The database is available free of charge and may be used for research, educational or commercial purposes.
| Disclaimer | The authors assume no liability for any action arising from use of this information.
The authors have made every attempt to ensure the accuracy and timeliness of this information, but cannot guarantee that it has not been superseded by events or discoveries beyond the authors' control.
This work was performed under the project CIREG, part of ERA4CS, an ERA-NET Co-fund action initiated by JPI Climate, funded by BMBF (DE), FORMAS (SE), BELSPO (BE), and IFD (DK) with co-funding by the EU's Horizon2020 Framework Program (Grant 690462).
Introduction
The purpose of the WARPD database is to provide an overview of current and future hydro, solar and wind power plants, their coordinates and their characteristics for mainland West Africa.
The database accompanies the paper "Smart renewable electricity portfolios in West Africa" by Sterl et al. (here referred to as ''accompanying paper").
An overview of hydropower plants is given on the sheet "Hydro"; an overview of solar PV plants on the sheet "Solar PV"; and an overview of wind power plants on the sheet "Wind".
Other renewable sources, such as solar CSP and ocean power, as well as (arguably) biomass, are at present not included in the database, though they may be in the future.
In some cases, data on potential locations for small hydropower plants was only available as aggregate. In these cases, the cumulative potential was included and the entry denoted "[other small sites]".
All data sources are provided on the sheet "Data sources", and all qualitative and quantitative data in the "Hydro" and "Solar & Wind" sheets is referenced to this list.
In most cases, a combination of data sources was necessary to get the most complete set of data for each hydropower plant.
In cases where conflicting sources of information were available, the authors chose a displayed value based on modeling and/or expert judgement. The alternative sources are provided in each case.
In case any of the given data sources may, in the future, no longer be available under the given URLs, the authors can provide copies of all of the sources upon request.
Contents
Sheet 1 | Hydropower plant database
Sheet 2 | Solar power plant database
Sheet 3 | Wind power plant database
Sheet 4 | Sources
Version log
Date | Version name
2019-11-14 | WARPD 1.0

## Hydro
General |  | Geography |  |  |  |  | Dam | [5 empty] | Reservoir |  |  |  | Other | Use in accompanying paper
Hydropower plant | In existing databases | Latitude | Longitude | Source | River | Basin | Capacity (MW) | Source | Dam height (m) | Source | Head drop (m) | Source | Maximum volume (m^3) | Source | Maximum area (m^2) | Source | Comments / further reading | Part of calculations? | If yes, how? | If no, why? | Classified as
Burkina Faso
Noumbiel (Koulbi) | [2,4,6,7,8,9] | 9.7427 | -2.7913 | [9] | Black Volta | Volta | 60 | [4] |  |  | 21.1 | [10] | 11300000000 | [11] | 850000000 | [12] | Border project Burkina Faso - Ghana [13] | Yes | Simulation |  | Planned
Bagré | [1,2,3,4,6,7,9] | 11.477 | -0.54687 | [1] | White Volta | Volta | 14.4 | [1] | 41 | [7] | 20 | [14] | 1700000000 | [15] | 150000000 | [12] |  | Yes | Simulation |  | Existing
Kompienga | [1,3,4,5,7,9] | 11.0845 | 0.70158 | [1] | Koul Péolgo | Volta | 12 | [1] | 50 | [7] | 30 | [15] | 2050000000 | [15] | 150000000 | [12] |  | Yes | Simulation |  | Existing
Ouessa | [2,6] |  |  |  | Black Volta | Volta | 21 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Diebuugo | [7,8,9] | 10.9542 | -3.2495 | [7] | [unknown] | Volta | 15 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Bougouriba | [2,4] |  |  |  | Bougouriba | Volta | 12 | [4] | [9 empty] | Yes | Extrapolation |  | Potential
Folonzo | [6] |  |  |  | [unknown] | [unknown] | 10.8 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Bagré Aval | [2,3,4] |  |  |  | White Volta | Volta | 14 | [4] |  |  | 23.95 | [**] | 64500000 | [**] |  |  |  | No |  | Avoiding double-counting | Planned
Samandéni | [1,2,3,4,6] | 11.3882 | -4.5758 | [1] | Black Volta | Volta | 2.5 | [1] | 23 | [2] |  |  | 1300000000 | [16] |  |  |  | No |  | Below capacity threshold | Ongoing
Niofila | [1,3,4] | 10.7135 | -5.1127 | [1] | Black Volta | Volta | 1.68 | [1] |  |  |  |  | [none] | [4] |  |  |  | No |  | Run-of-river | Existing
Tourni | [1,3,4] | 10.7714 | -5.157 | [1] | Black Volta | Volta | 0.6 | [1] |  |  |  |  | [none] | [4] |  |  |  | No |  | Run-of-river | Existing
[other small sites] | [3] |  |  |  | [various] | [unknown] | 52 | [3] | [9 empty] | No |  | Below capacity threshold | Potential
Benin
Okpa | [2,3] | 7.6928 | 2.4904 | [*] | Okpara | Ouémé | 29 | [3] | 54 | [17] |  |  | 2300000000 | [17] |  |  |  | Yes | Simulation |  | Planned
Dyodyonga | [2,3,4,6,7,8,9] | 12.1645 | 2.3859 | [18] | Mékrou | Niger | 26 | [4] | 55 | [18] | 30 | [18] | 840000000 | [18] |  |  | Border project Benin-Niger [19] | Yes | Simulation |  | Planned
Bétérou | [3,6] | 9.2078 | 2.2708 | [20] | Ouémé | Ouémé | 23 | [3] | 40 | [21] |  |  | 2870000000 | [21] |  |  |  | Yes | Simulation |  | Planned
Cové | [2,3] | 7.1701 | 2.3018 | [*] | Zou | Ouémé | 13 | [3] | 39 | [22] |  |  | 1575000000 | [22] |  |  |  | Yes | Simulation |  | Planned
Dékoussou | [2,3] | 9.2238 | 2.2498 | [*] | Ouémé | Ouémé | 20 | [3] | 41 | [23] |  |  | 1250000000 | [23] |  |  |  | Yes | Simulation |  | Planned
Dogo-bis | [2,4,6,7] | 7.6528 | 2.4742 | [20] | Ouémé | Ouémé | 128 | [4] |  |  | 28 | [20] | 1740000000 | [20] |  |  |  | Yes | Simulation |  | Planned
Vossa | [2,3,6,7] | 8.4564 | 2.3178 | [20] | Ouémé | Ouémé | 79 | [3] |  |  | 32 | [20] | 2320000000 | [20] |  |  |  | Yes | Simulation |  | Planned
Assante | [2,3,7,8,9] | 8.2339 | 2.3462 | [*] | Ouémé | Ouémé | 24 | [24] | 36 | [24] |  |  | 1350000000 | [24] |  |  |  | Yes | Simulation |  | Planned
Sokologbo | [3] | 7.4474 | 2.408 | [*] | Ouémé | Ouémé | 15 | [3] | 38 | [25] |  |  | 630000000 | [25] |  |  |  | Yes | Simulation |  | Planned
Zouka Tondji | [3] | 11.6065 | 3.3783 | [*] | Sota | Niger | 12 | [3] | 31 | [26] |  |  | 1200000000 | [26] |  |  |  | Yes | Simulation |  | Planned
Kétou-Dogo | [3,4,6,7,9] | 7.485 | 2.421 | [7] | Ouémé | Ouémé | 108.8 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Olougbé | [2,3,6,7,8,9] | 8.7959 | 2.2606 | [7] | Ouémé | Ouémé | 29.4 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Batchanga | [7,8,9] | 11.2077 | 1.8027 | [7] | [unknown] | Volta | 15 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Béthél | [2,3,6] |  |  |  | Ouémé | Ouémé | 42 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Bétérou-Bis | [3] |  |  |  | Ouémé | Ouémé | 35 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Djegbe | [2,3] |  |  |  | Ouémé | Ouémé | 24 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Yéripao | [3] |  |  |  | Kiatiko | [unknown] | 0.5 | [3] |  |  | 130 | [3] | [5 empty] | No |  | Below capacity threshold | Existing
[other small sites] | [3] |  |  |  | [various] | [unknown] | 80 | [3] | [9 empty] | No |  | Below capacity threshold | Potential
Côte d'Ivoire
Kossou | [1,2,3,4,5,7,9] | 7.0261 | -5.4712 | [1] | Bandama | Bandama | 175 | [1] | 58 | [7] | 49.5 | [27] | 28800000000 | [28] | 863000000 | [29] |  | Yes | Simulation |  | Existing
Buyo | [1,2,3,5,7,9] | 6.2446 | -7.0275 | [1] | Sassandra | Sassandra | 165 | [1] | 37 | [7] | 36.1 | [27] | 8300000000 | [30] | 900000000 | [29] |  | Yes | Simulation |  | Existing
Ayame I | [1,2,3,4,5,9] | 5.6069 | -3.1692 | [1] | Bia | Tano | 20 | [1] | 30 | [7] | 25 | [27] | 710000000 | [31] | 150000000 | [32] |  | Yes | Simulation |  | Existing
Taabo | [1,2,3,4,5,7,9] | 6.2107 | -5.0839 | [1] | Bandama | Bandama | 210.6 | [1] | 34 | [7] | 59 | [27] | 630000000 | [33] | 62000000 | [32] |  | Yes | Simulation |  | Existing
Soubré | [1,2,3,4,7,8,9] | 5.7906 | -6.6355 | [1] | Sassandra | Sassandra | 275 | [1] |  |  | 43 | [34] | 83000000 | [34] |  |  |  | Yes | Simulation |  | Existing
Gao | [2,3] | 7.9286 | -7.4222 | [35] | Bafing | Sassandra | 150 | [35] |  |  | 60 | [35] | 1400000000 | [35] |  |  |  | Yes | Simulation |  | Planned
Tayaboui | [2,3,6,7,8,9] | 7.1083 | -7.0628 | [7] | Sassandra | Sassandra | 150 | [35] |  |  | 20 | [35] | 1400000000 | [35] |  |  |  | Yes | Simulation |  | Planned
Singrobo-Ahouaty | [1,2,3,6,7,8,9] | 6.0824 | -4.9486 | [1] | Bandama | Bandama | 44 | [1] |  |  | 26.58 | [36] | 105000000 | [36] |  |  |  | Yes | Simulation |  | Planned
Louga | [2,3,4,6,7,8,9] | 5.05 | -6.2167 | [7] | Sassandra | Sassandra | 280 | [4] | [9 empty] | Yes | Extrapolation |  | Potential
Tiboto | [1,2,3,4,6,7,8] | 4.846 | -7.5902 | [1] | Cavally | Cavally | 220 | [1] | [8 empty] | Border project Côte d'Ivoire - Liberia | Yes | Extrapolation |  | Potential
Boutoubré | [2,4,6,7,8,9] | 5.5454 | -6.4837 | [7] | Sassandra | Sassandra | 156 | [4] | 33 | [7] | [7 empty] | Yes | Extrapolation |  | Potential
Gribo Popoli | [1,3,4,6,7,9] | 5.7143 | -6.571 | [1] | Sassandra | Sassandra | 112 | [1] |  |  | 18 | [37] | [5 empty] | Yes | Extrapolation |  | Potential
Daboitier | [3,6,7,8,9] | 5.9536 | -4.8475 | [7] | Sassandra | Sassandra | 91 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
N'Dieliesso | [3,7,8,9] | 5.9411 | -3.4247 | [7] | Comoe | Comoe | 100 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Malasso | [3,7,8,9] | 5.767 | -3.4333 | [7] | Comoe | Comoe | 90 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Kokumbo | [3,7,8,9] | 6.5833 | -5.3167 | [7] | Bandama | Bandama | 78 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Brou Atakro | [3,7] | 6.6833 | -3.8 | [7] | Bandama | Bandama | 90 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Tahibli | [1,2,3] | 6.6217 | -8.2704 | [1] | Cavally | Cavally | 19.5 | [1] | [9 empty] | Yes | Extrapolation |  | Potential
Aboisso Comoe | [3,4,6,8] |  |  |  | Comoe | Comoe | 150 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Bouloumere | [3] |  |  |  | Sassandra | Sassandra | 156 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Kouroukoro | [3] |  |  |  | Sassandra | Sassandra | 32 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Tiassalé | [3,4,6,7,8] | 5.9 | -4.8167 | [7] | Bandama | Bandama | 51 | [3] |  |  |  |  | [none] | [4] |  |  |  | No |  | Run-of-river | Planned
Ayame II | [1,2,3,4,5,7,9] | 5.5813 | -3.1592 | [1] | Bia | Tano | 30 | [1] | 35 |  | 32.5 | [27] | [5 empty] | No |  | Avoiding double-counting | Existing
Drou (Man) | [3] |  |  |  | Cavally | Cavally | 1.6 | [3] | [9 empty] | No |  | Below capacity threshold | Potential
Aboisso Bia | [3] |  |  |  | Bia | Bia | 5 | [3] | [9 empty] | No |  | Below capacity threshold | Potential
Agneby | [3] |  |  |  | Agneby | Agneby | 0.3 | [3] | [9 empty] | No |  | Below capacity threshold | Potential
Faye (San Pedro, Grah) | [1,3,4,7,9] | 4.9729 | -6.6519 | [1] | [unknown] | [unknown] | 5 | [1] | 15 | [7] | [7 empty] | No |  | Below capacity threshold | Existing
Ghana
Akosombo | [1,2,3,4,5,7,9] | 6.2998 | 0.0594 | [1] | Volta | Volta | 1020 | [1] | 114 | [2] | 68.8 | [38] | 148017821000 | [38] | 8502000000 | [38] | [52] | Yes | Simulation |  | Existing
Bui | [1,2,3,4,7,8,9] | 8.2772 | -2.2352 | [1] | Black Volta / Bui | Volta | 400 | [1] | 108 | [39] | 80 | [40] | 12570000000 | [41] | 444000000 | [42] |  | Yes | Simulation |  | Existing
Pwalugu | [2,4,6,7,8,9] | 10.7646 | -0.3538 | [43] | White Volta | Volta | 48 | [43] | 41 | [43] | 31.2 | [43] | 4200000000 | [43] |  |  | [44] | Yes | Simulation |  | Planned
Juale | [2,4,6,7,8,9] | 8.6833 | 0.1167 | [7] | Oti | Volta | 87 | [4] | 40 | [10] |  |  | 1200000000 | [45] |  |  | [44] | Yes | Simulation |  | Planned
Daboya | [2,4,6,8] | 9.5285 | -1.3865 | [*] | White Volta | Volta | 43 | [4] | 27 | [46] |  |  | 3430000000 | [45] |  |  | [44] | Yes | Simulation |  | Planned
Kulpawn | [2,3,4,6,8] | 9.8904 | -1.0079 | [47] | White Volta | Volta | 36 | [4] | 25 | [48] |  |  | 7200000000 | [45] |  |  | [44] | Yes | Simulation |  | Planned
Lanka | [3,7] | 8.4 | -2.28 | [7] | Black Volta | Volta | 95 | [7] | [8 empty] | [44,49] | Yes | Extrapolation |  | Potential
Ntereso | [3,7] | 8.56 | -2.4 | [7] | Black Volta | Volta | 64 | [7] |  |  |  |  | 1370000000 | [45] |  |  | [49] | Yes | Extrapolation |  | Potential
Tanoso | [2,3,7,9] | 5.366 | -2.66 | [7] | Tano | Tano | 56 | [7] | 35 | [7] | [6 empty] | [49] | Yes | Extrapolation |  | Potential
Jambito | [3,7] | 8.6336 | -1.7127 | [7] | Black Volta | Volta | 55 | [7] | [8 empty] | [11,49] | Yes | Extrapolation |  | Potential
Abatumesu | [3,7,9] | 5.3843 | -1.6352 | [7] | Pra | Pra | 50 | [3] | [8 empty] | [49] | Yes | Extrapolation |  | Potential
Awiasam | [2,3,7,8,9] | 6.5278 | -0.97673 | [7] | Pra | Pra | 50 | [3] | 34 | [7] | [6 empty] | [49] | Yes | Extrapolation |  | Potential
Kojokrom | [3,7,8,9] | 6.2152 | -2.5777 | [7] | Pra | Pra | 30 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Asuaso | [3,7,8,9] | 5.25 | -1.9 | [7] | Tano | Tano | 25 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Joromo | [3,7,8,9] | 5.7724 | -2.6797 | [7] | Tano | Tano | 20 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Sedukrom | [3,7,8,9] | 5.9833 | -2.5667 | [7] | Tano | Tano | 17 | [3] | [9 empty] | Yes | Extrapolation |  | Potential
Ankobra | [2] |  |  |  | Ankobra | Ankobra | 140 | [2] | [9 empty] | Yes | Extrapolation |  | Potential
Hemang | [2,4,6,7,8,9] | 5.18 | -1.56 | [7] | Pra | Pra | 93 | [4] | 34 | [7] | 29.9 | [50] | [none] | [4] |  |  | [44] | No |  | Run-of-river | Planned
Kpong | [1,2,3,4,5,7,9] | 6.1201 | 0.1255 | [1] | Volta | Volta | 160 | [1] | 24 | [2] | 11.75 | [51] | [none] | [52] |  |  |  | No |  | Run-of-river | Existing
[other small sites] | [3] |  |  |  | [various] | [unknown] | 2.24 | [10 empty] | No |  | Below capacity threshold | Potential
Guiné-Bissau
Cusilinta | [3] |  |  |  | Corubal | Corubal | 30 | [3] | [8 empty] | [53] | No |  | Run-of-river | Potential
Saltinho Phase II | [1,3,4,6] | 11.6205 | -14.6831 | [1] | Corubal | Corubal | 20 | [1] | 15 | [54] | 13 | [54] | [none] | [4] |  |  | [53] | No |  | Run-of-river | Planned
Guinée-Conakry
Souapiti | [1,2,3,4,6,7,8,9] | 10.4251 | -13.2502 | [1] | Konkouré | Konkouré | 515 | [1] |  |  | 130 | [55] | 17300000000 | [56] | 652000000 | [57] |  | Yes | Simulation |  | Ongoing
Amaria | [1,2,4,6,7,8,9] | 10.2572 | -13.5861 | [1] | Konkouré | Konkouré | 300 | [1] | 60 | [58] |  |  | 16500000000 | [59] |  |  |  | Yes | Simulation |  | Planned
Koukoutamba | [1,2,4,6,7,8,9] | 11.2713 | -11.3828 | [1] | Bafing | Senegal | 294 | [1] | 87 | [60] | 83.7 | [61] | 3600000000 | [60] |  |  |  | Yes | Simulation |  | Planned
Balassa | [2,3,4,6,7,8] | 10.6208 | -11.7458 | [62] | Bafing | Senegal | 181 | [4] |  |  | 190 | [61] | 1267000000 | [61] |  |  |  | Yes | Simulation |  | Planned
Bouréya | [2,4,6,7,8,9] | 11.7333 | -10.75 | [63] | Bafing | Senegal | 161 | [63] | 64 | [63] | 54 | [61] | 4900000000 | [63] |  |  |  | Yes | Simulation |  | Planned
Frankonedou/Kogbédou | [2,4,6] | 9.7954 | -9.2751 | [64] | Milo | Niger | 102 | [65] | 37 | [65] | 26 | [65] | 1300000000 | [65] |  |  |  | Yes | Simulation |  | Planned
Garafiri | [1,2,3,4,7,9] | 10.5283 | -12.6635 | [1] | Konkouré | Konkouré | 75 | [1] | 80 | [2] |  |  | 1600000000 | [66] | 61700000 | [66] |  | Yes | Simulation |  | Existing
Grandes-Chutes (Kalé) | [1,2,3,4,5,7,9] | 9.925 | -13.1018 | [1] | Samou | Konkouré | 27 | [1] |  |  | 120 | [67] | 14000000 | [68] | 700000 | [68] |  | Yes | Simulation |  | Existing
Grand Kinkon | [2,6,7] | 11.0508 | -12.4424 | [7] | Koulou | Konkouré | 290 | [6] | 145 | [7] | [7 empty] | Yes | Extrapolation |  | Potential
Bonkon-Diaria | [6,7] | 11.328 | -12.6 | [7] | [unknown] | Konkouré | 174 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Fetore | [7] | 11.0667 | -12.7167 | [7] | [unknown] | Konkouré | 124 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Diaoya | [2,6,7,8,9] | 11.5002 | -11.1207 | [7] | Bafing | Senegal | 149 | [6] |  |  |  |  | 600000000 | [69] |  |  |  | Yes | Extrapolation |  | Potential
Kassa B | [1,2,6,7,9] | 10.4334 | -9.1953 | [1] | Kaaba | Niger | 135 | [1] |  |  |  |  | 890000000 | [70] |  |  |  | Yes | Extrapolation |  | Potential
Kouravel | [6,7,8] | 11.7 | -12.4333 | [7] | [unknown] | Corubal | 135 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Samankou (upgrade) | [1,3,4] | 10.9105 | -13.0655 | [1] | [unknown] | Samankou | 130 | [1] | [9 empty] | Yes | Extrapolation |  | Potential
Tiopo | [2,6,7,8,9] | 11.35 | -13.9167 | [7] | Cogon | Cogon | 120 | [6] | [8 empty] | [71] | Yes | Extrapolation |  | Potential
Kora Findi | [2,3,4] | 10.5718 | -13.658 | [*] | Fatala | Fatala | 100 | [4] |  |  | 75 | [72] | [5 empty] | Yes | Extrapolation |  | Potential
Morisakano | [2,3,4,6,7,8,9] | 10.2333 | -8.6167 | [7] | Sankarani | Niger | 100 | [4] |  |  | 25 | [73] |  |  |  |  | [74] | Yes | Extrapolation |  | Potential
Poudaldé | [2,4,6,7] | 11.3747 | -13.9277 | [7] | Cogon | Cogon | 90 | [4] | 77 | [7] | [7 empty] | Yes | Extrapolation |  | Potential
Lafou | [6,7] | 10.2167 | 12 | [7] | [unknown] | Little Scarcies | 98 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Kouya | [7] | 12.05 | -11.9667 | [7] | Gambia | Gambia | 86 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Tene I | [6,7,9] | 11.0698 | -11.6459 | [7] | Tene | Senegal | 76.4 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Diaréguéla | [1,2,6,7,8] | 10.5076 | -10.4228 | [1] | Niger | Niger | 72 | [1] |  |  |  |  | 2784000000 | [75] |  |  |  | Yes | Extrapolation |  | Potential
Féllo Sounga | [2,4,6,7,8,9] | 11.55 | -13.273 | [7] | Sounga | Corubal | 82 | [4] | [9 empty] | Yes | Extrapolation |  | Potential
N'Zebela | [2,4,6,8] | 8.1333 | -9.1333 | [8] | Diani | St Paul | 27 | [4] | [9 empty] | Yes | Extrapolation |  | Potential
Gozoguézia | [2,3,6,7,8,9] | 7.75 | -9.3333 | [8] | Diani | St Paul | 48 | [6] |  |  | 40 | [76] |  |  |  |  | [77] | Yes | Extrapolation |  | Potential
Digan | [1,2,4,6,7] | 11.8588 | -11.8256 | [1] | Gambia | Gambia | 37 | [1] | 62 | [7] | [7 empty] | Yes | Extrapolation |  | Potential
Singuega | [3] | 8.5418 | -9.4712 | [3] | Makona | Lofa | 18 | [3] | [8 empty] | [78] | Yes | Extrapolation |  | Potential
Djolol Yillabhé | [2] |  |  |  | [unknown] | [unknown] | 72 | [2] | [9 empty] | Yes | Extrapolation |  | Potential
Madina |  |  |  |  | Dion | Niger | 17 | [79] | 25 | [79] | [7 empty] | Yes | Extrapolation |  | Potential
Donkea | [1,3,4,7,9] | 9.9528 | -12.9906 | [1] | [unknown] | Konkouré | 15 | [1] |  |  |  |  | [none] | [4] |  |  |  | No |  | Run-of-river | Existing
Kaléta | [1,2,3,4,7,8,9] | 10.4624 | -13.2807 | [1] | Konkouré | Konkouré | 240 | [1] |  |  | 49.2 | [80] | [***] | [81] |  |  |  | No |  | Avoiding double-counting | Existing
Fomi | [1,2,4,6,7,8,9] | 10.5213 | -9.7148 | [1] | Niandan | Niger | 90 | [1] | 60 | [7] |  |  | 6100000000 | [82] |  |  | [83] | No |  | Environmental impact | Planned
Nongoa | [3] | 8.5166 | -10.333 | [*] | Moa | Lofa | 8 | [3] |  |  | 18 | [84] | [5 empty] | No |  | Below capacity threshold | Potential
Lokoua |  | 8.2833 | -8.95 | [85] | [unknown] | St Paul | 6 | [85] |  |  | 25 | [85] | [5 empty] | No |  | Below capacity threshold | Potential
Baneah (Banieya) | [1,3,4,5,7,9] | 10.0066 | -12.9954 | [1] | Samou | Konkouré | 5 | [1] | 30 | [7] |  |  | 223000000 | [67] |  |  |  | No |  | Below capacity threshold | Existing
Kinkon | [1,3,4] | 11.0615 | -12.4576 | [1] | [unknown] | Konkouré | 3.4 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Sérédou | [3] | 8.35 | -9.2667 | [86] | Labagué | St Paul | 2.25 | [86] |  |  | 51.37 | [86] | 9300000 | [86] |  |  |  | No |  | Below capacity threshold | Planned
Tinkisso | [1,3,4] | 10.7287 | -11.1721 | [1] | [unknown] | Niger | 1.65 | [1] |  |  |  |  | [none] | [4] |  |  |  | No |  | Run-of-river | Existing
Lofa | [1,3] | 8.5796 | -9.4304 | [1] | [unknown] | Lofa | 0.16 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Keno | [3,4,6] |  |  |  | Makona | Lofa | 2.4 | [87] |  |  | 12 | [87] | [5 empty] | No |  | Below capacity threshold | Potential
Touba | [3,4,6] |  |  |  | Saranwol | Corubal | 1.6 | [3] | 3 | [88] | [6 empty] | [89] | No |  | Below capacity threshold | Potential
Lougambé |  |  |  |  | Tanto | [unknown] | 1.3 | [90] | 24 | [90] | [7 empty] | No |  | Below capacity threshold | Potential
Liberia
Saint-John | [6,7,8] | 6.19 | -9.85 | [7] | St John | St John | 67 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Mano | [7,8,9] | 7.41 | -11.05 | [7] | Mano | Mano | 180 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Mano 2 | [7,9] | 6.9167 | -10.55 | [7] | St Paul | St Paul | 74 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Via | [7,9] | 7.205 | -9.813 | [7] | St Paul | St Paul | 132 | [7] | 40 | [7] | [7 empty] | Yes | Extrapolation |  | Potential
Saint Paul 2 | [7,8,9] | 7.01 | -10.16 | [7] | St Paul | St Paul | 120 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Saint Paul 1B | [7,8,9] | 6.9509 | -10.2815 | [7] | St Paul | St Paul | 80 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Cestos | [6,8] |  |  |  | Cestos | Cestos | 41 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Lofa | [6,8] |  |  |  | Lofa | Lofa | 29 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Mount Coffee | [1,2,3,4,5,6,7,9] | 6.5105 | -10.6511 | [1] | St Paul | St Paul | 88 | [1] |  |  |  |  | [***] | [4] |  |  |  | No |  | Run-of-river | Existing
Firestone (Harbel) | [1,3] | 6.2991 | -10.3101 | [1] | Farmington | [unknown] | 4.8 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
[other small sites] | [3] |  |  |  | [various] | [unknown] | 86 | [3] | [9 empty] | No |  | Below capacity threshold | Potential
Mali
Manantali | [1,2,3,4,7,9] | 13.1989 | -10.431 | [1] | Bafing | Senegal | 200 | [1] | 70 | [7] | 46 | [91] | 11000000000 | [92] | 477000000 | [92] | Joint project Mali - Senegal - Mauritania | Yes | Simulation |  | Existing
Sélingué | [1,2,3,4,7,9] | 11.6388 | -8.2295 | [1] | Sankarani | Niger | 47.6 | [1] | 25 | [7] | 17.5 | [93] | 2166000000 | [94] | 409000000 | [94] |  | Yes | Simulation |  | Existing
Taoussa | [1,2,3,6,7,8] | 16.9432 | -0.57472 | [1] | Niger | Niger | 25 | [1] | 18 | [64] |  |  | 3000000000 | [95] | 1572000000 | [64] |  | Yes | Simulation |  | Ongoing
Gaoulgo | [7,8,9] | 16.2976 | -0.059566 | [7] | Niger | Niger | 300 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Badoumbé | [2,6,8] | 13.6463 | -10.2155 | [*] | Bakoy | Senegal | 70 | [6] |  |  | 41.5 | [61] | [5 empty] | Yes | Extrapolation |  | Potential
Labbezanga | [7,8,9] | 15 | 0.66 | [7] | Niger | Niger | 65 | [7] | 15 | [7] | [7 empty] | Yes | Extrapolation |  | Potential
Bindougou | [6,7,8] | 12.32 | -10.46 | [7] | Bafing | Senegal | 49.5 | [6] | 43 | [7] | 43 | [61] | [5 empty] | Yes | Extrapolation |  | Potential
Moussala | [6,8] | 12.4664 | -11.2228 | [61] | Falémé | Senegal | 30 | [61] |  |  | 35 | [61] | [5 empty] | Yes | Extrapolation |  | Potential
Gourbassi | [1,2,6,8] | 13.395 | -11.6464 | [1] | Falémé | Senegal | 18 | [1] |  |  | 28 | [61] | [5 empty] | Yes | Extrapolation |  | Potential
Baoulé 3/4 | [6,7,8,9] | 12.8919 | -8.6211 | [7] | [unknown] | Niger | 24 | [6] | 30 | [7] | [7 empty] | Yes | Extrapolation |  | Potential
Bagoué 2 | [6] |  |  |  | [unknown] | [unknown] | 10 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Grand Kenié | [7] | 13.19 | -7.12 | [7] | Niger | Niger | 120 | [7] | [9 empty] | No |  | Environmental impact | Potential
Markala | [1,3,6] | 13.6831 | -6.086 | [1] | Niger | Niger | 13 | [1] |  |  |  |  | [none] | [96] |  |  |  | No |  | Run-of-river | Potential
Félou | [1,2,3,4,7,8,9] | 14.3591 | -11.3497 | [1] | Senegal | Senegal | 24 | [1] | 13 | [7] | 13.8 | [98] | [none] | [97] |  |  |  | No |  | Run-of-river | Existing
Kenié | [1,2,3,4,6,7,8,9] | 12.7185 | -7.743 | [1] | Niger | Niger | 42 | [1] |  |  |  |  | [none] | [4] |  |  |  | No |  | Run-of-river | Ongoing
Gouina | [1,2,3,4,7,9] | 14.0149 | -11.1025 | [1] | Senegal | Senegal | 140 | [1] | 20 | [7] | 23.5 | [98] | [none] | [4] |  |  |  | No |  | Run-of-river | Ongoing
Sotuba | [1,3,4,6,7,8,9] | 12.6437 | -7.9272 | [1] | Niger | Niger | 5.7 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
[other small sites] | [3] |  |  |  | [various] | [unknown] | 21.882 | [3] | [9 empty] | No |  | Below capacity threshold | Potential
Niger
Kandadji | [1,2,3,4,6,7,8,9] | 14.627 | 0.971 | [1] | Niger | Niger | 130 | [1] | 30 | [7] |  |  | 1600000000 | [99] | 282000000 | [99] | [100] | Yes | Simulation |  | Ongoing
Gambou | [2,3,4,6,7,8,9] | 12.5749 | 2.6213 | [7] | Niger | Niger | 122.5 | [4] | 35 | [7] |  |  | 430000000 | [101] |  |  | [102] | Yes | Simulation |  | Planned
Namari Goungo | [2,4] | 14.3495 | 1.2657 | [*] | Niger | Niger | 80 | [4] | [9 empty] | Yes | Extrapolation |  | Potential
[other small sites] | [3] |  |  |  | [various] | Niger | 5 | [3] | [9 empty] | No |  | Below capacity threshold | Potential
Nigeria
Mambilla | [1,2,4,6,7,8,9] | 6.7016 | 11.1558 | [1] | Donga | Niger | 3050 | [1] |  |  | 1007 | [103] | 4600000000 | [104] |  |  |  | Yes | Simulation |  | Planned
Kainji | [1,2,3,4,5,7,8,9] | 9.861 | 4.613 | [1] | Niger | Niger | 760 | [1] | 65 | [2] | 42.2 | [105] | 15000000000 | [105] | 1250000000 | [106] | [107] | Yes | Simulation |  | Existing
Zungeru | [1,2,4,6,7,8,9] | 9.9023 | 6.2865 | [1] | Kaduna | Niger | 700 | [1] | 116 | [2] | 100 | [108] | 11400000000 | [109] |  |  |  | Yes | Simulation |  | Ongoing
Shiroro | [1,2,3,4,5,7] | 9.9746 | 6.8335 | [1] | Kaduna, Dinya | Niger | 600 | [1] | 115 | [2] | 95 | [108] | 7000000000 | [110] | 312000000 | [111] |  | Yes | Simulation |  | Existing
Jebba | [1,2,3,4,5,7,9] | 9.1376 | 4.7868 | [1] | Niger | Niger | 578.4 | [1] | 40 | [2] | 27.1 | [108] | 3880000000 | [107] |  |  |  | Yes | Simulation |  | Existing
Kiri | [1,2] | 9.6806 | 12.0151 | [1] | Gongola/Benue | Niger | 40 | [1] | 20 | [2] | 30.5 | [108] | 615000000 | [112] |  |  |  | Yes | Simulation |  | Existing
Kashimbilla | [1,2,6] | 6.8713 | 9.7615 | [1] | Katsina Ala | Niger | 40 | [1] |  |  | 49 | [108] | 500000000 | [113] |  |  |  | Yes | Simulation |  | Ongoing
Oyan | [1,2,3,5,7] | 7.2595 | 3.2563 | [1] | Oyan | Ogun | 39 | [1] | 30.4 | [2] |  |  | 270000000 | [114] | 40000000 | [115] |  | Yes | Simulation |  | Existing
Dadin-Kowa | [1,2,5,7,9] | 10.3218 | 11.4812 | [1] | Gongola | Niger | 35 | [1] | 30.4 | [2] |  |  | 800000000 | [116] | 300000000 | [116] |  | Yes | Simulation |  | Existing
Gurara I | [7,9] | 9.596 | 7.5045 | [7] | Gurara | Niger | 30 | [7] | 53 | [7] |  |  | 880000000 | [117] | 32450000 | [117] |  | Yes | Simulation |  | Existing
Makurdi | [2,7,9] | 7.7321 | 8.5377 | [9] | Benue/Niger | Niger | 1010 | [2,†] | 50 | [7] | 25.9 | [118] | [5 empty] | Yes | Extrapolation |  | Potential
Onitsha | [2,7,9] | 6.1667 | 6.7833 | [9] | Niger | Niger | 750 | [2,†] |  |  | 15.25 | [118] | [5 empty] | Yes | Extrapolation |  | Potential
Yola | [2] | 9.205 | 12.4918 | [*] | Benue | Niger | 360 | [2] | [9 empty] | Yes | Extrapolation |  | Potential
Dasin Hausa | [7] | 9.23 | 12.55 | [7] | Gongola/Benue | Niger | 350 | [7] | 40 | [7] | [7 empty] | Yes | Extrapolation |  | Potential
Katsina Ali | [7,9] | 7.1633 | 9.2793 | [7] | Katsina Ala | Niger | 310 | [7] | [9 empty] | Yes | Extrapolation |  | Potential
Lokoja | [2,7,9] | 7.7963 | 6.7514 | [7] | Osse | Niger | 200 | [2,†] | 45 | [7] | 31.4 | [118] | [5 empty] | Yes | Extrapolation |  | Potential
Beli | [2] | 7.8532 | 10.9637 | [*] | Taraba | Niger | 240 | [2] |  |  | 79.2 | [118] | [5 empty] | Yes | Extrapolation |  | Potential
Afikpo | [2] | 5.889 | 7.9538 | [*] | Cross | Cross | 180 | [2] |  |  | 10 | [108] | [5 empty] | Yes | Extrapolation |  | Potential
Ikom | [2,9] | 5.9621 | 8.7212 | [*] | Cross | Cross | 180 | [2] |  |  | 15.5 | [118] | [5 empty] | Yes | Extrapolation |  | Potential
Kano | [2] | 12.0045 | 8.5918 | [*] | Hadejia | Lake Chad | 100 | [2] | [9 empty] | Yes | Extrapolation |  | Potential
Ekiti | [1] | 7.9567 | 5.4661 | [1] | [unknown] | Niger | 15 | [1] | [9 empty] | Yes | Extrapolation |  | Potential
Middle Gurara | [2] |  |  |  | Gurara | Niger | 330 | [2] | [9 empty] | Yes | Extrapolation |  | Potential
Donka | [2] |  |  |  | Niger | Niger | 225 | [2] |  |  | 17 | [118] | [5 empty] | Yes | Extrapolation |  | Potential
Atan | [2] |  |  |  | Cross | Cross | 180 | [2] | [9 empty] | Yes | Extrapolation |  | Potential
Garin Dali | [2] |  |  |  | Taraba | Niger | 135 | [2] |  |  | 39.6 | [118] | [5 empty] | Yes | Extrapolation |  | Potential
Zamfara | [2] |  |  |  | Bunsuru | Niger | 100 | [2] | [9 empty] | Yes | Extrapolation |  | Potential
Karamti | [2] |  |  |  | Kam | Niger | 115 | [2] | [9 empty] | Yes | Extrapolation |  | Potential
Gurara II | [1,2,7] | 9.3145 | 7.0224 | [1] | Gurara | Niger | 360 | [1] |  |  | 30 | [108] | [5 empty] | No |  | Avoiding double-counting | Ongoing
Kurra (Kurra Falls) | [1,3,7,9] | 9.4008 | 8.7459 | [1] | [unknown] | Niger | 8 | [1] | 19 | [7] | [7 empty] | No |  | Below capacity threshold | Existing
Kwa Falls | [1] | 5.1526 | 8.5173 | [1] | Kwa | Cross | 6.4 | [1] | [9 empty] | No |  | Below capacity threshold | Potential
Ikere Gorge | [1,3,5,7,9] | 8.1905 | 3.7304 | [1] | Ogun | Ogun | 6 | [1] | 48 | [7] | [7 empty] | No |  | Below capacity threshold | Potential
Jekko 1 | [1] | 9.4117 | 8.7532 | [1] | [unknown] | Niger | 4 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Jekko 2 | [1] | 9.3714 | 8.8099 | [1] | [unknown] | Niger | 4 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Ngell | [1] | 9.8314 | 8.6705 | [1] | Kaduna | Niger | 2 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Kwali Falls | [1] | 9.829 | 8.668 | [1] | Kaduna | Niger | 2 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Ouree | [1,3,9] | 9.7733 | 8.6961 | [1] | [unknown] | Niger | 2 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Ankwil 2 (Bagel 2) | [1,3,5,9] | 9.38 | 8.8379 | [1] | [unknown] | Niger | 2 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Ankwil 1 (Bagel 1) | [1,3,5,7,9] | 9.3675 | 8.8089 | [1] | [unknown] | Niger | 1 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Tunga | [1] | 6.8681 | 11.1828 | [1] | [unknown] | Niger | 0.4 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Tiga (Kano) | [3] |  |  |  | [unknown] | [unknown] | 6 | [3] | [9 empty] | No |  | Below capacity threshold | Existing
Lere 1 | [3] |  |  |  | [unknown] | [unknown] | 4 | [3] | [9 empty] | No |  | Below capacity threshold | Existing
Lere 2 | [3] |  |  |  | [unknown] | [unknown] | 4 | [3] | [9 empty] | No |  | Below capacity threshold | Existing
[other small sites] | [3] |  |  |  | [various] | [unknown] | 728.2 | [3] | [9 empty] | No |  | Below capacity threshold | Potential
Senegal
Sambangalou | [1,2,3,6,7,8,9] | 12.3946 | -12.1941 | [1] | Gambia | Gambia | 128 | [1] | 90 | [119] | 75 | [120] | 3800000000 | [119] | 181000000 | [119] | Border project Senegal-Guinée | Yes | Simulation |  | Ongoing
Sierra Leone
Bekongor 2 | [3,4,6,7,8,9] | 8.5516 | -11.264 | [9] | Sewa | Sewa | 80 | [3] | 50.6 | [3] | 37 | [3] | 224500000 | [3] |  |  |  | Yes | Simulation |  | Planned
Bumbuna 2 | [2,3,4,6,7,8,9] | 9.0539 | -11.7355 | [9] | Seli/Rokel | Rokel | 143 | [121] |  |  | 112.8 | [121] | 1911900000 | [††] | 133600000 | [121] |  | Yes | Simulation |  | Planned
Kuse 2 | [3,8,9] | 9.8879 | -11.9036 | [9] | Little Scarcies | Little Scarcies | 91 | [3] | 146.4 | [3] | 125.1 | [3] | 1386100000 | [3] |  |  |  | Yes | Simulation |  | Planned
Kambatibo | [2,3,7,8,9] | 9.8333 | -11.7781 | [7] | Little Scarcies | Little Scarcies | 65.7 | [3] |  |  | 131.1 | [3] | 91400000 | [3] |  |  |  | Yes | Simulation |  | Planned
Kumba | [3] | 9.7694 | -11.8373 | [*] | Mongo | Little Scarcies | 48.9 | [3] | 92 | [3] | 73.7 | [3] | 671600000 | [3] |  |  |  | Yes | Simulation |  | Planned
Betmai 3 | [3] | 8.7333 | -11.6893 | [9] | Pampana | Jong | 36.6 | [3] | 71.8 | [3] | 58.3 | [3] | 627900000 | [3] |  |  |  | Yes | Simulation |  | Planned
Mange 1 | [3] | 8.9226 | -12.8595 | [*] | Little Scarcies | Little Scarcies | 35.2 | [3] | 28.9 | [3] | 26.3 | [3] | 628400000 | [3] |  |  |  | Yes | Simulation |  | Planned
Tendata | [3] | 9.6062 | -12.1563 | [3] | Little Scarcies | Little Scarcies | 28.6 | [3] | 41.8 | [3] | 31.1 | [3] | 1324000000 | [3] |  |  |  | Yes | Simulation |  | Planned
Maka | [3] | 9.5852 | -12.1349 | [3,*] | Mongo | Little Scarcies | 21 | [3] | 39.6 | [3] | 25.3 | [3] | 435500000 | [3] |  |  |  | Yes | Simulation |  | Planned
Mano | [6,8,9] | 7.41 | -11.05 | [7] | Mana Morro | Mana Morro | 180 | [6] | [8 empty] | Border project Sierra Leone - Liberia | Yes | Extrapolation |  | Potential
Baraka | [3] |  |  |  | Moa | Moa | 39.6 | [3] | 25.3 | [3] | 13.5 | [3] | 59300000 | [3] |  |  |  | Yes | Extrapolation |  | Potential
Titana | [3] |  |  |  | Sewa | Sewa | 22.2 | [3] | 60.1 | [3] | 52.9 | [3] | 41800000 | [3] |  |  |  | Yes | Extrapolation |  | Potential
Moyamba Hydro | [1,3] | 7.9033 | -12.3891 | [1] | Gbangbai | Gbangbai | 15.4 | [1] | 20.8 | [3] | 10.7 | [3] | 77600000 | [3] |  |  | Not simulated in accompanying paper as river not resolved in SWAT+Africa simulations | Yes | Extrapolation |  | Planned
Komoia | [3] |  |  |  | Seli/Rokel | Rokel | 10.8 | [3] | 44.5 | [3] | 31.8 | [3] | 11300000 | [3] |  |  |  | Yes | Extrapolation |  | Potential
Bumbuna 1 | [1,2,3,4,6,7,8,9] | 9.0714 | -11.7226 | [1] | Seli/Rokel | Rokel | 50 | [1] | 88 | [2] |  |  | 445000000 | [121] | 15400000 | [122] |  | No |  | Avoiding double-counting | Existing
Bumbuna 3 (Yiben) | [6,8,9] | 9.3217 | -11.6997 | [*] | Seli/Rokel | Rokel | 66 |  | 82.5 | [3] | 69.7 | [3] | 1466900000 | [3] |  |  |  | No |  | Avoiding double-counting | Planned
Bumbuna 4 & 5 | [4] |  |  |  | Seli/Rokel | Rokel | 95 | [4] | [9 empty] | No |  | Avoiding double-counting | Potential
Bumbuna Falls | [3] | 9.0539 | -11.7355 | [9] | Seli/Rokel | Rokel | 26.8 | [3] | 84.1 | [3] | 66.8 | [3] | 310800000 | [3] |  |  |  | No |  | Avoiding double-counting | Planned
Mange 2 | [3] | 8.9226 | -12.8595 | [*] | Little Scarcies | Little Scarcies | 12.8 | [3] | 26 | [3] | 14.4 | [3] | 534600000 | [3] |  |  |  | No |  | Avoiding double-counting | Planned
Betmai 1 | [3,7,8,9] |  |  |  | Pampana | Jong | 52.5 | [3] | 42.1 | [3] | 73.9 | [3] | 46900000 | [3] |  |  |  | No |  | Avoiding double-counting | Potential
Betmai 2 | [3,7,8,9] |  |  |  | Pampana | Jong | 60 | [3] | 60.1 | [3] | 71.9 | [3] | 52900000 | [3] |  |  |  | No |  | Avoiding double-counting | Potential
Kuse 1 | [3] |  |  |  | Little Scarcies | Little Scarcies | 28 | [3] | 28.9 | [3] | 17.4 | [3] | 63400000 | [3] |  |  |  | No |  | Avoiding double-counting | Potential
Bekongor 1 | [3,4,6,7,8,9] | 8.5516 | -11.264 | [9] | Sewa | Sewa | 34.8 | [3] | 44.9 | [3] | 30.2 | [3] | 303200000 | [3] |  |  |  | No |  | Avoiding double-counting | Planned
Bekongor 3 | [1,2,3,4,6,7,8,9] | 8.5103 | -11.2818 | [1] | Sewa | Sewa | 85.5 |  | 16.7 | [3] | 92.1 | [3] | [none] | [3] |  |  |  | No |  | Run-of-river | Planned
Rokon | [3] |  |  |  | Seli/Rokel | Rokel | 31.8 | [3] | 24.3 | [3] | 13.5 | [3] | [none] | [3] |  |  |  | No |  | Run-of-river | Potential
Levuma | [3] |  |  |  | Sewa | Sewa | 7.8 | [3] | 15.1 | [3] | 26.4 | [3] | [5 empty] | No |  | Below capacity threshold | Potential
Banda Karafain | [3] |  |  |  | Sewa | Sewa | 7.8 | [3] | 49.1 | [3] | 40.4 | [3] | 359300000 | [3] |  |  |  | No |  | Below capacity threshold | Potential
Nyandehun | [3] |  |  |  | Moa | Moa | 6.4 | [3] | 7 | [3] | 66.3 | [3] | [5 empty] | No |  | Below capacity threshold | Potential
Goma 1 | [1,4,6,7] | 8.1388 | -11.3472 | [1] | Sewa | Sewa | 6 | [1] |  |  |  |  | [none] | [4] |  |  |  | No |  | Below capacity threshold | Existing
Guma | [1,3,9] | 8.3597 | -13.1994 | [1] | Guma | [unknown] | 2.4 | [1] | 69 | [9] |  |  | 220000000 | [9] |  |  |  | No |  | Below capacity threshold | Existing
Kabala Falls | [3] |  |  |  | Seli/Rokel | Rokel | 2.4 | [3] | [9 empty] | No |  | Below capacity threshold | Potential
Charlotte | [1,3] | 8.4261 | -13.1961 | [1] | [unknown] | [unknown] | 2 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Port Loko | [1,3] | 8.7584 | -12.7868 | [1] | Banka Soka | Rokel | 2 | [1] |  |  |  |  | [none] | [3] |  |  |  | No |  | Below capacity threshold | Existing
Makali | [1,3] | 8.6363 | -11.6444 | [1] | [unknown] | [unknown] | 0.64 | [1] |  |  |  |  | [none] | [3] |  |  |  | No |  | Below capacity threshold | Existing
Yele | [1,3] | 8.4118 | -11.8479 | [1] | Teye | Jong | 0.25 | [1] | [9 empty] | No |  | Below capacity threshold | Existing
Togo
Adjarala | [2,3,4,6,7] | 6.8994 | 1.6051 | [7] | Mono | Mono | 147 | [4] | 50 | [6] | 54 | [123] | 510000000 | [123] | 95000000 | [124] | Border project Togo-Benin | Yes | Simulation |  | Ongoing
Nangbéto | [1,2,3,4,5,7,9] | 7.424 | 1.436 | [1] | Mono | Mono | 65.6 | [1] | 44 | [6] | 31.2 | [125] | 1710000000 | [126] | 180000000 | [127] |  | Yes | Simulation |  | Existing
Tététou | [3,4,6,7,8,9] | 7.0163 | 1.5346 | [7] | Mono | Mono | 24 | [3,†††] | 28 | [128] |  |  | 510000000 | [128] |  |  |  | Yes | Simulation |  | Planned
Djamdé / Tihalea | [7,9] | 9.612 | 0.966 | [7] | Kara | Volta | 17 | [129,‡] | 60 | [129] |  |  | 575000000 | [129] |  |  | [130] | Yes | Simulation |  | Planned
Titira | [4,6] | 9.9955 | 1.1167 | [*] | Kéran | Volta | 13 | [131] | 56 | [131] |  |  | 370000000 | [131] |  |  |  | Yes | Simulation |  | Planned
Kpessi | [6] |  |  |  | Mono | Mono | 15.9 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Sarakawa | [6] |  |  |  | Kara | Volta | 24.2 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Kolo-Kopé | [6] |  |  |  | [unknown] | [unknown] | 17.1 | [6] | [9 empty] | Yes | Extrapolation |  | Potential
Gban Hou |  |  |  |  | Gban Hou | Volta | 10 | [132] | 108 | [132] |  |  | 255000000 | [132] |  |  |  | Yes | Extrapolation |  | Potential
Dotekopé |  |  |  |  | Mono | Mono | 9 | [133] | 31 | [133] |  |  | 875000000 | [133] |  |  |  | No |  | Below capacity threshold | Planned
Kpimé | [1,3,4] | 7.0117 | 0.64433 | [1] | [unknown] | [unknown] | 1.6 | [1] | [none] | [4] | [7 empty] | No |  | Run-of-river | Existing
[other small sites] | [3] |  |  |  | [several] | [unknown] | 99.8 | [3] | [9 empty] | No |  | Below capacity threshold | Potential

## Solar PV
General |  | Geography |  |  | Technical |  | Other | Classification in accompanying paper
Solar PV plant | In existing databases | Latitude | Longitude | Source | Capacity (MW) | Source | Comments / further reading | Classified as
Burkina Faso
Zagtouli | [1,4] | 12.3091 | -1.6398 | [1] | 33 | [1] |  | Existing
Zano | [1,4] | 11.7016 | -0.37049 | [1] | 11 | [1] |  | Planned
Fada N'Gourma 2 | [1] | 12.0723 | 0.34961 | [1] | 10 | [1] |  | Planned
Dori 2 | [1] | 14.0261 | -0.021321 | [1] | 15 | [1] |  | Planned
Pa | [1,4] | 11.5376 | -3.2522 | [1] | 17 | [1] |  | Planned
Kodeni | [1,4] | 11.1059 | -4.3256 | [1] | 17 | [1] |  | Planned
Zina / Semafo Windiga (Mana) | [1,4] | 12.0382 | -3.4186 | [1] | 20 | [1] |  | Planned
Dedougou 2 | [1] | 12.4498 | -3.4739 | [1] | 15 | [1] |  | Planned
Ziga | [1,4] | 12.6219 | -0.82379 | [1] | 1.1 | [1] |  | Existing
Ouaga Solaire + Patte d'Oie | [1,4] | 12.3678 | -1.4943 | [1] | 36 | [1] |  | Planned
Benin
Pobè |  | 6.9798 | 2.6663 | [*] | 25 | [134] |  | Planned
Côte d'Ivoire
Odienne Solaire | [1] | 9.5166 | -7.5663 | [1] | 25 | [1] |  | Planned
Korhogo Solaire | [1] | 9.5256 | -5.8213 | [1] | 25 | [1] |  | Planned
Gambia
Emerging Power Solar PV | [1] | 13.4049 | -16.6984 | [1] | 10 | [1] |  | Planned
Brikama | [4] | 13.2747 | -16.6416 | [1] | 20 | [135] |  | Planned
Ghana
VRA+BXC Onyadze | [1,4] | 5.3627 | -0.70515 | [1] | 22.5 | [136] |  | Existing
Nzema Project (Aiwiaso) | [1] | 5.0077 | -2.4197 | [*] | 155 | [137] |  | Planned
Navrongo | [1] | 10.9235 | -1.055 | [1] | 2.5 | [1] |  | Planned
Guiné-Bissau
Gardete (10 MW) + FREAD / BISSAU (20 MW) |  | 11.8276 | -15.6688 | [*] | 30 | [138] |  | Planned
Mafanco |  | 12.2626 | -14.4426 | [*] | 5 | [139] |  | Planned
Guinée-Conakry
Kankan | [4] | 10.3822 | -9.3121 | [*] | 8 | [4] |  | Planned
Kerouané | [4] | 9.2693 | -9.0091 | [*] | 1 | [4] |  | Planned
Khoummaguély / Kindia | [4] | 10.0415 | -12.8638 | [*] | 80 | [4] |  | Planned
Kouroussa | [4] | 10.648 | -9.8826 | [*] | 1 | [4] |  | Planned
Madiana | [4] | 10.6166 | -8.693 | [*] | 1 | [4] |  | Planned
Kissosso | [1] | 9.5788 | -13.5953 | [1] | 0.02 | [1] |  | Existing
Dubréka | [1] | 9.7912 | -13.5317 | [1] | 0.015 | [1] |  | Existing
Mali
Bamako 1 | [1] | 12.65 | -8 | [1] | 40 | [1] | [140] | Planned
Mopti | [1] | 14.483 | -4.183 | [1] | 20 | [1] | [141] | Planned
Gao centrale solaire | [1] | 16.2733 | -0.050662 | [1] | 20 | [1] | Hybrid diesel-solar [142] | Planned
Sikasso |  | 11.3219 | -5.6935 | [*] | 50 | [143] |  | Planned
Koutiala |  | 12.3811 | -5.4608 | [*] | 25 | [143] |  | Planned
Ségou |  | 13.4396 | -6.2374 | [*] | 33 | [143] |  | Planned
Kita |  | 13.0313 | -9.484 | [*] | 50 | [143] |  | Planned
Fana |  | 12.7893 | -6.9467 | [*] | 50 | [143] |  | Planned
Diabaly |  | 14.6909 | -6.0124 | [*] |  |  | [144] | Planned
Kolokani |  | 13.614 | -8.0212 | [*] |  |  | [145] | Planned
M'Pessoba |  | 12.6665 | -5.7177 | [*] |  |  | [146] | Planned
Niafunké |  | 15.9432 | -3.9917 | [*] |  |  | [147] | Planned
San |  | 13.2953 | -4.8986 | [*] |  |  | [148] | Planned
Niger
Malbaza I (7 MW) + II (13 MW, planned) | [1,4] | 13.9649 | 5.52 | [1] | 20 | [1,4] | [149] | Existing
Gorou Banda |  | 13.4504 | 2.1167 | [*] | 20 | [150] |  | Planned
Agadez |  | 16.974 | 7.9882 | [*] | 18 | [151] | Hybrid diesel-solar [152] | Planned
Dosso |  | 13.0509 | 3.2058 | [*] | 10 | [151] |  | Planned
Maradi |  | 13.5003 | 7.1058 | [*] | 20 | [151] |  | Planned
Nigeria
Garaku Afri | [1] | 8.8432 | 8.1298 | [1] | 50 | [1] |  | Planned
Ganjuwa LGA | [1] | 10.8523 | 10.1677 | [1] | 135 | [1] |  | Planned
Katsina Solar | [1] | 12.9853 | 7.6085 | [1] | 75 | [1] |  | Planned
Shiroro PV |  | 9.976 | 6.8356 | [*] | 300 | [153] |  | Planned
Enugu GreenWish + Motir DuSable / Enugu State |  | 6.4572 | 7.5392 | [*] | 400 | [153] |  | Planned
Kaduna GreenWish |  | 10.5081 | 7.4179 | [*] | 50 | [153] |  | Planned
Jigawa GreenWish |  | 12.5702 | 8.9389 | [*] | 50 | [153] |  | Planned
Delta State Utility Solar Project |  | 6.2048 | 6.7008 | [*] | 3000 | [153] |  | Planned
University of Ilorin / Kwara State |  | 8.494 | 4.5956 | [*] | 500 | [153] |  | Planned
FirstGate Solar Park / Kogi State |  | 7.8028 | 6.7361 | [*] | 1000 | [153] |  | Planned
Panyam / Plateau State |  | 9.4091 | 9.212 | [*] | 70 | [153] |  | Planned
Nova Scotia / Dutse / Jigawa State |  | 11.7016 | 9.3348 | [*] | 100 | [153] |  | Planned
Manchok Ranch / Kaduna State |  | 9.6673 | 8.5145 | [*] | 50 | [153] |  | Planned
Osun |  | 7.9841 | 5.0948 | [*] | 13 | [153] |  | Planned
Kumbotso / Kano State |  | 11.9281 | 8.5138 | [*] | 50 | [153] |  | Planned
Ekiti |  | 7.6109 | 5.2688 | [*] | 125 | [153] |  | Planned
Nasawara |  | 8.5471 | 7.7119 | [*] | 150 | [153] |  | Planned
Sokoto |  | 13.0419 | 5.2411 | [*] | 100 | [153] |  | Planned
Yola, Adamawa |  | 9.2097 | 12.478 | [*] | 100 | [153] |  | Planned
Senegal
CICAD | [1] | 14.7436 | -17.1941 | [1] | 2 | [1] |  | Existing
Malicounda | [1] | 14.4746 | -16.9364 | [1] | 22 | [1] |  | Existing
Santhiou Mekhe | [1] | 15.1299 | -16.6765 | [1] | 30 | [1] |  | Existing
Merina Ndakhar | [1] | 15.155 | -16.5944 | [1] | 30 | [1] |  | Existing
Bokhol | [1] | 16.5147 | -15.4681 | [1] | 20 | [1] |  | Existing
Tambacounda | [1] | 13.7661 | -13.667 | [1] | 4 | [1] |  | Planned
Ziguinchor | [1,4] | 12.58 | -16.283 | [1] | 10 | [1] | Hybrid diesel-solar [154] | Planned
Sakal | [1] | 15.8571 | -16.2249 | [1] | 20 | [1] | [155] | Existing
Centrale Diass | [4] | 14.6375 | -17.0874 | [*] | 15 | [4] | [156] | Planned
Kahone/Kaolack |  | 14.1663 | -16.0763 | [*] | 20 | [157] |  | Planned
Sierra Leone
Newton Solar Park (Freetown) | [1] | 8.4342 | -12.9828 | [1] | 6 | [1] | [158] | Planned
Bo |  | 7.9987 | -11.753 | [*] | 25 | [159] | [160] | Planned
Togo
Solar CEB | [1,4] | 6.14 | 1.21 | [1] | 5 | [1] |  | Planned
IPP_Solar 3 (Kara) | [4] | 9.5474 | 1.1972 | [*] | 5 | [4] |  | Planned

## Wind
General |  | Geography |  |  | Technical |  | Other | Classification in accompanying paper
Wind power plant | In existing databases | Latitude | Longitude | Source | Capacity (MW) | Source | Comments / further reading | Classified as
Benin
Unnamed wind park | [4] |  |  | [‡‡] | 20 | [161] |  | Planned
Gambia
Tujereng |  | 13.3181 | -16.7857 | [*] | 4 | [162] |  | Planned
Gamwind | [1] | 13.3445 | -16.806 | [*] | 0.9 | [1] |  | Existing
Batokunku | [1] | 13.3254 | -16.7983 | [*] | 0.15 | [1] |  | Existing
Bakau | [4] | 13.4795 | -16.6716 | [*] | 0.6 | [4] |  | Planned
Ghana
Ayitepa | [1,4] | 5.556 | -0.196 | [1] | 225 | [1] |  | Planned
Mali
Kayes |  | 14.437 | -11.4448 | [*] | 10 | [143] |  | Planned
Tombouctou | [1] | 16.46 | -2.59 | [1] | 1.1 | [1] | [163] | Planned
Gao |  | 16.2733 | -0.050662 | [*] |  |  | [164] | Planned
Niger
Unnamed wind park | [4] |  |  |  | 30 | [4] | [165] | Planned
Nigeria
Katsina | [1] | 12.8472 | 7.67 | [1] | 10.175 | [1] |  | Planned
Senegal
Taiba Ndiaye | [1] | 15.0404 | -16.881 | [1] | 158.7 | [167] |  | Ongoing
Léona | [1] | 15.7208 | -16.4625 | [1] | 50 | [1] | [169] | Planned
Saint Louis | [1] | 15.8906 | -16.4254 | [1] | 50 | [1] | Spread over Mboye and Gantour sites [170] | Planned
Togo
Devego-Lomé | [1,4] | 6.1368 | 1.2136 | [1] | 25.2 | [1] | [171,172] | Planned

## Data sources
# | Author / Institution | Title | Year | Accessed on / version from | URL
General data sources / databases
[1] | ECOWREX | Map Viewer | 2019 | 2019-01-10 | http://www.ecowrex.org/mapView/index.php?lang=eng
[2] | The International Journal on Hydropower and Dams | Hydropower & Dams in Africa 2017 | 2017 | 2018-07-06 | http://www.hydropower-dams.com/pdfs/2017_Africa_Map.pdf
[3] | ECREEE (Kappiah et al.) | Baseline Report on existing and potential small-scale hydropower systems in the ECOWAS region | 2012 | 2018-07-06 | http://www.ecreee.org/sites/default/files/documents/basic_page/ecowas-unido_sshp_baseline_report.pdf
[4] | IRENA | Planning and prospects for renewable power: West Africa | 2018 | 2018-11-26 | https://www.irena.org/publications/2018/Nov/Planning-and-prospects-for-renewable-power
[5] | Global Water System Project | Global Reservoir and Dam (GRanD) Database | 2018 | 2018-11-05 | http://www.gwsp.org/products/grand-database.html
[6] | Tractebel Engineering | ECOWAS Master Plan for the Development of Regional Power Generation and Transmission Infrastructure 2019-2033 | 2018 | 2019-05-29 | http://www.ecowapp.org/sites/default/files/volume_0.pdf
[7] | Global Solar Atlas | Hydro-connected solar PV potential | 2019 | 2019-06-03 | https://globalsolaratlas.info/&h=1
[8] | Global Dam Watch | Future Hydropower Reservoirs and Dams | 2019 | 2019-04-25 | http://globaldamwatch.org/fhred/
[9] | FAO AQUASTAT | Dams of Africa | 2016 | 2018-07-06 | http://www.fao.org/nr/water/aquastat/dams/region/Africa-dams_eng.xlsx
Hydropower - Burkina Faso
[10] | UNDP/UNECA | Harnessing of Hydroelectric Energy and Interconnection of Electricity Networks of ECOWAS countries | 1992 | 2019-02-01 | http://repository.uneca.org/bitstream/handle/10855/20898/Bib-68807.pdf?sequence=1
[11] | IWMI (Mul et al.) | Water resources assessment of the Volta River Basin / Évaluation des ressources en eau du bassin de la Volta | 2015 | 2019-01-07 | http://www.iwmi.cgiar.org/Publications/Working_Papers/working/wor166-french.pdf
[12] | FAO (Vanden Bossche, J.P., & Bernacsek, G.M.) | Source Book for the Inland Fishery Resources of Africa (SIFRA) Vol. 2 - Country Files (Burkina Faso) | n.d. | 2019-06-08 | http://www.fao.org/3/t0360e/T0360E03.htm#notech2.4
[13] | Moner-Girona et al. | Mapping the least-cost option for rural electrification in Burkina Faso: Scaling-up renewable energies | 2017 | 2018-09-24 | https://core.ac.uk/download/pdf/84886671.pdf
[14] | IUCN, GWI & IIED | Etat des lieux autour du barrage de Bagré au Burkina Faso | 2010 | 2019-01-07 | https://cmsdata.iucn.org/downloads/etat_des_lieux_autour_du_barrage_de_bagre_au_burkina_faso.pdf
[15] | Burkina Faso Ministère de l'Agriculture, de l'Hydraulique et des Ressources Halieutiques | Synthèse du suivi des ressources en eau 2004 | 2005 | 2018-06-19 | https://www.eauburkina.org/images/GIRE/Synthese_du_suivi_des_ressources_en_eau_du_Burkina_Faso_2004.pdf
[16] | Jeune Afrique | Burkina Faso: le chantier du barrage de Samendéni est relancé | 2017 | 2019-01-07 | https://www.jeuneafrique.com/mag/433527/economie/burkina-faso-chantier-barrage-de-samendeni-relance/
Hydropower - Benin
[17] | ECOWREX | Aménagement hydroélectrique d'Okpa | n.d. | 2019-06-08 | http://www.ecowrex.org/fr/node/11920
[18] | ECOWREX | Aménagement hydroélectrique de Dyodyonga | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-dyodyonga
[19] | John O. Igué (ed.) | Les états-nations face à l'intégration régionale en Afrique de l'Ouest: le cas du Bénin | 2006 | 2018-09-24 | https://books.google.de/books?id=LBSWMyoKm4gC&dq=dyodyonga+barrage&source=gbs_navlinks_s&redir_esc=y
[20] | Benin Ministère de l'Energie, des Recherches Pétrolières et Minières, de l'Eau et du Développement des Énergies Renouvelables | Projet d'Amenagement des Grands Barrages Hydroelectriques Multifonctions sur le fleuve Ouémé dans le cadre de la GIRE au Benin | 2013 | 2019-01-07 | https://savm-saba.com/wp-content/uploads/2018/07/Barrage-HPP-Rapport_hydro%C3%A9lectrique-finale_abz_30-04-2013.pdf
[21] | ECOWREX | Aménagement hydroélectrique de Bétérou | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-beterou
[22] | ECOWREX | Aménagement hydroélectrique de Cové | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-cove
[23] | ECOWREX | Aménagement hydroélectrique de Dékoussou | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-dekoussou
[24] | ECOWREX | Aménagement hydroélectrique de Assante | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-assante
[25] | ECOWREX | Aménagement hydroélectrique de Sokologbo | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-sokologbo
[26] | ECOWREX | Aménagement hydroélectrique de Zouka Tondji | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-zouka-tondi
Hydropower - Côte d'Ivoire
[27] | Côte d'Ivoire Ministère des Mines, du Pétrole et de l'Énergie (Koménan, K.) | Situation de l'Hydroéletrcitié en Côte d'Ivoire | 2012 | 2019-06-08 | http://www.ecreee.org/sites/default/files/cote_d_ivoire.pdf
[28] | Global Energy Observatory | Kossou Hydroelectric Power Plant | n.d. | 2018-09-24 | http://globalenergyobservatory.org/geoid/42577
[29] | FAO (van der Knaap, M.) | Status of fish stocks and fisheries of thirteen medium-sized African reservoirs - Côte d'Ivoire | n.d. | 2019-06-08 | http://www.fao.org/3/V4110E/V4110E03.htm
[30] | Gao et al. | Global monitoring of large reservoir storage from satellite remote sensing (Water Resources Research, Vol. 48, W09504) | 2012 | 2018-08-06 | doi:10.1029/2012WR012063
[31] | Global Energy Observatory | Ayame (Ayme) Hydroelectric Power Plant | n.d. | 2018-09-24 | http://globalenergyobservatory.org/form.php?pid=42579
[32] | FAO (Kassoum, T.) | État des Connaissances sur les Pêcheries Continentales Ivoiriennes | 1996 | 2019-06-08 | http://www.fao.org/3/ag188f/AG188F02.htm#ch1
[33] | Global Energy Observatory | Taabo Hydroelectric Power Plant | n.d. | 2018-09-24 | http://globalenergyobservatory.org/geoid/42576
[34] | Portail Officiel du Gouvernement de Côte d'Ivoire | Barrage Hydroélectrique de Soubré: Fiche Technique | 2017 | 2019-06-08 | http://www.gouv.ci/_actualite-article.php?recordID=8261
[35] | Platinum Power, TGCC Energy & Sarine Engineering | Appel à la Pré-Qualification pour la Conception, l'Ingenierie, la Fourniture et la Construction des Aménagements Hydroélectriques de Gao et Tayaboui | 2017 | 2018-11-14 | http://www.platinumpower.ma/wp-content/uploads/2017/03/1.-PQ-GAO-TAY-Avril2017-VF.pdf
[36] | African Development Bank Group | Projet Hydroélectrique de Singrobo-Ahouaty (44 MW) | n.d. | 2019-06-08 | https://www.afdb.org/fileadmin/uploads/afdb/Documents/Environmental-and-Social-Assessments/Cote_Ivoire-projet_de_barrage_hydroelectrique_de_singrobo-Resume_PCR_10_2017.pdf
[37] | Tapé, M. | Côte d’Ivoire: Alassane Ouattara pose la 1ère pierre du barrage de Gribo Popoli | 2017 | 2019-06-08 | https://cotedivoirenews.info/cote-divoire-alassane-ouattara-pose-la-1ere-pierre-du-barrage-de-gribo-popoli/
Hydropower - Ghana
[38] | Volta River Authority | 1,020MW Akosombo Hydro Electric Power Plant | n.d. | 2018-07-06 | https://www.vra.com/our_mandate/akosombo_hydro_plant.php
[39] | Bui Power Authority | Bui Hydroelectric Project - FAQs | 2015 | 2018-07-06 | http://buipower.com/node/144
[40] | ERM | Environmental and Social Impact Assessment of the Bui Hydropower Project | 2007 | 2018-07-06 | http://library.mampam.com/Final%20ESIA%20-%20Bui%20HEP.pdf
[41] | WaterTechnology.net | Bui Dam Hydroelectricity Project, Ghana | n.d. | 2019-06-08 | https://www.water-technology.net/projects/bui-dam-hydro-power-ghana/
[42] | Mortey et al. | Sustainability Assessment of the Bui Hydropower System (Environments 2017, 4, 25) | 2017 | 2018-08-06 | doi:10.3390/environments4020025
[43] | van der Zwet, J. | The creation of a reservoir in the White Volta River, Ghana: An analysis of the impact on river morphology | 2012 | 2019-06-08 | https://repository.tudelft.nl/islandora/object/uuid:b1fddcbe-9847-41a8-bc81-e0e32e7ef946/datastream/OBJ/download
[44] | IRENA | Ghana Renewables Readiness Assessment | 2015 | 2018-09-28 | https://www.irena.org/documentdownloads/publications/irena_rra_ghana_nov_2015.pdf
[45] | IWMI (McCartney et al.) | The Water Resource Implications of Changing Climate in the Volta River Basin | 2012 | 2018-08-06 | http://www.iwmi.cgiar.org/Publications/IWMI_Research_Reports/PDF/PUB146/RR146.pdf
[46] | MarketResearch.com | MoE – Daboya Hydroelectric Power Plant 40 MW – Volta - Project Profile | 2019 | 2019-06-08 | https://www.marketresearch.com/Timetric-v3917/MoE-Daboya-Hydroelectric-Power-Plant-11458850/
[47] | Ghana Investment Promotion Centre (Nyanu, T.W.) | Ghana Power Investment & Business Opportunities | n.d. | 2019-06-08 | http://africaaustraliaconference.com/wp-content/uploads/2016/09/ENERGY-POWER-INVESTMENT-OPPORTUNITIES-IN-GHANA.pdf
[48] | MarketResearch.com | MoE – Kulpawn Hydroelectric Power Plant 36 MW – Volta - Project Profile | 2019 | 2019-06-08 | https://www.marketresearch.com/Timetric-v3917/MoE-Kulpawn-Hydroelectric-Power-Plant-11458937/
[49] | Ghana Ministry of Energy (Seth, M. & Mohidjou, M.) | Opportunities Opportunities in The Ghana in The Ghana Renewable Energy Act 2011, Act 832 | 2012 | 2019-06-08 | http://www.ecreee.org/sites/default/files/ghana.pdf
[50] | Dzobo, D. | Pre-Feasibility Studies of Hemang Hydropower Site | 2015 | 2019-06-08 | http://ir.knust.edu.gh/bitstream/123456789/7974/1/edited%20after%20defense%201-10-2015%20with%20new%20referencing%20style.pdf
[51] | Volta River Authority | 160MW Kpong Hydro Electric Power Plant | n.d. | 2018-07-06 | https://www.vra.com/our_mandate/kpong_hydro_plant.php
[52] | Logah et al. | Floodplain hydrodynamic modelling of the Lower Volta River in Ghana (Journal of Hydrology: Regional Studies 14 1–9) | 2018 | 2018-11-07 | https://doi.org/10.1016/j.ejrh.2017.09.002
Hydropower - Guiné-Bissau
[53] | ECREEE | Agenda de Ação para a Energia Sustentável para Todos na Guiné-Bissau | 2017 | 2019-02-14 | http://www.ecowrex.org/system/files/web_agenda_de_acao_optimized.pdf
[54] | ECOWREX | Central hidroelectrica de Saltinho - Guine-Bissau | n.d. | 2019-06-08 | http://www.ecowrex.org/project/central-hidroelectrica-de-saltinho-guine-bissau
Hydropower - Guinée
[55] | ECOWREX | Souapiti - Guinée | n.d. | 2019-06-08 | http://www.ecowrex.org/project/souapiti-guinee
[56] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Souapiti | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-souapiti
[57] | Tractebel Engineering | Update of the ECOWAS Revised Master Plan for the generation and transmission of electrical energy - Final Report Volume 3 : Investment program development and priority project implementation strategy | 2011 | 2019-05-29 | http://www.ecowapp.org/sites/default/files/mp_wapp_volume_3.pdf
[58] | GuinéeSignal | Vers la construction d’un nouveau barrage d’une capacité de 300 MW en basse Guinée | 2018 | 2019-06-08 | http://guineesignal.com/vers-la-construction-dun-nouveau-barrage-dune-capacite-de-300-mw-en-basse-guinee/
[59] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Amaria | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-amaria
[60] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Koukoutamba | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-koukoutamba
[61] | OMVS (Bedredine, F.) | Programme d’Infrastructures Régionales dans le Bassin du fleuve Sénégal | 2014 | 2019-06-08 | https://www.unece.org/fileadmin/DAM/env/documents/2014/WAT/04April_9-10_Geneva/presentations/2.1_OMVS_Bedredine_UNECE-04-2014_Fawzi.pdf
[62] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Balassa | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-balassa
[63] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Boureya | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-boureya
[64] | ONISDIN (Observatory Upper Niger Basin and Inner Niger Delta) | Hydrological Infrastructure | n.d. | 2019-07-03 | https://onisdin.info/en/hydrology/hydrological-infrastructure
[65] | Lombardi S.A. | Frankonedou and Kogbedou HPP (Guinea) | n.d. | 2019-06-08 | https://www.lombardi.ch/en-gb/Pages/References/Hydroelectric%20plants/References_5113.aspx
[66] | ECOWREX | Garafiri | n.d. | 2019-06-08 | http://www.ecowrex.org/eg/garafiri
[67] | Électricité de Guinée | Étude sur le Partage des Recettes Issues de la Vente de l'Électricité du Barrage de Fomi avec les Populations Affectées | 2006 | 2019-07-23 | http://documents.shihang.org/curated/zh/464771468257936341/pdf/E206400VOL10401BOX0334127B01PUBLIC1.pdf
[68] | ECOWREX | Grandes Chutes (Kalé) | n.d. | 2018-08-03 | http://www.ecowrex.org/eg/grandes-chutes-kale
[69] | Kourouma, D.L. | Approche Méthodologique d'Évaluation Environnementale Stratégique du Secteur de l'Énergie: Application à la Dimension Régionale de la Politique Énergétique Guinéenne en Guinee Maritime | 2005 | 2019-06-08 | https://core.ac.uk/download/pdf/77617075.pdf
[70] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Kassa B | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-kassa
[71] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Tiopo | n.d. | 2018-08-03 | http://www.invest.gov.gn/document/projet-hydroelectrique-de-tiopo
[72] | ECOWREX | Korafindi - Guinée | n.d. | 2019-06-08 | http://www.ecowrex.org/project/korafindi-guinee
[73] | ECOWREX | Morisanako - Guinée | n.d. | 2019-06-08 | http://www.ecowrex.org/project/morisanako-guinee
[74] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Morisanako | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-morisanako
[75] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Diaraguela | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-diaraguela
[76] | ECOWREX | Gozonguezia - Guinée | n.d. | 2019-06-08 | http://www.ecowrex.org/project/gozonguezia-guinee
[77] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Gozeguezia | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-gozoguezia
[78] | ECOWREX | Singuega - Guinée | n.d. | 2019-06-08 | http://www.ecowrex.org/project/singuega-guinee
[79] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Madina(Dion) | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-gozoguezia
[80] | Keita, M. | Un nouveau barrage pour réduire le déficit énergétique | n.d. | 2019-07-22 | http://ipsinternational.org/fr/_note.asp?idnews=6990
[81] | JeuneAfrique (Oury Diallo, A.) | Hydraulique: la Guinée souhaite exploiter pleinement son potentiel | 2017 | 2019-07-22 | https://www.jeuneafrique.com/mag/500796/economie/hydraulique-la-guinee-souhaite-exploiter-pleinement-son-potentiel/
[82] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Fomi | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-fomi
[83] | Liersch et al. | Water resources planning in the Upper Niger River basin: Are there gaps between water demand and supply? (Journal of Hydrology: Regional Studies 21 176–194) | 2019 | 2019-01-17 | doi.org/10.1016/j.ejrh.2018.12.006
[84] | ECOWREX | Nongoa - Guinée | n.d. | 2019-07-22 | http://www.ecowrex.org/project/nongoa-guinee
[85] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Lokoua (Loffa) | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-lokoua-boffa
[86] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Seroudou (Macenta) | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-lokoua-boffa
[87] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Keno (Makona) | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-keno-makona
[88] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Touba (Saranwol) | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-d-amenagement-hydroelectrique-de-touba-saranwol
[89] | Guinée Ministère de l’Energie et de l'Hydraulique | Stratégie de Développement du Potentiel Hydraulique | 2015 | 2019-07-22 | https://docplayer.fr/45399057-5-3-contexte-de-la-demande.html
[90] | Guinée Ministère de l’Energie et de l'Hydraulique | Projet d'Aménagement Hydroélectrique de Lougambe (Tanto) | n.d. | 2018-08-03 | https://www.invest.gov.gn/document/projet-hydroelectrique-de-lougambe-tanto
Hydropower - Mali
[91] | SOGEM (Société de Gestion de l'Énergie de Manantali) | Projet Énergie Manantali | n.d. | 2019-06-08 | http://www.sogem-omvs.org/mantali.html
[92] | SOGEM (Société de Gestion de l'Énergie de Manantali) | Barrage de Manantali | n.d. | 2019-06-08 | http://www.sogem-omvs.org/barrage.html
[93] | Bangnères, J. | L'aménagement de Sélingué au Mali | 2015 | 2019-06-08 | https://www.encyclopedie-energie.org/sites/default/files/fichiers_joints/articles/art043_Bagneres-Jacques_am%C3%A9nagement-Selingue-Mali.pdf
[94] | FAO (van der Knaap, M.) | Status of fish stocks and fisheries of thirteen medium-sized African reservoirs - Mali | n.d. | 2019-06-08 | http://www.fao.org/3/V4110E/V4110E04.htm
[95] | Bamada.net | Barrage de Taoussa: ... Et de l'électricité pour les localités | 2016 | 2019-02-01 | http://bamada.net/barrage-de-taoussa-et-de-lelectricite-pour-les-localites
[96] | Yang et al. | Quantifying the Sustainability of Water Availability for the Water-Food-Energy-Ecosystem Nexus in the Niger River Basin (Earth's Future 6) | 2018 | 2018-09-26 | https://doi.org/10.1029/2018EF000923
[97] | European Commission | Félou Hydropower | n.d. | 2019-07-23 | https://ec.europa.eu/europeaid/felou-hydropower_en
[98] | OMVS (Organisation pour la Mise en Valeur du Fleuve Senegal) (Ndiaye, T.) | Hydropower Development in the Senegal River Basin | 2009 | 2019-06-08 | http://siteresources.worldbank.org/EXTWAT/Resources/4602122-1213366294492/5106220-1234469721549/6.3_Hydro_Development_Senegal_River.pdf
Hydropower - Niger
[99] | Haut Commissariat à l'Aménagement de la Vallée du Niger | Programme Kandadji de Régénération des Écosystèmes et de Mise en valeur de la vallée du Niger - Detailed Environmental and Social Impact Assessment - General Synthesis Report | 2006 | 2019-06-08 | http://documents.worldbank.org/curated/pt/856671468006608446/text/E29650v10EA0P1020Box367849B03305663.txt
[100] | ECOWREX | Kandadji | n.d. | 2019-06-08 | http://www.ecowrex.org/fr/node/631
[101] | BRL Ingénierie | Résumé exécutif de l’EIES et du PGES du Programme Kandadji | n.d. | 2019-06-08 | http://documents.worldbank.org/curated/en/727481468194348456/pdf/E29650FRENCH0v0R0EA0SUMMARY0P130174.pdf
[102] | Niger Ministère des Ressources en Eau | Politique et Stratégies pour l'Eau et l'Assainissement | 2001 | 2019-06-08 | https://www.ircwash.org/sites/default/files/824-NE01-16999.pdf
Hydropower - Nigeria
[103] | NS Energy | Mambilla Hydropower Project | n.d. | 2018-09-24 | https://www.nsenergybusiness.com/projects/mambilla-hydropower-project-nigeria/
[104] | Homscheid Hydropower Consulting | References | 2016 | 2018-09-24 | http://www.sven-homscheid.com/wp-content/uploads/2016/11/References_20161118.pdf
[105] | Ehigiator et al. | Determination of Volume and Direction of Flow of Kainji Reservoir (Nigerian Journal of Technology Vol. 36, No. 4, October 2017, pp. 1010 – 1015) | 2017 | 2018-08-02 | http://dx.doi.org/10.4314/njt.v36i4.3
[106] | Mayomi et al. | Monitoring the land-use and vegetation cover changes in the Kainji Lake Basin, Nigeria (1975-2006) (African Journal of Environmental Science and Technology Vol. 8(2), pp. 129-142, February 2014) | 2014 | 2018-08-02 | http://dx.doi.org/10.5897/AJEST2013.1474
[107] | Jimoh, O.D. | Optimized Operation of Kainji Reservoir | 2008 | 2019-01-16 | http://www.journal.au.edu/au_techno/2008/jul08/journal121_article05.pdf
[108] | Abaka et al. | Hydropower Potential of Nigeria (International Journal of Modern Engineering Research (IJMER), Vol. 7 (5)) | 2017 | 2018-10-09 | http://www.ijmer.com/papers/Vol7_issue5/Version-2/H7525258.pdf
[109] | PunchNG Business | N473bn Zungeru hydropower plant at 47% completion – CNEEC | 2017 | 2018-10-09 | https://punchng.com/n473bn-zungeru-hydropower-plant-at-47-completion-cneec/
[110] | Gbadamosi et al. | Evaluation of Operational Efficiency of Shiroro Hydro-Electric Plant in Nigeria | 2015 | 2018-10-09 | https://www.academia.edu/15055340/Evaluation_of_Operational_Efficiency_of_Shiroro_Hydro-Electric_Plant_in_Nigeria
[111] | FAO (Ita, E.O.) | Inland Fishery Resources of Nigeria | 1993 | 2018-10-09 | http://www.fao.org/3/T1230E/T1230E07.htm
[112] | Milam et al. | Heavy metal pollution in benthic fishes from Kiri Dam in Guyuk local government area of Adamawa State, Nigeria (African Journal of Biotechnology Vol. 11(54), pp. 11755-11759, 5 July, 2012) | 2012 | 2018-10-09 | https://www.ajol.info/index.php/ajb/article/viewFile/128970/118524
[113] | Aurecon Group | Kashimbila Dam and Hydropower Project, Nigeria | n.d. | 2019-06-08 | https://www.aurecongroup.com/projects/energy/kashimbila-hydropower-station
[114] | Ayeni & Ojifo | The socio-economics dynamics of Dam on Rural Communities - A case study of Oyan Dam, Nigeria (Proc. IAHS, 379, 175–180) | 2018 | 2018-10-09 | https://doi.org/10.5194/piahs-379-175-2018
[115] | Raphael et al. | Maximizing the Full Economic Potentials of Ikere Gorge and Oyan Dams for National Economic Development | 2016 | 2019-01-16 | http://eprints.lmu.edu.ng/1663/1/Ralph%20AJAST%202016.pdf
[116] | Nigeria Federal Ministry of Water Resources | Transforming Irrigation Management in Nigeria (TRIMING) Project - Environmental and Social Management Framework | 2013 | 2019-06-08 | http://documents.worldbank.org/curated/en/792351468099582004/pdf/E44540V10P123100Box382151B00PUBLIC0.pdf
[117] | ECOWREX | Gurara | n.d. | 2019-07-22 | http://www.ecowrex.org/eg/gurara
[118] | Akwukwaegbu & Izuegbunam | Identification of Reserved Energy Resource Potentials for Nigeria Power Generation Improvement | 2016 | 2018-11-28 | http://ijera.com/papers/Vol6_issue9/Part-3/B0609031425.pdf
Hydropower - Senegal
[119] | ECOWREX | Sambangalou | n.d. | 2019-06-08 | http://www.ecowrex.org/eg/sambangalou
[120] | OMVG (Organisation pour la Mise en Valeur du Fleuve Gambie) | Étude d'Impact Environnemental et Social du Projet Énergie | 2014 | 2019-06-08 | https://www.eib.org/attachments/registers/60471102.pdf
Hydropower - Sierra Leone
[121] | ERM | Environmental, Social and Health Impact Assessment for Bumbuna II Hydroelectric Project | 2017 | 2019-06-08 | http://selihydropower.sl/Content/documents/2.%20BBII%20ESHIA_Volume%201.pdf
[122] | World Bank | Project Appraisal Document for the Completion of the Bumbuna Hydroelectric Project | 2005 | 2019-06-08 | http://documents.worldbank.org/curated/en/964961468334857145/pdf/31844.pdf
Hydropower - Togo
[123] | Communauté Électrique du Benin | Adjarala: Projet d’Aménagement Optimal du fleuve Mono pour une amélioration de la fourniture de l’énergie électrique au Bénin et au Togo | n.d. | 2019-06-08 | http://www.cebnet.org/pdfs/prospectus%20%201re%20pierre%20adjarala36ea.pdf
[124] | Trebaol & Chabal | EIA of the Adjarala hydroelectric project (Togo-Benin): the aquatic environment component | 2003 | 2019-01-16 | https://www.researchgate.net/publication/293592987_EIA_of_the_Adjarala_hydroelectric_project_Togo-Benin_The_aquatic_environment_component
[125] | Combey, S. | Bénin-Togo: 4 millions d’Euros pour Nangbéto | 2015 | 2019-06-08 | https://www.africardv.com/developpement/benin-togo-4-millions-deuros-pour-nangbeto/
[126] | Giardino et al. | A quantitative assessment of human interventions and climate change on the West African sediment budget (Ocean & Coastal Management Volume 156, 15 April 2018, Pages 249-265) | 2018 | 2018-11-27 | https://doi.org/10.1016/j.ocecoaman.2017.11.008
[127] | Amoussou et al. | Dynamique et modélisation des crues dans le bassin du Mono à Nangbéto (Togo/Bénin), Hydrological Sciences Journal Volume 59, 2014 - Issue 11 | 2014 | 2019-01-16 | https://doi.org/10.1080/02626667.2013.871015
[128] | ECOWREX | Aménagement hydroélectrique de Tététou | n.d. | 2019-06-08 | http://www.ecowrex.org/fr/node/12150
[129] | ECOWREX | Aménagement hydroélectrique de Djamde | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-djamde
[130] | ECOWREX | Aménagement hydroélectrique de Tihalea | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-tihalea
[131] | ECOWREX | Aménagement hydroélectrique de Titira | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-titira
[132] | ECOWREX | Aménagement hydroélectrique de Gban Hou | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-gban-hou
[133] | ECOWREX | Aménagement hydroélectrique de Dotékopé | n.d. | 2019-06-08 | http://www.ecowrex.org/project/amenagement-hydroelectrique-de-dotekope
Solar PV
[134] | Ambassade de France au Bénin | Construction de la plus grande centrale solaire du Bénin: la France et l’UE s’engagent auprès du Bénin | 2017 | 2019-07-22 | https://bj.ambafrance.org/La-France-et-l-Union-europeenne-s-engagent-aux-cotes-du-Benin-pour-construire
[135] | ECOWREX | Brikama Solar - Gambia | n.d. | 2019-07-22 | http://www.ecowrex.org/project/brikama-solar-gambia
[136] | GhanaWeb | BXC adds 20MW solar power to grid | 2016 | 2019-07-22 | https://www.ghanaweb.com/GhanaHomePage/business/BXC-adds-20MW-solar-power-to-grid-454815#
[137] | ECREEE | Blue Energy Co. | n.d. | 2019-07-23 | http://www.ecreee.org/stakeholder/blue-energy-co
[138] | UNIDO, GEF & ECREEE | Plano de Investimento para Energia Sustentável da Guiné-Bissau | 2017 | 2019-02-14 | http://www.ecreee.org/sites/default/files/documents/news/web_plano_de_investimento_optimized.pdf
[139] | SE4All | PANER Guiné-Bissau | 2015 | 2019-02-19 | http://www.se4all.ecreee.org/sites/default/files/plano_de_acao_nacional_no_sector_das_energias_renovaveis_paner_para_a_guine-bissau.pdf
[140] | ECOWREX | Bamako PV project | n.d. | 2019-07-23 | http://www.ecowrex.org/project/bamako-pv-project
[141] | ECOWREX | Centrale Solaire de Mopti | n.d. | 2019-07-23 | http://www.ecowrex.org/project/centrale-solaire-de-mopti
[142] | ECOWREX | Centrale PV Gao - Hybride Diesel | n.d. | 2019-07-23 | http://www.ecowrex.org/project/centrale-pv-gao-hybride-diesel-mali
[143] | SE4All | PANER Mali | 2015 | 2019-02-19 | https://www.se4all-africa.org/fileadmin/uploads/se4all/Documents/Country_PANER/Mali_Plan_d_Actions_National_pour_les_Energies_Renouvelables_.pdf
[144] | ECOWREX | Centrale Solaire Photovoltaïque de Diabaly | n.d. | 2019-07-23 | http://www.ecowrex.org/project/centrale-soalire-photovoltaique-de-diabaly
[145] | ECOWREX | Centrale Solaire de Kolokani | n.d. | 2019-07-23 | http://www.ecowrex.org/project/centrale-solaire-de-kolokani
[146] | ECOWREX | Centrale Solaire de M'Pessoba | n.d. | 2019-07-23 | http://www.ecowrex.org/project/centrale-solaire-de-m-pessoba
[147] | ECOWREX | Centrale Solaire de Niafunké | n.d. | 2019-07-23 | http://www.ecowrex.org/project/centrale-solaire-de-niafunke
[148] | ECOWREX | Centrale Solaire de San | n.d. | 2019-07-23 | http://www.ecowrex.org/project/centrale-solaire-de-san
[149] | GreenBuildingAfrica (Groenendaal, P.) | First Utility Scale Solar PV Plant Commissioned in Niger | 2018 | 2018-11-27 | https://www.greenbuildingafrica.co.za/first-utility-scale-solar-pv-plant-commissioned-in-niger/
[150] | VivAfrik (Ficou, M.) | La centrale solaire de Gorou Banda mise en service en 2021 au Niger | 2018 | 2018-11-27 | https://www.vivafrik.com/2018/11/06/la-centrale-solaire-de-gorou-banda-mise-en-service-en-2021-au-niger-a20367.html
[151] | ECOWREX | Commissioning of Malbaza 7MW solar plant in Niger | 2018 | 2018-11-27 | http://www.ecowrex.org/news/commissioning-malbaza-7mw-solar-plant-niger
[152] | JeuneAfrique | Niger: une centrale électrique solaire bientôt construite à Niamey | 2018 | 2018-11-27 | https://www.jeuneafrique.com/657072/economie/niger-une-centrale-electrique-solaire-bientot-construite-a-niamey/
[153] | Federal Republic of Nigeria | SE4All Investment Prospectus | 2017 | 2019-02-25 | http://www.se4all.ecreee.org/sites/default/files/Nigeria_IP.pdf
[154] | ECOWREX | Centrale Solaire de Ziguinchor | n.d. | 2019-07-23 | http://www.ecowrex.org/project/centrale-solaire-de-ziguinchor-senegal
[155] | ECOWREX | Centrale solaire Sakal PV project - Senegal | n.d. | 2019-07-23 | http://www.ecowrex.org/project/centrale-solaire-sakal-pv-project-senegal
[156] | SE4All | PANER Senegal | 2015 | 2019-02-19 | http://www.se4all.ecreee.org/sites/default/files/plan_dactions_national_des_energies_renouvelables_paner.pdf
[157] | JeuneAfrique (Oury Diallo, A.) | Le Sénégal donne du souffle à son mix énergétique | 2018 | 2019-02-19 | https://www.jeuneafrique.com/mag/626271/economie/le-senegal-donne-du-souffle-a-son-mix-energetique/
[158] | Awoko Newspaper | Sierra Leone News: $12.6m solar park project to boost electricity supply | 2017 | 2019-07-01 | https://awoko.org/2017/05/10/sierra-leone-news-12-6m-solar-park-project-to-boost-electricity-supply/
[159] | ESI Africa | Sierra Leone: 25MW solar PV project to boost Bo District | 2018 | 2019-07-01 | https://www.esi-africa.com/industry-sectors/future-energy/25mw-solar-pv-project-to-boost-sierra-leones-bo-district/
[160] | Kamara, B. | Sustainable Energy for All (SE4ALL) Action Agenda for Sierra Leone | 2015 | 2019-07-01 | http://www.ecreee.org/sites/default/files/events/presentation_se4all_action_agenda_sierra_leone.pdf
Wind
[161] | ECOWREX | Parc éolien de 20 MW - Benin | n.d. | 2019-06-08 | http://www.ecowrex.org/project/parc-eolien-de-20-mw-benin
[162] | ECOWREX | Tujereng Wind Farm Project - Gambia | n.d. | 2019-06-08 | http://www.ecowrex.org/project/tujereng-wind-farm-project-gambia
[163] | ECOWREX | Tombouctou Wind Power Project - Mali | n.d. | 2019-06-08 | http://www.ecowrex.org/project/tombouctou-wind-power-project-mali
[164] | ECOWREX | Champ éolien de Gao | n.d. | 2019-06-08 | http://www.ecowrex.org/project/champ-eolien-de-gao
[165] | ECOWREX | Parc éolien de 30 MW | n.d. | 2019-06-08 | http://www.ecowrex.org/project/parc-eolien-de-30-mw
[166] | ECOWREX | Nigeria - Katsina Wind Farm | n.d. | 2019-07-23 | http://www.ecowrex.org/sites/default/files/documents/projects/2012_katsina-wind-farm_vergnet.pdf
[167] | Parc Éolien Taïba N'Diaye | Résumé du projet | n.d. | 2019-07-23 | http://www.taibaeolien.com/sn/a-propos/
[168] | JeuneAfrique (Oury Diallo, A.) | Sénégal: le plus grand parc éolien d’Afrique de l’Ouest prend forme à Taiba Ndiaye | 2019 | 2019-07-23 | https://www.jeuneafrique.com/780416/economie/senegal-le-plus-grand-parc-eolien-dafrique-de-louest-prend-forme-a-taiba-ndiaye/
[169] | ECOWREX | Centrale éolienne de Leona | n.d. | 2019-06-08 | http://www.ecowrex.org/project/centrale-eolienne-de-leona
[170] | ECOWREX | Parc éolien de Saint-Louis | n.d. | 2019-06-08 | http://www.ecowrex.org/project/parc-eolien-de-saint-louis
[171] | Eco Delta | Eco Delta : 1er parc éolien d'Afrique de l'Ouest - 25,2 MWe au Togo | 2012 | 2019-07-23 | http://www.ecowrex.org/sites/default/files/documents/projects/2012_communique-de-presse_eco-delta.pdf
[172] | ECOWREX | Parc éolien de Devego Togo | n.d. | 2019-06-08 | http://www.ecowrex.org/project/parc-eolien-de-devego-togo-delta-wind-togo
Footnotes
[*] | The location of the plant was approximated through identifying (the river stretch nearest to) the location of the town/city after which the plant is named.
[**] | Information received from SONABEL through dialogue with CIREG project staff.
[***] | This HPP will eventually benefit from another HPP's reservoir (Kaléta with Souapiti; Mount Coffee with Via)
[†] | In each case, source [7] suggests a substantially higher capacity, sometimes differing by a factor of more than 2x. Given the high capacities involved, the accompanying paper considered the lower estimate from [2] in order to remain conservative.
[††] | This HPP will use the combined reservoir capacity of Bumbuna I (existing) and Yiben (planned) [121].
[†††] | Source [4] quotes a roughly 2x as high capacity, but modeling of the HPP with the REVUB software suggests that the lower capacity from [3] would be sufficient given the river flow regime.
[‡] | The sites of Djamdé and Tihalea are mutually exclusive, i.e. they cannot both be developed. We have used the data for Djamdé here, which could have a slightly higher capacity [129,130].
[‡‡] | The siting for this wind park has not yet been determined, as the project is in the "resource mapping phase" [161].

## Admin (hidden)
Exclusion_reasons | Calculation_methods
Avoiding double-counting | Simulation
Below capacity threshold | Extrapolation
Run-of-river
Environmental impact