## Supplementary Table 1
Supplementary Table 1. Small molecule screening data
Category | Parameter | Description
Assay | Type of assay | Biochemical
| Target | MTHFD2, UniProt ID: P13995
| Primary measurement | Luminescence -based assay measuring the conversion of NAD+ to NADH catalyzed by MTHFD2
| Key reagents | MTHFD2, NAD+, folitixorin (Santa Cruz), Promega NAD(P)H-Glo kit G9062
| Assay protocol | Turn lights off during the assay.
1. Transfer 5 nl compound (4 mM) to columns 9-48 by the ECHO.
2. Transfer 5 nl 100% DMSO to columns 1-8 by the ECHO.
3. Add 1 μl enzyme buffer to columns 1-4 and 7-48 using Certus.
4. Add 1 μl dilution buffer to columns 5-6 using Certus.
5. Spin the plate for 60 seconds at 1000 rpm.
6. Incubate 30 minutes at room temperature covered from light.
7. Add 1 μl substrate buffer to all columns using Certus.
8. Spin the plate for 60 seconds at 1000 rpm.
9. Incubate 15 minutes at room temperature covered from light.
10. Add 2 μl detection solution to all columns using Flexdrop
11. Spin the plate for 60 seconds at 1000 rpm.
12. Incubate 60 minutes at room temperature covered from light.
13. Measure luminescence using Envision (low plate luminescence aperture).
| Additional comments | Assay performed essentially as described in https://pubmed.ncbi.nlm.nih.gov/27899380/
Library | Library size | 443000
| Library composition | Noncommercial lead-like compounds
| Source | European Lead Factory (ELF)
| Additional comments | For detailed library description see https://pubmed.ncbi.nlm.nih.gov/33892142/
Screen | Format | 1536-well
| Concentration(s) tested | 10 micromolar
| Plate controls | Blanks, positive control LY345899
| Reagent/ compound dispensing system | ECHO dispenser, Certus dispenser, Flexdrop dispenser
| Detection instrument and software | Envision plate reader
| Assay validation/QC | S/B (range) 7.4 (3.6-13.8); Z’ (range) 0.78 (0.65-0.91)
| Correction factors | None
| Normalization | 0-100% inhibition based on blanks (0%) and positive control (100%)
| Additional comments | False positive removed by deselection assay, in the absence of MTHFD2
Post-HTS analysis | Hit criteria | Z-score < -4 and at least 25% inhibition
| Hit rate | 3188 primary hits (0.72%)
| Additional assay(s) | Dose-response confirmation, thermal shift assay
| Confirmation of hit purity and structure | LC-MS
| Additional comments | 10 confirmed hit structures were disclosed by the ELF, but all were deemed unsuitable as starting points for hit expansion

## Supplementary Table 2
Supplementary Table 2. Kinetic parameters for TH9619 and TH7299 interacting with MTHFD2. Related to Figure 2.
Kinetic parameters for TH9619 and TH7299 interacting with MTHFD2. The parameters were determined using a 1:1 Langmuir model.
| TH9619 (±SD) a | TH7299 (±SD) a
KD (nM) | 8.6 ± 0.4 | 40.5±2.3
ka (M−1s−1) | 4.8 × 106 ± 0.8 × 106 | 1.24× 106 ± 0.12 × 106
kd (s−1) | 0.04 ± 0.005 | 0.05 ± 0.006
χ2 | 0.03 ± 0.01 | 0.03 ± 0.02
a The sample standard deviations (SD) for the averages are based on three experiments.
χ2 – goodness of the fit

## Supplementary Table 3
Supplementary Table 3. Data collection and refinement statistics. Related to Figure 2.
Highest resolution shell is shown in parenthesis
Data collection | MTHFD2 + TH7299 | MTHFD2 + TH9028 | MTHFD2 + TH9619
PDB code | 6S4E | 6S4A | 6S4F
Space group | I4 | P65 | P65
Cell dimensions
a, b, c (Å) | 74.6, 74.6, 99.2 | 115.1, 115.1, 113.5 | 116.9, 116.9, 113
α, β, γ (°) | 90, 90, 90 | 90, 90, 120 | 90, 90, 120
Resolution (Å) | 26.36 – 1.90 (1.94 – 1.90) | 49.33 – 1.95 (2.00 – 1.95) | 75.39 – 2.20
(2.27 – 2.20)
No. of observations | 159471 (7117) | 634394 (45624) | 901586 (77893)
No. of unique reflections | 21496 (1176) | 62083 (4342) | 44494 (3820)
Rmerge (%) | 15.6 (154.4) | 7.4 (183.1) | 12.5 (281.6)
Rmeas (%) | 16.7 (166.8) | 7.8 (192.2) | 12.8 (288.7)
Rpim (%) | 6.1 (62.0) | 2.4 (58.5) | 2.8 (63.6)
I/σ (I) | 9.4 (1.8) | 13.5 (1.1) | 13.9 (1.3)
Completeness (%) | 99.9 (99.2) | 99.9 (99.9) | 100 (100)
CC(1/2) (%) | 99.7 (38.8) | 99.9 (79.9) | 99.9 (85.7)
Redundancy | 7.5 (6.9) | 10.2 (10.7) | 20.3 (20.4)
Refinement | MTHFD2 + TH7299 | MTHFD2 + TH9028 | MTHFD2 + TH9619
Resolution (Å) | 26.36 – 1.90 | 49.33 – 1.95 | 101.2 – 2.20
No. of reflections | 21347 | 62083 | 42267
Rwork/Rfree | 15.6/20.5 | 16.8/21.1 | 18.4/22.5
No. atoms
Protein | 2215 | 4522 | 4444
Compound | 31 | 66 | 64
Other ligands | 64 | 206 | 79
Water | 154 | 229 | 162
B-factors (Å2)
Protein | 27.9 | 58.2 | 69.4
Compound | 30.5 | 53.7 | 63.2
Other ligands | 54.9 | 95.6 | 106.5
Water | 41.1 | 64.8 | 73.3
R.m.s. deviations
Bond lengths (Å) | 0.014 | 0.014 | 0.014
Bond angles (°) | 1.63 | 1.81 | 1.7
Ramachandran statistics
Most favorable (%) | 99 | 98 | 97.9
Additional allowed (%) | 1 | 2 | 1.9
Outliers (%) | 0 | 0 | 0.2

## Supplementary Table 4
Supplementary Table 4. In vitro ADME properties of TH9619. Related to Figure 7.
Criteria | TH9619
Aqueous solubility (thermodynamic) | 21 mM
Metabolic stability (liver microsomes) | Human: 7 µl/(min*mg)
Mouse: 14 µl/(min*mg)
Plasma protein binding | Human: Fu 56%
Mouse: Fu 90%
Permeability (Caco-2) | PappAB: 6E-7 cm/s, no efflux

## Supplementary Table 5
Supplementary Table 5. Resource table. Related to Methods section.
REAGENT or RESOURCE | SOURCE | IDENTIFIER
Antibodies
Anti-β-Actin | Abcam | RRID: AB_2223210
Anti-MTHFD2 | Abcam | RRID: AB_2147537
Anti-RPA32/RPA2 (4E4) | Cell Signaling Technology | RRID: AB_2238543
Anti-RPA70 | Cell Signaling Technology | RRID: AB_2180506
Anti-phospho-RPA2 (Ser33) | Novus Biologicals | RRID: AB_10002227
Anti-cleaved PARP (Asp214) | Cell Signaling Technology | RRID: AB_331426
Anti-phospho-Chk1 (Ser345) | Cell Signaling Technology | RRID: AB_330023
Anti-phospho-Cdk (Thr14/Tyr15) | Santa Cruz Biotechnology | RRID: AB_2244771
Anti-phospho-H2A.X (Ser139) | Cell Signaling Technology | RRID: AB_2118010
Anti-phospho-H2A.X (Ser139) | Millipore | RRID: AB_309864
Anti-cleaved caspase-3 (Asp175) | Cell Signaling Technology | RRID: AB_2341188
Anti-p21 | Santa Cruz Biotechnology | RRID: AB_2229243
Anti-MCM6 | Abcam | RRID: AB_304467
Anti-PCNA | Santa Cruz Biotechnology | RRID: AB_628109
Anti-DNA polymerase delta | Abcam | RRID: AB_297099
Anti-histone H3 | Abcam | RRID: AB_302613
Anti-SOD-1 (G-11) | Santa Cruz Biotechnology | RRID: AB_628301
Anti-DHFR | Santa Cruz Biotechnology | Cat. # sc-377091
Anti-TYMS | Cell Signaling Technology | RRID: AB_2797693
Anti-MTHFD1 | Antibodies Online | Cat. # ABIN389285
Anti-MTHFD1L | Abcam | Cat. # ab229708
Anti-SHMT1 | Abcam | RRID: AB_2285970
Anti-SHMT2 | Abcam | Cat. # ab180786
Anti-FPGS | Novus | Cat. # NBP2-16526
Anti-Mouse IgG (IRDye® 800CW) | LI-COR Biosciences | RRID: AB_621847
Anti-Rabbit IgG (IRDye® 800CW) | LI-COR Biosciences | RRID: AB_621848
Anti-Rat IgG (IRDye® 800CW) | LI-COR Biosciences | RRID: AB_2721932
Anti-CD11b FITC Conjugated | Beckman Coulter | RRID: AB_130987
Anti-BrdU/CldU | Bio-Rad / AbD Serotec | RRID: AB_323427
Anti-BrdU/IdU | BD Biosciences | RRID: AB_400326
Anti-Rat IgG (Alexa Fluor® 568) | Thermo Fisher Scientific | RRID: AB_2534121
Anti-Mouse IgG (Alexa Fluor® 488) | Thermo Fisher Scientific | RRID: AB_141607
Chemicals, Peptides, and Recombinant Proteins
(2S)-2-({5-[2-(2,4-Diamino-6-oxo-1,6-dihydropyrimidin-5-yl)acetamido]-3-fluoropyridin-2-yl}formamido)pentanedioic acid | This study | -
(2S)-2-[(5-{[(2,4-Diamino-6-oxo-1,6-dihydropyrimidin-5-yl)carbamoyl]amino}yridine-2-yl)formamido]-4-(1H-1,2,3,4-tetrazol-5-yl)butanoic acid | This study | -
1,5-Diethyl (2S)-2-[(5-{[(tert-butoxy)carbonyl]amino}-3-fluoropyridin-2-yl)formamido]pentanedioate | This study | -
1,5-Diethyl (2S)-2-[(5-amino-3-fluoropyridin-2-yl)formamido]pentanedioate | This study | -
1,5-Diethyl (2S)-2-{[5-(2-chloroacetamido)-3-fluoropyridin-2-yl]formamido}pentanedioate | This study | -
1-[Bis(dimethylamino)methylene]-1H-1,2,3-triazolo[4,5-b]pyridinium 3-oxid hexafluorophosphate | Sigma-Aldrich | Cat. # 445460-5G
1-Hydroxybenzotriazole | Sigma-Aldrich | Cat. # 54802-10G-F
2,4-Diamino-1H-pyrimidin-6-one | Combi-blocks | Cat. # SS-5130
2,5,6-Triamino-3,4-dihydropyrimidin-4-one; sulfuric acid | Combi-blocks | Cat. # QV-7829
2-Chloroacetyl chloride | Sigma-Aldrich | Cat. # 22880-100ML
4-Nitrophenyl chloroformate | Sigma-Aldrich | Cat. # 160210-5G
5-{[(tert-Butoxy)carbonyl]amino}-3-fluoropyridine-2-carboxylic acid | This study | -
5-Aminopyridine-2-carboxylic acid | Sigma-Aldrich | Cat. # 776939-1G
5-Chloro-2’-deoxyuridine (CldU) | Sigma Aldrich | Cat. # C6891
5-Ethynyl-2’-deoxyuridine (EdU) | Sigma Aldrich | Cat. # T511285
5-Fluorouracil (5-FU) | Sigma Aldrich | Cat. # F6627
5-Iodo-2’-deoxyuridine (IdU) | Sigma Aldrich | Cat. # 57830
Acetonitrile | Sigma-Aldrich | Cat. # 271004-1L
All-trans retinoic acid (ATRA) | MedChemExpress | Cat. # HY-14649
BAY-293 | MedChemExpress | Cat. # HY-114398
Cesium carbonate | Sigma-Aldrich | Cat. # 441902-5G
CCT245737 | MedChemExpress | Cat. # HY-18958
Cytarabine (AraC) | MedChemExpress | Cat. # HY-13605
Deuterated dimethyl sulfoxide | Sigma-Aldrich | Cat. # 417939-5ML
Dichloromethane | Sigma-Aldrich | Cat. # 270997-1L
Diethyl (2S)-2-aminopentanedioate hydrochloride | Combi-blocks | Cat. # ST-1108
Dimethyl sulfoxide | Fluka | Cat. # 23486.297
Dimethylformamide | Sigma-Aldrich | Cat. # 227056-1L
Dioxane | Sigma-Aldrich | Cat. # 296309-1L
Ethyl acetate | Sigma-Aldrich | Cat. # 270989-1L
Hydrochloric acid | Sigma-Aldrich | Cat. # 30721-1L-M
iso-Hexane | Sigma-Aldrich | Cat. # 227064-1L
Lithium hydroxide | Sigma-Aldrich | Cat. # 545856-100G
Lometrexol (LMTX) | Sigma-Aldrich | Cat. # SML0040
Methanol | Sigma-Aldrich | Cat. # 34860-1L-R
Methotrexate (MTX) | MedChemExpress | Cat. # HY-14519
Methyl (2S)-2-[(5-aminopyridin-2-yl)formamido]-4-[1-(2-cyanoethyl)-1H-1,2,3,4-tetrazol-5-yl]butanoate | This study | -
Methyl (2S)-2-amino-4-[1-(2-cyanoethyl)-1H-1,2,3,4-tetrazol-5-yl]butanoate hydrochloride | This study | -
Methyl 5-{[(tert-butoxy)carbonyl]amino}-3-fluoropyridine-2-carboxylate | This study | -
Methyl 5-bromo-3-fluoropyridine-2-carboxylate | Enamine | Cat. # EN300-123662
MK-1775 | MedChemExpress | Cat. # NY-10993
N-(3-Dimethylaminopropyl)-N′-ethylcarbodiimide | Sigma-Aldrich | Cat. # E6383-1G
Palladium (II) acetate | Sigma-Aldrich | Cat. # 205869-1G
Pemetrexed (PMTX) | MedChemExpress | Cat. # HY-10820A
Raltitrexed (RLTX) | MedChemExpress | Cat. # HY-10821
Silica | Sigma-Aldrich | Cat. # 60741-1KG
Sodium bicarbonate | Sigma-Aldrich | Cat. # S5761-500G
Sodium carbonate | Sigma-Aldrich | Cat. # S7795-500G
Sodium hydroxide | Sigma-Aldrich | Cat. # S8045-500G
Sodium iodide | Sigma-Aldrich | Cat. # 383112-100G
Sodium sulfate | Sigma-Aldrich | Cat. # 239313-500G
Sulfuric acid | Sigma-Aldrich | Cat. # 320501-1L
tert-Butyl carbamate | Sigma-Aldrich | Cat. # 167398-5G
Tetrahydrofuran | Sigma-Aldrich | Cat. # 401757-1L
Triethylamine | Sigma-Aldrich | Cat. # T0886-500ML
Trifluoroacetic acid | Sigma-Aldrich | Cat. # T6508-100ML
VE-821 | MedChemExpress | Cat. # HY-14731
VE-822 | MedChemExpress | Cat. # HY-13902
Critical Commercial Assays
INTERFERin® Transfection Reagent | Polyplus-Transfection® SA | Cat. # 409-50
jetPEI® Transfection Reagent | Polyplus-Transfection® SA | Cat. # 101-40N
GeneArt™ Site-Directed Mutagenesis PLUS System | Thermo Fisher Scientific | Cat. # A14604
PureYield™ Plasmid Miniprep System | Promega | Cat. # A1223
Wizard® SV Gel and PCR Clean-Up System | Promega | Cat. # A9281
Pierce BCA Protein Assay Kit | Thermo Fisher Scientific | Cat. # 23225
FITC Annexin V Apoptosis Kit | BD Biosciences | Cat. # 556547
MycoAlert™ Mycoplasma Kit | Lonza | Cat. # LT07-318
Experimental Models: Cell Lines
Human: U-2 OS | ATCC | RRID: CVCL_0042
Human: HL-60 | ATCC | RRID: CVCL_0023
Human: THP-1 | ATCC | RRID: CVCL_0006
Human: MV4-11 | ATCC | RRID: CVCL_0064
Human: CCRF-CEM | ATCC | RRID: CVCL_0207
Human: Jurkat | ATCC | RRID: CVCL_0367
Human: SW620 | ATCC | RRID: CVCL_0547
Human: CCD 841 | ATCC | RRID: CVCL_2871
Human: MCF10A | ATCC | RRID: CVCL_0598
Human: PL-21 | DSMZ | RRID: CVCL_2161
Human: LCL-534 | Gift from Dr. T. Visnes | N/A
Human: LCL-889 | Gift from Dr. T. Visnes | N/A
Human: U-2 OS FUCCI | Gift from Dr. M. Altun | N/A
Human: TC71 | Gift from Dr. O. Fernández-Capetillo | N/A
Experimental Models: Organisms/Strains
Mice: NOD.Cg-Prkdcscid Il2rgtm1Sug/JicTac (NOG) | Taconic Biosciences | RRID: IMSR_TAC:NOG
Mice: NOD.CB17-Prkdcscid/NCrCrl (NOD-SCID) | Charles River Laboratories | RRID: IMSR_CRL:394
Mice: NOD.Cg-Prkdcscid Il2rgtm1Wjl/SzJ (NSG) | The Jackson Laboratory | RRID: IMSR_JAX:005557
Oligonucleotides
ON-TARGETplus | Dharmacon, Inc., GE Life Sciences | Cat. # D-001810-10-20
Non-targeting Pool
siGENOME Human MTHFD2 siRNA (oligo # 1) | Dharmacon, Inc., GE Life Sciences | Cat. # D-009349-02
ON-TARGETplus Human MTHFD2 siRNA (oligo # 2) | Dharmacon, Inc., GE Life Sciences | Cat. # J-009349-11
ON-TARGETplus Human MTHFD2 siRNA (oligo # 3) | Dharmacon, Inc., GE Life Sciences | Cat. # J-009349-12
Recombinant DNA
Gateway™ pDONR™221 Vector | Invitrogen | Cat. # 12536017
Premo™ FUCCI Cell Cycle Sensor | Invitrogen | Cat. # P36237
p3XFLAG-CMV™-14 Vector | Sigma-Aldrich | Cat. # E7908
Software and Algorithms
ImageJ 1.8 | National Institutes of Health, MD, USA | RRID: SCR_003070
Image Studio Lite Software 5.2 | LI-COR Biosciences | RRID: SCR_014211
ZEN Lite Software 2.1 | ZEISS | RRID: SCR_013672
CellProfiler Image Analysis Software 4.0.5 | Broad Institute, MA, USA | RRID: SCR_007358
Prism Software 8.0.0 | GraphPad Software | RRID: SCR_002798
PyMOL 2.1.1 | Schrödinger | RRID: SCR_000305
Navios Software 1.2 | Beckman Coulter | RRID: SCR_014421
Kaluza Analysis Software 1.3 | Beckman Coulter | N/A
Comet Assay IV 4.3 | Instem | N/A
SynergyFinder 2.0 | Institute for Molecular Medicine Finland | N/A
Hidex Sense Software 1.0 | Hidex Oy | N/A
XLfit 5 add-in for Excel | IDBS Software | N/A
DataWarrior 5.0.0 | Idorsia Pharmaceuticals Ltd. | N/A
XDS Program Package | MPI for Medical Research, Heidelberg, Germany | RRID: SCR_015652
xia2 Pipeline | Diamond Light Source | RRID: SCR_015746
DIALS Software | Diamond Light Source | N/A
AIMLESS Software | MRC Laboratory of Molecular Biology, UK | RRID: SCR_015747
Phaser Software 2.1.2 | University of Cambridge, UK | RRID: SCR_014219
Coot Software | MRC Laboratory of Molecular Biology, UK | RRID: SCR_014222
Refmac5 Software | MRC Laboratory of Molecular Biology, UK | RRID: SCR_014225
Biacore T200 Evaluation Software 3.1 | Cytiva | N/A
Xcalibur Software 4.3 | ThermoScientific | RRID: SCR_014593
MassHunter Software B.08.00 | Agilent | RRID: SCR_016657
TraceFinder 4.1 | ThermoScientific | N/A