Table EV1. Cryo-EM data collection, refinement, and validation statistics.

|  | EtfD (EMD-70545, PDB 9OJN) | EtfD – soluble region (EMD-70546) |
| --- | --- | --- |
| Data collection and processing |  |  |
| Microscope | Titan Krios G3 |  |
| Detector | Falcon 4i |  |
| Automation software | EPU |  |
| Magnification | 120,000 |  |
| Voltage (kV) | 300 |  |
| Electron exposure (e-/Å2) | 70 |  |
| Exposure rate (e-/pixel/s) | 7.7 |  |
| Exposure time (s) | 3.7 |  |
| Defocus range (µm) | 0.8-2.3 |  |
| Pixel size (Å) | 0.64 |  |
| Movies used for processing (no.) | 11,952 |  |
| Symmetry imposed | C1 |  |
| Initial particle images (no.) | 619,708 |  |
| Final particle images (no.) | 48,053 | 151,738 |
| Map resolution (Å) |  |  |
| FSC threshold | 0.143/0.5 | 0.143/0.5 |
| Masked | 3.2/3.5 | 2.8/3.2 |
| Unmasked | 3.7/7.3 | 3.5/7.4 |
| Map resolution range (Å) | 2.9-5.0 | 2.5-3.1 |
| Refinement |  |  |
| Initial model used (accession code) | AF-A0QQB0-F1-v4 |  |
| Model resolution (Å) | 3.3 |  |
| FSC threshold | 0.5 |  |
| Map sharpening B factor (Å2) | -65.6 | -98.7 |
| Model composition |  |  |
| Non-hydrogen atoms | 5,601 |  |
| Protein residues | 742 |  |
| Ligands | 1 LMT 1 MQ9 1 HEM 2 SF4 1 A1CBX 1 9S8 |  |
| R.m.s deviations |  |  |
| Bond lengths (Å) | 0.004 |  |
| Bond angles (°) | 0.954 |  |
| Validation |  |  |
| MolProbity score | 1.22 |  |
| Clashscore | 4.40 |  |
| Rotamer outliers (%) | 0.00 |  |
| CaBLAM outliers (%) | 0.68 |  |
| EMRinger score | 4.48 |  |
| Average Q-score | 0.528 |  |
| CC (volume) | 0.78 |  |
| CC (mask) | 0.80 |  |
| Ramachandran plot |  |  |
| Favored (%) | 98.1 |  |
| Allowed (%) | 1.90 |  |
| Outliers (%) | 0.00 |  |