[bookmark: _GoBack]Supplementary Table 2.  Quality Control Pipeline Results for the 32 LC-MS/MS Analytes from the p180 kit which pass the <40% missing values (LOD) statistical cut. “Analyte” represents the name of the metabolite, as defined in the Data Dictionary.  “<LOD (%)” refers to the percentage of the samples which were found to be below the limit of detection (and thus replaced with a value of LOD/2) during the processing pipeline.  “CV (%)” represents the average percent coefficient of variation for the blinded replicate samples.  “ICC” represents the calculated intraclass correlation coefficient calculated between run 1 and run 2 of the blinded replicate samples.

	Analyte
	< LOD (%)
	CV (%)
	ICC

	ADMA
	0.4
	12.9
	0.51

	Ala
	0
	5.3
	0.84

	alpha.AAA
	18.9
	7.2
	0.53

	Arg
	0
	5.3
	0.92

	Asn
	0
	4.9
	0.87

	Asp
	0.1
	10.4
	0.86

	Cit
	0
	7.5
	0.94

	Creatinine
	0
	4.1
	0.98

	Gln
	0
	5.1
	0.74

	Glu
	0
	9.0
	0.81

	Gly
	0
	6.2
	0.97

	His
	0
	5.7
	0.75

	Histamine
	17.2
	5.4
	0.09

	Ile
	0
	6.4
	0.88

	Kynurenine
	0
	8.4
	0.93

	Lys
	0
	6.6
	0.77

	Met
	0
	8.1
	0.65

	Orn
	0
	5.8
	0.89

	Phe
	0
	6.7
	0.96

	Pro
	0
	6.0
	0.96

	Putrescine
	12
	30.3
	0.67

	Sarcosine
	0
	12.1
	0.85

	SDMA
	0
	6.5
	0.9

	Ser
	0
	6.6
	0.94

	Serotonin
	1.7
	12.8
	0.97

	Spermidine
	0.1
	6.2
	0.93

	t4.OH.Pro
	0
	5.7
	0.96

	Taurine
	0
	4.0
	0.96

	Thr
	0
	4.3
	0.9

	Trp
	0
	6.6
	0.9

	Tyr
	0
	6.0
	0.92

	Val
	0
	6.6
	0.84




