## Лист2
Supplement 1
S.G. Skolotnev, A.A. Peyve, S.A. Dokashenko, V.N. Dobrolyubov, O.I. Okina, B.V. Ermolaev, “New data on the composition
of basalts from seamount near the eastern flank of the Charlie Gibbs FZ (North Atlantic)”, Doklady Earth Sciences. V. № . 202_ .
© Pleiades Publishing, Ltd.
Table S3. The results of the isotopic Sr-Nd-Pb analysis of the basalts
No | sample | 87Rb/86Sr | 2σ abs | 87Sr/86Sr | 2σ abs | 147Sm/144Nd | 2σ abs | 143Nd/144Nd | 2σ abs | 206Pb/204Pb | 2σ abs | 207Pb/204Pb | 2σ abs | 208Pb/204Pb | 2σ abs
1 | V5334/4 | 0.051249 | 6e-05 | 0.70339 | 7.4637e-06 | 0.14628 | 0.00038 | 0.51301 | 4.1297e-06 | 19.1048 | 0.0005 | 15.6054 | 0.0005 | 38.9279 | 0.0015
2 | V5334/5 | 0.054108 | 6e-05 | 0.70347 | 6.6267e-06 | 0.16026 | 0.00038 | 0.513 | 3.5859e-06 | 18.9197 | 0.0008 | 15.6001 | 0.0006 | 38.9106 | 0.0016
Chemical separation of elements was carried out by chromatographic method on ion exchange columns.
The blank forms during the analysis did not exceed 0.01 and 0.1 ng for Rb and Sr, and 0.01 ng for Sm, Nd, and 0.01 ng for Pb.
The element contents were determined by isotopic dilution with the addition of a calibrated isotope tracer.
Measurements of the isotopic composition of the elements were carried out on a multi-collector solid-phase mass spectrometer TRITON in static mode.
The values 88Sr/86Sr=8.375209 and 146Nd/144Nd=0.7219 were used for normalization.
The value of the measured international standards corresponded to: Jndi - 1, NBS - 987
The error of the corresponding isotope ratio in the table is given at 95% significance level in absolute values (2s, abs)