Additional file 9. Metabolite quantification parameters for GC-MS analysis. The ‘internal standard reference’, refers to which internal standard was used for quantification. Target Ion, the MS peak used for quantification and Q1 (qualifier) Ion is the second peak for MS quantification. Relative response refers to the ratio between target Ion and Q1 ion. R2 is the regression coefficient for the standard curve using Enhanced data analysis software. * = internal standard.

| Metabolite | Internal standard reference | Retention time (min) | Target ion | Q1 Ion | Relative response (%) | R2 | Range (g) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Proline | Cyclo-leucine | 8.24 | 216.1 | 147.1 | 91.2 | 0.992 | 10-200 |
| Malate | Castanospermine | 10.63 | 335.1 | 265.1 | 61.2 | 0.995 | 10-200 |
| Glucose | Cyclo-leucine | 15.14 | 364.2 | 291.1 | 197.8 | 0.986 | 1 -50 |
| Fructose | Cyclo-leucine | 14.88 | 364.2 | 307.2 | 801.6 | 0.979 | 1 -50 |
| Myo-inositol | Cyclo-leucine | 17.08 | 432.3 | 265.1 | 176.2 | 0.992 | 1 -50 |
| Pinitol | Castanospermine | 14.47 | 433.3 | 318.2 | 458.8 | 0.996 | 1 -50 |
| Pinitol | Castanospermine | 14.47 | 433.2 | 374.2 | 108.9 | 0.977 | 50-200 |
| Pinitol | Castanospermine | 14.47 | 462.2 | 387.2 | 318.5 | 0.945 | 200-500 |
| Castanospermine* | * | 16.62 | 462.3 | 387.2 | 369.2 | * | * |
| Cyclo-leucine* | * | 9.17 | 230.1 | 168.0 | 51.5 | * | * |