Minimum Information for Publication of Quantitative Real-Time PCR Experiments.

| Item to check | Importance | Details |
| --- | --- | --- |
| Sample Description | Essential | Pollinators (Ceratosolen solmsi) of Ficus hispida |
| If frozen, how and how quickly | Essential | Insect samples were immediately frozen in liquid nitrogen after they were collected |
| If fixed, with what and how quickly? | Essential | Stored in sample Protector (TAKARA, China) immediately after frozen |
| Sample storage conditions and duration | Essential | Samples were held at -80 oC for less than a week before RNA isolation |
| Experimental design |  |  |
| Definition of experimental and control groups | Essential | No relative quantification were involved in this work, thus no control groups were defined |
| Number within each group | Essential | orf7, Grol: (female 31, male 35); ANK, UBC, RPL13a (female 5, male 6) |
| Nucleic acid extraction |  |  |
| Procedure and/or instrumentation | Essential | For each RNA sample, total RNA of 8 individuals was extracted by using TRIzol (Invitrogen) |
| Name of kit and details of any modifications | Essential | EasyPureTM RNA kit (Transgen, China). We exactly followed the protocols of the kit |
| Details of DNase or RNase treatment | Essential | Genomic DNA was removed by treating with DNaseI (Invitrogen) according to the standard protocols |
| Contamination assessment (DNA or RNA) | Essential | No template control (NTC) was performed for each sample to assess contamination. |
| Nucleic acid quantification | Essential | RNA concentration was determined by measuring the abosorbance at 260nm UV light |
| Instrument and method | Essential | NanoDrop-2000 Spectrophotometer (Thermo, USA) |
| RNA integrity: method/instrument | Essential | RNA integrity was assessed by electrophoresis on 1.0% agarose gels stained with ethidium bromide |
| RIN/RQI or Cq OF 3’ and 5’ transcripts | Essential | N/A |
| Inhibition testing (Cq dilutions, spike, or other) | Essential | Standard curve analyses were sufficient to test inhibition |
| Reverse transcription |  |  |
| Complete reaction conditions | Essential | TransScript II First-Strand cDNA Synthesis SuperMix (Transgen, China) was used to generate single-stranded cDNA total RNA with random primers. |
| Amount of RNA and reaction volume | Essential | Amount of RNA: 1μg; Reaction volume: 20μl |
| Priming oligonucleotide and concentration | Essential | random primers: 2μM |
| Temperature and time | Essential | 25oC for 10 minutes, 42oC for 30 minutes, and85oC for 5minutes, |
| qPCR protocol |  |  |
| Complete reaction conditions | Essential | PCR reactions were performed in a Mx3000P Real Time Thermocycler (Stratagene). A 20 μl PCR mixture was prepared containing 1 μl of template, 10μl TransStart Green qPCR SuperMix UDG(2x) (Transgen, China), 0.4μl Passive Reference Dye II(50x) (Transgen, China), 0.8μl primer mix(0.2μM), and 7.8 μl sterile water. The following thermal conditions for qRT-qPCR were used: 50oC for 2 min, 95oC for 10 min, and then the follwing: 95oC for 10 s, 57oC for 15 s and 72oC for 10 s for 40 cycles |
| Reaction volume and amount of cDNA/DNA | Essential | Reaction volume: 20μl; amount of cDNA: 1μl per reaction volume |
| Primer, (probe), Mg2, and dNTP concentrations | Essential | 500nM primers; 3mM MgCl2 ; 0.2 mM dNTP |
| Polymerase identity and concentration | Essential | TransStart Green qPCR SuperMix UDG (2x) (Transgen, China) |
| Buffer/kit identity and manufacturer | Essential | TransStart Green qPCR SuperMix UDG (2x) (Transgen, China) |
| Additives (SYBR Green I, DMSO, and so forth) | Essential | Passive Reference Dye II(50x) (Transgen, China) |
| Complete thermocycling parameters | Essential | 50oC for 2 min, 95oC for 10 min, and then the follwing: 95oC for 10 s, 57oC for 15 s and 72oC for 10 s for 40 cycles |
| Specificity (gel, sequence, melt, or digest) | Essential | Melting curve analysis, gel electrophoresis and sequencing |