Table S2. Staining reagents Used in the 10-Color Stain 

	ANTIGEN
	FLUOROCHROME
	CLONE
	SUPPLIER
	STAINING TITER+

	CD4
	PE-Cy5.5
	RM4-5
	Biolegendc
	1:1000

	CD8
	Pacific Orange
	3B5
	Invitrogen/Caltag
	1:100

	CD25
	PerCP
	PC61
	Biolegend
	1:200

	CD44
	APC-Cy7
	IM7
	Biolegend
	1:200

	Ckit (CD117)
	APC
	2B8
	BD
	1:100

	CD28
	FITC or PEd
	E18
	Biolegend
	1:100

	CD24
	Pacific Blue
	M1/69
	BD
	1:1000

	TCR-( Chain
	PE-Cy7
	H57-597
	Biolegend
	1:400

	TCR-((
	Biotin*
	GL-3
	BD
	1:400

	Lineage cocktail 
	Biotin*
	a
	BD
	1:100

	IL-6R( (CD126)
	PEb
	D7715A7
	BD
	1:50

	IL-4R( (CD124)
	PEb
	mlL4R-M1
	BD
	1:50

	Rat IgG2b, K (Isotype control)
	PEb
	A95-1
	BD
	1:50

	Rat IgG2a, K (Isotype control)
	PEb
	R35-95
	BD
	1:50

	Annexin-Vd
	FITC
	
	Biolegend
	1:100


* Secondary stain: Streptavidin PE-Texas Red (1:1600)

+ Titrations will change and should always be performed for each set of antibodies   

   and each individual instrument setup.  

a Lineage cocktail including: CD19 (1D3), CD11b (M1/70), NK1.1(PK136), TCR119(IY-76), and Gr-1(RB6-8C5)

b PE channel is open for assessment of cytokine receptors or other surface or intracellular antigens

cBiolegend has discontinued this mAb-fluorochrome.  It can now be purchased from Invitrogen/Caltag

dCD28 PE instead of FITC is used for Annexin-V stain
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