	Table 2 - Test characteristics of a single nitrite dipstick compared to urine culture

	
	
	
	
	

	
	
	
	
	

	
	Escherichia colia
	Enterococcus faecalisb
	Klebsiella speciesc
	Any bacteriad

	
	Visual readinge
	Analyzer readingf
	Visual readinge
	Analyzer readingf
	Visual readinge
	Analyzer readingf
	Visual readinge
	Analyzer readingf

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	Sensitivity
	64% (56-72)
	62% (54-70)
	29% (7.8-51)
	29% (7.8-51)
	48% (28-68)
	50% (30-70)
	57% (50-63)
	56% (49-62)

	
	
	
	
	
	
	
	
	

	Specificity
	88% (85-90)
	86% (83-89)
	76% (73-80)
	76% (73-79)
	77% (74-81)
	77% (73-80)
	92% (89-94)
	90% (88-93)

	
	
	
	
	
	
	
	
	

	PPV
	59% (51-67)
	56% (49-64)
	3.3% (0.45-6.1)
	3.2% (0.44-6.0)
	7.8% (3.6-12)
	7.7% (3.5-12)
	76% (69-83)
	73% (66-80)

	
	
	
	
	
	
	
	
	

	NPV
	90% (87-92)
	89% (86-92)
	98% (96-99)
	98% (96-99)
	97% (96-99)
	98% (96-99)
	82% (78-85)
	81% (78-85)

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	a 143 of 651 urine cultures showed growth of Escherichia coli

	b 17 of 651 urine cultures showed growth of Enterococcus faecalis

	c 25 of 651 urine cultures showed growth of Klebsiella spp. 

	d 207 of 651 urine cultures showed growth of any bacteria. Any bacteria may be E. coli, E. faecalis, Klebsiella spp., E. faecium, Enterobacter spp., coagulase-negative staphylococci, alfa-hemolytic streptococci, beta-hemolytic streptococci, Proteus mirabilis, P. vulgaris, Group B Streptococci and Pseudomonas aeruginosa.

	e Number of visual readings: 650

	f Number of analyzer readings: 643


