## Slide 1
Figure 5. Comparison of objective image noise measurements. Images at the level of the descending aorta on the standard-dose CT with FBP and low-dose CT with FBP, ASIR, and MBIR. Low-dose MBIR CT demonstrated significantly reduced image noise in comparison with standard-dose FBP CT (p<0.0005) with a mean noise reduction of 29.3 ± 8.2%.
Hounsfield units
Standard-dose
with FBP
Low-dose
with FBP
Low-dose
with ASIR
Low-dose
with MBIR
P<0.0005
P<0.0005
P<0.0005
P<0.0005
Chart: 
第1四分位 | 15.445 | 28.3 | 19.575 | 10.8
中央値-第1四分位 | 0.885 | 2.23 | 1.625 | 0.8
第3四分位-中央値 | 1.355 | 1.925 | 1 | 0.74