Additional file 2:
Table S2: Example of a checklist for the content of the information inserts

	 
	 
	 

	Items addressed in procedure section
	
	

	
	
	

	Bring the RDT device and buffer to room temperature
	
	

	Check the integrity of the device package
	
	

	Check expiry date
	
	

	Use the device immediately after opening
	
	

	Place the device on a level surface
	
	

	Check the desiccant for signs of exposure to humidity 
	
	

	Write down sample identification
	
	

	Wipe finger with alcohol
	
	

	Allow the finger to dry before pricking
	
	

	Hold the transfer device (loop, straw) vertical
	
	

	Hold the buffer vial vertical
	
	

	Do not to use another buffer than the one provided with the kit 
	
	

	Use an adequate light source for reading
	
	

	 
	
	

	Items addressed in interpretation section
	
	

	
	
	

	All possible line combinations for invalid test results are mentioned
	
	

	All possible test line combinations for positive test results are mentioned
	
	

	Interpretation of a faint test line as positive is mentioned 
	
	

	Causes of false negative results are mentioned, in particular low parasite densities
	
	

	Causes of false positive results are mentioned, e.g. presence of the rheumatoid factor
	
	

	Persistence of HRP-2 is mentioned
	
	

	To repeat the test in case of a negative RDT result and persistent suspicion of malaria is mentioned 
	
	

	 
	 
	 


