
Table 3: Quality of RDT performance by CHWs and CMDs

	 
	Good practices    n   (%)
	Practices to improve (%)

	Surface is clean and flat
	26 (87)
	4   (13)

	
	
	

	Tests opened just before use
	30 (100)
	0   (0)

	Documented patient name and date
	25 (83)
	5   (17)

	Use of gloves
	0   (0)
	30 (100)

	5 microliters (5µL) finger prick blood specimen
	28 (93)
	2  (7)

	Deposited 5µL of blood in well A
	28 (93)
	2  (7)

	Deposited 4 drops of solution vertically in well B 
	28 (93)
	2  (7)

	Let the test rest on a level surface
	29 (97)
	1  (3)

	Waited a maximum of 15 minutes for the result
	28 (93)
	2  (7)



