Table 3: Quality of RDT performance by CHWs and CMDs

|  | ##### Good practices n (%) | ##### Practices to improve (%) |
| --- | --- | --- |
| ##### Surface is clean and flat | ##### 26 (87) | ##### 4 (13) |
| Tests opened just before use | 30 (100) | 0 (0) |
| Documented patient name and date | 25 (83) | 5 (17) |
| Use of gloves | 0 (0) | 30 (100) |
| 5 microliters (5µL) finger prick blood specimen | 28 (93) | 2 (7) |
| Deposited 5µL of blood in well A | 28 (93) | 2 (7) |
| Deposited 4 drops of solution vertically in well B | 28 (93) | 2 (7) |
| Let the test rest on a level surface | 29 (97) | 1 (3) |
| Waited a maximum of 15 minutes for the result | 28 (93) | 2 (7) |