Supplementary Tables:
Supplementary Table 1: Comparative results of the quality assurance of QPCR on panel of blinded blood specimens (n = 10).

	Plasmodium species 
	Ct values from AB*
	Ct values from ON#

	P. vivax
	26.5
	21.6

	P. falciparum
	23.1
	21.9

	P. falciparum
	19.1
	18.6

	Negative
	Negative
	Negative

	P. ovale
	31.0
	27.5

	P. vivax
	25
	22.1

	P. vivax
	29.8
	26.6

	P. ovale
	27.3
	26.6

	P. falciparum
	31.5
	31.0

	P.malariae + P.falciparum
	28/38
	29.2/35.9


* AB - Reference provincial laboratory for public health, Edmonton, Alberta, Canada

# ON- Reference provincial Toronto Public Health Laboratory, Ontario, Canada

