Supplementary Table 1.  Comparison of Improved SEPT9 Detection Protocol with PRESEPT Method using Analytical Specimens

	Concentration
	PRESEPT

SEPT9 detected
	PRESEPT

SEPT9 Avg CP
	New Method

SEPT9 detected
	New Method

SEPT9 Avg CP

	6.25 pg/ml
	2 out of 20
	49.7
	8 out of 20
	39.4

	12.5 pg/ml
	0 out of 20
	ND
	8 out of 20
	38.8

	25 pg/ml
	4 out of 20
	44.4
	14 out of 20
	37.9

	50 pg/ml
	15 out of 20
	47.4
	20 out of 20
	37.1

	100 pg/ml
	12 out of 12
	43.9
	12 out of 12
	36.4

	Positive workflow control
	12 out of 12
	40.8
	12 out of 12
	35.3

	Negative workflow control
	0 out of 12
	ND
	0 out of 12
	ND


CP – crossing point

ND – not detected

