Additional file 3: Median value and range of organ-at-risk (OAR) dose as a percent of the prescription dose. p-values of the paired t-test included to assess the difference between corresponding M120 and HD120 MLC plans. Dmax = maximum dose to the spinal cord, D5cc = dose to 5 cm3 of the esophagus, D33% = dose to 33% of the ipsilateral kidney, D50% = dose to 50% of the ipsilateral lung, and D700cc = dose to 700 cm3 of the liver.
	OAR
	IMRT
	3DCRT
	DCA

	
	M120
	HD120
	M120
	HD120
	M120
	HD120

	Spinal Cord (Dmax)

(n = 29)
	32.1

[1.5 – 59.3]
	31.9

[1.4 – 53.6]
	33.9

[0.9 – 67.1]
	37.4

[1.0 – 62.6]
	27.9

[4.0 – 60.1]
	28.0

[4.3 – 58.2]

	
	p = 0.66
	p = 0.42
	p = 0.06

	Esophagus (D5cc)

(n = 16)
	16.1

[2.3 – 57.5]
	16.2

[1.2 – 50.1]
	13.3

[1.5 – 67.4]
	12.8

[1.5 – 65.7]
	21.7

[5.9 – 60.9]
	20.7

[5.9 – 59.2]

	
	p = 0.12
	p = 0.02
	p = 0.16

	Ipsilateral Kidney (D33%)

(n = 9)
	0.8

[0.5 – 2.5]
	0.8

[0.4 – 2.5]
	0.7

[0.4 – 2.5]
	0.7

[0.4 – 2.3]
	0.7

[0.4 – 9.3]
	0.6

[0.4 – 9.3]

	
	p = 0.08
	p = 0.30
	p = 0.45

	Ipsilateral Lung (D50%)

(n = 18)
	1.9

[0.5 – 7.8]
	1.7

[0.3 – 6.8]
	1.5

[0.5 – 5.3]
	1.4

[0.5 – 5.3]
	1.6

[0.5 – 5.5]
	1.3

[0.4 – 5.5]

	
	p = 0.14
	p = 0.67
	p = 0.17

	Liver (D700cc) 

(n = 11)
	2.5

[0.6 – 28.1]
	2.4

[0.6 – 25.6]
	2.1

[0.4 – 17.2]
	2.0

[0.4 – 14.7]
	2.8

[0.4 – 18.4]
	2.8

[0.4 – 16.0]

	
	p = 0.10
	p = 0.29
	p = 0.14


