## Sup 2
Supplementary table 2. Coefficient of Variation of Mitochondrial Functional Tests
Methodology | Test | Coefficient of Variation (CV)
qPCR | mtDNA copy number | Control: β actin
|  | Intra_Assay | Inter_Assay
|  | 2.34 | 3.12
Flow Cytometry* | DCF (cellular H2O2) | Control: Jurkat Cell Line
62.03
| Lipid Peroxidation | Control: Jurkat Cell Line
|  | FL1 | FL3
|  | 255.27 | 79.28
| DiOC (mitochondrial inner membrane potential) | Control: Jurkat Cell Line
|  | FL1 | FL3
|  | 55.61 | 68.65
Spectrophotometry | ATP | Control: Standards
9.67~11.38
| 8OHdG | Control: Standards
11.48~ 26.79
| PAO | Control: Standards
4.82~20.90
| SOD | Control: Standards
12.88~22.86
*:Jurkat cell line was used as the test control. The result of mononuclear cell samples were normalized using Jurkat cell result from the same experiment.