
Table 3 - Sensitivity of egg identification in three-species pools of ten eggs in different mix ratios.
Six biological replicates have been performed per pools containing Ae. aegypti/Ae. albopictus/Ae. japonicus in ratio 3/3/4 in all three possible variations.

	Mix ratios
	3/3/4

	Number of pools tested
	18

	Total number of spots measured (technical replicates)
	72

	Number of the 4 technical replicates yielding identification of 2 species

	4
	95.80%

	≥3
	100.00%

	≥2
	100.00%

	≥1
	100.00%

	Number of the 4 technical replicates yielding identification of all 3 species

	4
	87.50%

	≥3
	88.80%

	≥2
	94.40%

	≥1
	97.60%




