Table 1 - Insertion data and success rates with manual needle, B.I.G and EZ-IO:  

Successes on first attempt were compared using exact chi-square test. The contrasts between EZ-IO® and the manual needle / Bone Injection Gun were significant (p<0.01/p<0.001). Manual needle vs. B.I.G. was not significant (p=0.64).
* 2 patients had the first attempt with a Manual Needle, and the second attempt with a B.I.G.  
** First attempt success is calculated using the “Success on 1. attempt” related to “Number of patients who received IO”. 
*** Overall success is calculated using all successful attempts related to “Number of insertions”. 

IO: Intraosseous

	IO device
	Number of patients who received IO
	Number of

insertions
	Success on

1. attempt


	Success on

2. attempt
	Success on

3. attempt
	Failed

insertions
	First attempt success**

(95 %CI)
	Overall Success ***
(95% CI)

	Manual needle
	5*
	6
	2
	1
	0
	3
	40%  (5-85)
	50%  (12-88)

	
	
	
	
	
	
	
	
	

	B.I.G 
	18*
	22
	10
	1
	1
	10
	56%  (31-79)
	55%  (32-76)

	
	
	
	
	
	
	
	
	

	EZ-IO
	49
	50
	47
	1
	0
	2
	96%  (86-100)
	96%  (86-100)

	
	
	
	
	
	
	
	
	

	Total number
	70*
	78
	59
	3
	1
	15
	84%
	81%


