Additional file

Box-plot of total sample (n=18) showing difference between AM7164 and GT1M outputs in mcpm (%). With a median difference of 11.7% between monitors case number 10 and 11 are extreme outliers showing about 50% difference between AM7164 and GT1M outputs of total physical activity. Data from these cases were therefore disregarded.  
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Figure 1 Box-plot of total sample (n=18) showing difference between AM7164 and 
GT1M outputs in mcpm (%). Case number 10 and 11 are defined as extreme outliers.
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