## Feuil1
Table S9: Summary of repeatability (RSD) for labeled standard analytes across all extraction methods and LC-MS analyses. The table displays a mean relative standard deviation (standard deviation/mean, n=3) for plasma vs. serum in each LC-MS conditions . Empty boxes stands not detected.MeOH : methanol; MeOH:ACN : methanol combined with acetonitrile; ACN: acetonitrile; SPE : solid preparation extraction; ESI : electrospray ionisation; RP: reverse phase.
|  |  | L-Phenylalanine-3,3-d2 | L-Leucine-5,5,5-d3 | D-Glucose-13C6 | L-Lactic acid-13C3 | L-Tryptophan-(indole-d5) | L-Tyrosine-(phenyl-3,5-d2) | Succinic acid-2,3-13C2
HILIC (+ESI) | Plasma | MeOH | 0.03 | 0.07 |  |  | 0.08
|  | MeOH:ACN | 0.03 | 0.06 |  |  | 0.15
|  | ACN | 0.22 | 0.09 |  |  | 0.08
|  | Hybrid-SPE/ACN | 0.12 | 0.16
|  | Hybrid-SPE/MeOH |  | 0.4 | 0.4 |  | 0.4
| Serum | MeOH | 0.36 | 0.3 |  |  | 0.36
|  | MeOH:ACN |  | 0.31 |  |  | 0.39 | 0.57
|  | ACN | 0.14 | 0.19 |  |  | 0.15
|  | Hybrid-SPE/ACN | 0.51 |  |  |  | 0.54 | 0.24
|  | Hybrid-SPE/MeOH | 0.51 |  |  |  | 0.54
HILIC (-ESI) | Plasma | MeOH | 0.4 | 0.39 | 0.39 | 0.43 | 0.41 |  | 0.19
|  | MeOH:ACN | 0.38 | 0.38 | 0.42 | 0.39 | 0.39 | 0.39 | 0.2
|  | ACN | 0.36 | 0.37 |  | 0.36 | 0.35 | 0.38
|  | Hybrid-SPE/ACN | 0.52 | 0.45 | 0.56 |  | 0.51 | 0.36 | 0.43
|  | Hybrid-SPE/MeOH | 0.37 | 0.38 | 0.4 | 0.24 | 0.51 | 0.62 | 0.46
| Serum | MeOH | 0.56 | 0.54 | 0.67 | 0.52 | 0.54 | 0.57 | 0.4
|  | MeOH:ACN | 0.42 | 0.41 |  | 0.43 | 0.4 | 0.41 | 0.4
|  | ACN | 0.71 | 0.72 | 0.7 | 0.73 | 0.7 | 0.65
|  | Hybrid-SPE/ACN | 0.54 | 0.47 |  | 0.42 | 0.71 | 0.49 | 0.55
Hybrid-SPE/MeOH
RP C18 (+ESI) | Plasma | MeOH |  | 0.38 |  |  | 0.36 | 0.32
|  | MeOH:ACN |  | 0.34 |  |  | 0.36 | 0.57
|  | ACN |  | 0.39 |  |  | 0.37 | 0.4
|  | Hybrid-SPE/ACN | 0.51 | 0.34 |  |  | 0.36 | 0.72
|  | Hybrid-SPE/MeOH | 0.82 | 0.62 |  |  | 0.64 | 0.66
| Serum | MeOH | 1 | 0.34 |  |  | 0.27 | 0.37
|  | MeOH:ACN | 0.47 | 0.52 |  |  | 0.38 | 0.78
|  | ACN | 1 | 1 |  |  | 1 | 0.8
|  | Hybrid-SPE/ACN | 0.64
|  | Hybrid-SPE/MeOH | 0.28 | 0.28 |  |  | 0.28 | 0.45
RP C18 (-ESI) | Plasma | MeOH | 0.47 |  |  |  | 0.34 | 0.51 | 0.43
|  | MeOH:ACN | 0.33 |  |  |  | 0.29 | 0.4 | 0.35
|  | ACN | 0.27 |  |  |  | 1
|  | Hybrid-SPE/ACN | 0.5 |  |  |  | 0.32 |  | 0.5
|  | Hybrid-SPE/MeOH |  | 0.44 |  |  | 0.5 | 0.62
| Serum | MeOH | 0.35 |  |  |  | 0.4 | 0.77 | 0.39
|  | MeOH:ACN | 0.56 |  |  |  | 0.36 |  | 0.37
|  | ACN | 1 |  |  |  | 1 |  | 0.48
|  | Hybrid-SPE/ACN | 0.51 |  |  |  | 0.54 | 1 | 0.62
|  | Hybrid-SPE/MeOH | 0.48 |  |  |  | 0.6 |  | 0.6