Table S3. Recovery of recombinant pro-KLK9 spiked in female (F) and male (M) serum samples.

| Serum samples | Spiked pro-hK9 (ng/ml)1 | Measured pro-hK9 (ng/ml)2 | % Recovery |
| --- | --- | --- | --- |
| F2 | 5.0 | 5.71 | 114 |
| F4 | 5.0 | 4.66 | 93 |
| M1 | 5.0 | 4.53 | 91 |
| M5 | 5.0 | 5.98 | 120 |
| F2 | 10.0 | 9.96 | 99.5 |
| M1 | 10.0 | 9.47 | 95 |
| M5 | 10.0 | 10.21 | 102 |

- pro-KLK9 was purchased from R&D systems.

- ELISA used was for KLK9, with monoclonal antibodies 28ED436 and 4ED28.2. For more details and discussion see text.