Table S3. Recovery of recombinant pro-KLK9 spiked in female (F) and male (M) serum samples.
	Serum samples
	Spiked pro-hK9
(ng/ml)1
	Measured pro-hK9 (ng/ml)2
	% Recovery

	F2 
	5.0
	5.71
	114

	F4 
	5.0
	4.66
	93

	M1 
	5.0
	4.53
	91

	M5 
	5.0
	5.98
	120

	F2 
	10.0
	9.96
	99.5

	M1 
	10.0
	9.47
	95

	M5 
	10.0
	10.21
	102


1. pro-KLK9 was purchased from R&D systems.
2. ELISA used was for KLK9, with monoclonal antibodies 28ED436 and 4ED28.2. For more details and discussion see text.


