Additional file 2: List of weather variables

Automatic weather station variables measured on a daily basis

Wind speed

- Vector mean wind direction measured in degrees

- Vector mean wind speed measured in 0.1 m/s

- Daily mean wind speed measured in 0.1 m/s

- Maximum hourly mean wind speed measured in 0.1 m/s

- Minimum hourly mean wind speed measured in 0.1 m/s

- Maximum wind gust measured in 0.1 m/s

Temperature

- Mean temperature measured in 0.1 degrees Celsius (at a height of 1.5m)

- Minimum temperature measured in 0.1 degrees Celsius (at a height of 1.5m)

- Minimum temperature at a height of 10 cm measured in 0.1 degrees Celsius

- Maximum temperature measured in 0.1 degrees Celsius (at a height of 1.5m)

Radiation

- Sunshine duration measured in 0.1 hours (less than 0.05 hours of daily sunshine is rounded to 0 hours)

- Percentage of maximum potential sunshine duration measured as percentage (measured sunshine duration as percentage of maximum possible sunshine duration)

- Global radiation measured is J/cm2

- Potential evaporation measured in 0.1 mm (amount of evaporation assuming enough water is present)

Pressure

- Daily mean sea level pressure measured in 0.1 hPa (based on 24 hourly values)

- Maximum hourly sea level pressure measured in 0.1 hPa

- Minimum hourly sea level pressure measured in 0.1 hPa

Visibility

- Minimum visibility measured in 100m (rounded down)

- Maximum visibility measured in 100m (rounded down)

Cloudiness

- Mean daily cloud cover measured in octants (cloud measurement from 0, clear sky, to 8, completely cloudy)

Humidity

- Daily mean relative atmospheric humidity measured as percentage (amount of water in the air over the maximum amount of water the air can hold at given circumstances)

- Maximum relative atmospheric humidity measured as percentage

- Minimum relative atmospheric humidity measured as percentage

Precipitation

- Precipitation duration measured in 0.1 hours

- Precipitation amount measured in 0.05 mm (less than 0.05 mm is rounded to 0.05 mm)

- Maximum hourly precipitation amount measured in 0.05 mm (less than 0.05 mm is rounded to 0.05 mm)

Automatic weather station variables measured on an hourly basis

Wind speed

- Wind direction during the last 10 minutes measured in degrees

- Mean wind speed measured in 0.1 m/s (measured over the whole hour)

- Mean wind speed during the last 10 minutes measured in 0.1 m/s

- Maximum wind gust measured in 0.1 m/s

Temperature

- Temperature measured in 0.1 degrees Celsius (at a height of 1.5m)

- Minimum temperature at a height of 10 cm measured in 0.1 degrees Celsius (measured on a 6-hourly basis)

- Dew point temperature measured in 0.1 degrees Celsius (temperature at which water will condense, measured at a height of 1.5m)

Radiation

- Sunshine duration measured in 0.1 hours (less than 0.05 hours is rounded to 0 hours)

- Global radiation measured is J/cm2

Pressure

- Pressure measured in 0.1 hPa

Visibility

- Visibility measured in 100m (rounded down)

Cloudiness

- Cloudiness measured in octants

Humidity

- Relative atmospheric humidity measured as percentage (at a height of 1.5m)

Precipitation

- Precipitation duration measured in 0.1 hours

- Maximum hourly precipitation amount measured in 0.05 mm (less than 0.05 mm is rounded to 0.05 mm)

- Rain binary variable indicating if rain was observed

- Snow binary variable indicating if snow was observed

Special weather conditions

- Fog binary variable indicating if fog was observed

- Storm binary variable indicating if a storm was observed

- Glazed frost binary variable indicating if glazed frost was observed

Precipitation stations variables measured on daily basis

- Precipitation measured in 0.1 mm (measurement is based on precipitation between 8 am last day and 8 am current day)

- Snow measured in cm (broken snow cover less than 1 cm thick is rounded to 1 cm, broken snow cover more than 1 cm thick is rounded to 2 cm, snow dunes are rounded to 4 cm, all measurements are conducted at 8 am)