Table S1. Experimental equipment used for staining pathological section.

| Name | Model | Manufacturer and Country |
| --- | --- | --- |
| Dehydrator | JJ-12J | JunJie Co., Ltd，Wuhan, China |
| Embedding machine | JB-P5 | JunJie Co., Ltd，Wuhan, China |
| Pathological slicer | RM2016 | LeiCa Co., Ltd，Shanghai, China |
| Freezer | JB-L5 | JunJie Co., Ltd，Wuhan, China |
| Tissue spreading machine | KD-P | KeDi Co., Ltd，Zhejiang, China |
| Oven | DHG-9140A | HuiTai Co., Ltd，Shanghai, China |
| Slide and coverslip | 10212432C | Citotest Co., Ltd，Jiangsu, China |
| Upright optical microscope | Nikon Eclipse CI | Nikon Co., Ltd，Japan |
| Imaging system | Nikon DS-U3 | Nikon Co., Ltd，Japan |