Testing particles using the algal growth inhibition test (OECD 201) – the suitability of in vivo chlorophyll fluorescence measurements

Kerstin Hund-Rinke *, Ruben Schlinkert and Karsten Schlich

Fraunhofer Institute for Molecular Biology and Applied Ecology IME, 57392 Schmallenberg, Germany; kerstin.hund-rinke@ime.fraunhofer.de: ruben.schlinkert@ime.fraunhofer.de; karsten.schlich@ime.fraunhofer.de

- Additional Information -

# SI 1: Test materials

Table SI 1: Motivation for the selection of each material.

| Short name | Material | Motivation |
| --- | --- | --- |
| Ti64 | Ti-alloy | One of the most widely used alloys, often used as a basis for the development of new alloys, used for additive manufacturing and lightweight construction |
| IN718 | Ni-alloy | Commonly used alloy (high-temperature applications), often used as a basis for the development of new alloys, used for additive manufacturing, high temperature-applications, and turbines |
| Ti64_SiC | CDS-Ti-alloy | Ceramic dispersion, strengthened lightweight construction, used for additive manufacturing, lightweight construction |
| IN_Y2O3 | CDS-Ni-alloy | Oxide dispersion, strengthened alloy (high-temperature applications), used for additive manufacturing, high-temperature applications, and turbines |
| SiC_thin | silicon carbide fibre | Rigid nanofiber/microfiber, high WHO fraction |
| TiO2 IG | TiO2 nanowire (industrial grade) | Rigid industrial-grade nanofiber/microfiber, high WHO fraction, influence of fibre morphology |
| Cu fibre | Copper fibre | Influence of fibre morphology |
| ES 4 | Silver platelets | Platelet as additional morphology |
| PMMA | Poly(methylmethacrylate | Monodispersity |
| PE_broad_distribution | Polyethylene | Polydispersity |
| PA-6 | Polyamide | Micronized polyamide, used in 3-D printing |

# SI 2: Calibration curves: fluorescence intensity – cell number

The cell density of the inoculum culture (pre-culture) was determined using a CASY Model TT cell counter. The fluorescence was measured on a Synergy MX microplate photometer (BioTek, Germany) in four replicates of 200 µL. The excitation wavelength was 440 nm and the emission wavelength was 690 nm.

Table SI 2: In vivo fluorescence signals and cell numbers.

| Sample | Mean fluorescence value | Cell number/mL |
| --- | --- | --- |
| blank | 389 | 0 |
| 1 | 740 | 25,270 |
| 2 | 1,288 | 37,140 |
| 3 | 2,091 | 59,010 |
| 4 | 3,019 | 88,340 |
| 5 | 3,689 | 110,500 |
| 6 | 8,143 | 390,100 |
| 7 | 14,316 | 589,200 |
| 8 | 19,515 | 844,900 |
| 9 | 23,406 | 1,114,000 |

Figure SI 1: Calibration curve for the determination of in vivo fluorescence.

Table SI 3: In vitro fluorescence signals and cell numbers.

| Sample | Mean fluorescence value | Cell number/mL |
| --- | --- | --- |
| blank | 395 | 0 |
| 1 | 435 | 5,069 |
| 2 | 446 | 7,965 |
| 3 | 489 | 15,100 |
| 4 | 608 | 24,780 |
| 5 | 822 | 43,850 |
| 6 | 1,212 | 81,930 |
| 7 | 2,067 | 156,500 |
| 8 | 3,773 | 300,400 |
| 9 | 6,535 | 577,800 |
| 10 | 12,409 | 1,270,000 |
| 11 | 23,005 | 2,410,000 |
| 12 | 37,262 | 4,626,000 |

Figure SI 2: Calibration curve for the determination of in vitro fluorescence.

# SI 3 : Results for the positive control 3,5-dichlorophenol

Table SI 4: Percentage inhibition of growth rate caused by 3,5-dichlorophenol after 0–72 h.

| Treatment [mg/L] | Mean growth rate | Standard deviation | Number of replicates | Percentage inhibition |
| --- | --- | --- | --- | --- |
| Control | 1.517 | 0.0661 | 6 |  |
| 0.16 | 1.719 | 0.1262 | 3 | –13.3 |
| 0.50 | 1.707 | 0.0456 | 3 | –12.6 |
| 1.58 | 1.537 | 0.1093 | 3 | –1.3 |
| 5.00 | 0.341 | 0.0292 | 3 | 77.5 |

Table SI 5: Critical effect and threshold concentration observed at the end of the test.

| Critical concentration [mg/L] |  | 0–72 h | 95% confidence interval |
| --- | --- | --- | --- |
| EC10 |  | 1.89 | 1.28 – 2.78 |
| EC20 |  | 2.32 | 1.63 – 3.31 |
| EC50 |  | 3.44 | 2.28 – 5.25 |
| LOEC |  | 5.00 |  |
| NOEC |  | 1.58 |  |

Table SI 6: Validity information.

| Criterion | Required | Achieved |  | Valid |
| --- | --- | --- | --- | --- |
| Validity time period | 72 h | 72 h |  | yes |
| BF 0–72 h | 16 | 96.3 |  | yes |
| Mean GR | 0.920/d | 1.517/d |  | yes |
| CV mean GR | 7.0 | 4.4 |  | yes |
| Sectional GR Control |  |  |  |  |
| Time: | 0–24 h | 24–48 h | 48–72 h |  |
| Repl. 1 | 1.772 | 1.266 | 1.366 |  |
| Mean Repl. 1 | 1.5 |  |  |  |
| CV Repl.1 | 18.2 |  |  |  |
| Repl. 2 | 1.564 | 1.302 | 1.504 |  |
| Mean Repl. 2 | 1.5 |  |  |  |
| CV Repl.2 | 9.4 |  |  |  |
| Repl. 3 | 1.659 | 1.308 | 1.886 |  |
| Mean Repl. 3 | 1.6 |  |  |  |
| CV Repl.3 | 18.0 |  |  |  |
| Repl. 4 | 1.679 | 1.260 | 1.551 |  |
| Mean Repl. 4 | 1.5 |  |  |  |
| CV Repl.4 | 14.4 |  |  |  |
| Repl. 5 | 1.782 |  | 1.573 |  |
| Mean Repl. 5 | 1.6 | 1.383 |  |  |
| CV Repl.5 | 12.6 |  |  |  |
| Repl. 6 | 1.642 |  | 1.745 |  |
| Mean Repl. 6 | 1.5 | 1.058 |  |  |
| CV Repl.6 | 25.0 |  |  |  |
|  | Required | Achieved |  |  |
| Mean of mean Repl. |  | 1.517 |  |  |
| Mean CV Repl. | 35.0 | 16.3 |  | yes |

Mean Repl.: mean replicate sectional GR over time; CV Repl.: coefficient of variation of replicate over time; Mean of mean Repl.: mean of 'mean replicate sectional GR over time; Mean CV Repl.: mean of coefficients of variation of replicate over time.

# SI 4: Examples using short-term pre-tests to confirm the suitability of in vivo fluorescence measurements.

Four different setups (test medium; test medium + particles, algae, algae + particles) of 100 mL each were prepared in Erlenmeyer flasks with OECD test medium, a particle concentration of 100 mg/L and ~1 × 106 algae per mL. The algal concentration corresponds approximately to the cell count at the end of the test. Mixing was performed by manually shaking. The fluorescence was determined on a Synergy MX microplate photometer (BioTek, Germany) in 96-well plates in four replicates of 200 µL. The excitation wavelength was 440 nm, the emission wavelength was 690 nm and gain 80 was applied.

The similar fluorescence signals (Table SI 7) of the test medium and test medium + particles as well as the algal suspension and algal suspension + particles indicated the suitability of the in vivo fluorescence measurement. Interference by the test particles to increase the fluorescence signal compared to the test medium (indicating autofluorescence) or to reduce the fluorescence signal compared to the algae (indicating the obstruction or absorption of light) was excluded.

Table SI 7: Relative fluorescence units (excitation wavelength 440 nm; emission wavelength 690 nm) of various pre-tests to indicate the suitability of in vivo fluorescence measurement (mean ± SD of four replicates).

| Particles | Test medium | Test medium + particles | Algae | Algae + particles |
| --- | --- | --- | --- | --- |
| IN-Y2O3 | 555 ± 14 | 544 ± 7 | 43406 ± 4088 | 45624 ± 1014 |
| Cu nanowires | 567 ± 19 | 356 ± 32 | 32017 ± 466 | 34307 ± 843 |