SUPPLEMENTARY MATERIAL.

Assessment of Atrazine Contamination in the Sele River Estuary: Spatial Distribution, Human Health Risks, and Ecological Implications in Southern Europe

Elvira De Rosaa, Paolo Montuoria*, Fabiana Di Ducaa, Bruna De Simonea, Stefano Scippaa, Raffaele Nubia, Donatella Paola Provvisieroa, Immacolata Russoa, Maria Triassia

aDepartment of Public Health, University “Federico II”, Via Sergio Pansini nº 5, 80131 Naples, Italy

Table S1 Optimized conditions for the analysis of target compounds using liquid chromatography-tandem mass spectrometry (LC-MS/MS).

| Liquid Chromatography conditions |  |  | Mass Spectrometry conditions |  |
| --- | --- | --- | --- | --- |
| Flow rate | 0.3 mL min-1 |  | ESI ion mode | Positive |
| Injection volume | 2 µL |  | CID Gas | 1.5 mTorr |
| Column temperature | 25 ºC |  | Drying gas temperature | 350 ºC |
| Solvent A | water |  | Ion Trasfer Tube Temperature | 290 °C |
| Solvent B | Methanol (0,1% formic acid/5Mm Ammonium formate) |  | Capillary voltage | 3500 V |
| Mobile phase gradient | t (min) | B (%) |  |  |
|  | 0 | 2% |  |  |
|  | 1 | 2% |  |  |
|  | 2 | 50% |  |  |
|  | 9 | 98% |  |  |
|  | 12 | 98% |  |  |
|  | 12.1 | 2% |  |  |

Table S2 SRM Table used for LC-MS/MS determination of ATR and its metabolite residues

| Compound | Retention Time | Precursor Ion | SRM1 | SRM2 | EC (V) |
| --- | --- | --- | --- | --- | --- |
| ATR | 7.5 | 216 | 146 | 132 | 23.4 |
| DEA | 4.5 | 188 | 104 | 146 | 16.4 |
| DIA | 4.0 | 174 | 145 | 88 | 12.5 |
| HA | 3.9 | 198 | 156 | 86 | 22.7 |
| DEHA | 3.1 | 170 | 128 | 129 | 18.2 |
| DIHA | 2.4 | 156 | 97 | 86 | 21.7 |

Table S3 Parameters used for exposure analysis of ATR and its DPs via ingestion and dermal pathways (US EPA, 2000; Sun et al., 2017).

| Parameter | Unit | Values |  |
| --- | --- | --- | --- |
|  |  | Ingestion | Dermal adsorbition |
| Concentrations (C) | µg/L | - | - |
| Intake rate (IR) | L/day | 2 for adult | - |
| Skin-surface area (SA) | Cm2 | - | 18,000 for adult |
| Permeability coefficient (Kp) | Cm/h | - | 0.004 |
| Exposure time (ET) | Hour/d | - | 1.5 |
| Exposure frequency (EF) | Day/years | 365 | 350 |
| Exposure duration (ED) | Year | 24 for adult | 30 |
| Conversion factor (CF) | L/cm3 | - | 0.001 |
| Body weight (BW) | Kg | 70 for adult | 70 |
| ABS | All | 0.001 | 0.001 |
| Average Time (AT) | Days | 25,550 for adult | 25,550 for adult |
| RFD0 | µg/kg per day | 3.5E-2 |  |
| ABSGI | 1 | 1 |  |
| SF0 | µg/kg day | 2.3E-1 |  |

Table S4  Water quality parameters of the sites sampled between the year 2020 and 2021.

*PSU = practical salinity unit

|  | Sampling area |  |  |  | Parameters |  |
| --- | --- | --- | --- | --- | --- | --- |
| Site number identification | Site characteristics | Site location | Campaigns | Salinity (PSU) | Dissolved Oxygen (mg/L) | Temperature (°C) |
| 1 (River water) | Sele River mouth | 40°28′55”N 14°56′33″E | November (2020) | 32.0 | 7.88 | 14.1 |
|  |  |  | February (2021) | 30.0 | 6.82 | 12.1 |
|  |  |  | April (2021) | 32.1 | 10.9 | 21.2 |
|  |  |  | July (2021) | 38.1 | 11.2 | 22.8 |
| 2 (Sea water) | River mouth 500m north | 40°29′04”N 14°56′14″E | November (2020) | 33.5 | 7.90 | 17.5 |
|  |  |  | February (2021) | 31.0 | 7.01 | 14.3 |
|  |  |  | April (2021) | 32.5 | 10.0 | 22.3 |
|  |  |  | July (2021) | 37.5 | 10.8 | 23.9 |
| 3 (Sea water) | River mouth 1000m north | 40°29′12”N 14°55′56″E | November (2020) | 33.6 | 8.01 | 18.0 |
|  |  |  | February (2021) | 30.6 | 7.89 | 15.5 |
|  |  |  | April (2021) | 34.2 | 10.5 | 20.7 |
|  |  |  | July (2021) | 37.1 | 10.0 | 23.5 |
| 4 (Sea water) | River mouth 1500m north | 40°29′20”N 14°55′38″E | November (2020) | 30.5 | 8.55 | 18.2 |
|  |  |  | February (2021) | 29.8 | 8.00 | 16.0 |
|  |  |  | April (2021) | 31.2 | 10.9 | 20.0 |
|  |  |  | July (2021) | 37.0 | 9.88 | 24.3 |
| 5 (Sea water) | River mouth 500m west | 40°28′55”N 14°56′12″E | November (2020) | 33.1 | 7.56 | 18.3 |
|  |  |  | February (2021) | 30.0 | 7.50 | 15.2 |
|  |  |  | April (2021) | 30.3 | 9.90 | 21.6 |
|  |  |  | July (2021) | 38.2 | 9.70 | 22.5 |
| 6 (Sea water) | River mouth 1000m west | 40°28′55”N 14°55′50″E | November (2020) | 31.4 | 8.22 | 19.0 |
|  |  |  | February (2021) | 28.9 | 8.21 | 15.5 |
|  |  |  | April (2021) | 29.9 | 10.0 | 20.3 |
|  |  |  | July (2021) | 38.0 | 10.5 | 24.8 |
| 7 (Sea water) | River mouth 1500m west | 40°28′55”N 14°55′28″E | November (2020) | 32.5 | 8.80 | 19.5 |
|  |  |  | February (2021) | 30.0 | 8.56 | 16.1 |
|  |  |  | April (2021) | 33.5 | 11.1 | 22.1 |
|  |  |  | July (2021) | 37.3 | 9.60 | 22.9 |
| 8 (Sea water) | River mouth 500m south | 40°28′47”N 14°56′16″E | November (2020) | 30.9 | 8.30 | 18.3 |
|  |  |  | February (2021) | 30.0 | 8.01 | 14.2 |
|  |  |  | April (2021) | 33.8 | 10.5 | 21.7 |
|  |  |  | July (2021) | 37.1 | 9.66 | 25.6 |
| 9 (Sea water) | River mouth 1000m south | 40°28′39”N 14°55′56″E | November (2020) | 30.9 | 9.16 | 19.2 |
|  |  |  | February (2021) | 31.4 | 8.89 | 15.1 |
|  |  |  | April (2021) | 33.4 | 10.7 | 22.4 |
|  |  |  | July (2021) | 37.5 | 10.3 | 24.5 |
| 10 (Sea water) | River mouth 1500m south | 40°28′30”N 14°55′38″E | November (2020) | 30.0 | 9.33 | 19.5 |
|  |  |  | February (2021) | 29.7 | 9.02 | 15.7 |
|  |  |  | April (2021) | 34.6 | 11.0 | 22.6 |
|  |  |  | July (2021) | 37.0 | 10.0 | 23.7 |

*PSU = practical salinity unit

Table S5: Species and PNEC values used in this study

| PNEC | MOLLUSCS | FISH |
| --- | --- | --- |
| ATR | 1,19 | 4,77 |
| HA | 14,5 | 58,2 |
| DEA | 0,66 | 2,65 |
| DIA | 0,99 | 3,97 |

Table S6: LOD and LOQ of each individual compounds in water, SPM and sediment phases

|  | WATER AND SPM |  | SEDIMENT |  |
| --- | --- | --- | --- | --- |
|  | LOD (ng/L) | LOQ (ng/L) | LOD (ng/g) | LOQ (ng/g) |
| ATR | 4.95E-04 | 1.65E-03 | 1.11E-03 | 3.71E-03 |
| HA | 1.23E-03 | 4.08E-03 | 1.35E-03 | 4.51E-03 |
| DEA | 5.54E-04 | 1.85E-03 | 1.01E-03 | 3.37E-03 |
| DIA | 4.78E-04 | 1.59E-03 | 1.14E-03 | 3.81E-03 |
| DEHA | 5.98E-04 | 1.99E-03 | 1.04E-03 | 3.47E-03 |
| DIHA | 6.72E-04 | 2.24E-03 | 1.23E-03 | 4.10E-03 |