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Title:  Table S3, Mass Spectrophotometer transitions
Description: The eluent from LC was passed onto the electrospray source of an amaZon ETD Ion Trap operated in MRM mode with the following transitions. The concentrations of components in samples were calculated by comparison with external calibration curves of authentic compounds.
	Analyte
	MS2 conditions
	Fragments used for quantification (m/z)

	
	Parent ion/m/z
	Isolation width/m/z
	Amplitude
	

	Serine
	106.1
	1
	0.5
	60.2

	S-adenosyl methionine
	298
	1
	0.6
	135.8

	Cystathionine
	222.8
	1
	0.35
	133.8

	Homocysteine
	135.9
	1
	0.5
	89.9



