## Slide 1: Supplementary figures
Quantitation of Next Generation Sequencing Library Preparation Protocol Efficiencies Using Droplet Digital PCR Assays - a systematic comparison of DNA library preparation kits for Illumina sequencing
Louise Aigrain, Yong Gu, Michael A. Quail

## Slide 2
Figure S1
Chart: 
| PhiX primers | PhiX primers | Adaptor primers | PhiX primers | P5/P7 primers | After end repair & A-taling | After ligation | After ligation | After PCR | After PCR
Truseq Nano (100 ng input, Sanger adaptors) | 96.8447 | 56.5065 | 12.4934 | 1091.4868 | 456.7581
Truseq Nano (100 ng input, Illumina adaptors) | 81.2416 | 48.5675 | 16.7211 | 1050.3245 | 412.1719
Figure S1: Comparison of the overall yields for libraries prepared with the Truseq Nano kit with either the Sanger adaptors (original Illumina adaptors, in pink) and the modern Illumina adaptors (in blue).

## Slide 3
Figure S2
Chart: Stepwise yields
| PhiX primers | PhiX primers | Adaptor primers | PhiX primers | P5/P7 primers | After end repair & A-taling | After ligation | After ligation | After PCR | After PCR
NEBNext | 67.1424 | 52.4252 | 15.6672 | 4392.8387 | 2258.9905
NEBNext Ultra | 105.2451 | 77.8435 | 3.4986 | 9805.7894 | 3853.5729
SureSelect | 70.7595 | 52.9772 | 24.9836 | 2144.8529 | 1067.466
Truseq Nano (Illumina adaptors) | 100.1492 | 52.638 | 39.5535 | 1171.642 | 498.5791
Accel-NGS 1S (Swift adaptors) | 126.0148 | 33.6278
Accel-NGS 2S (Swift adaptors) | 101.4971 | 36.5388
Kapa Hyper | 99.1506 | 51.1462 | 36.1378 | 1060.5626 | 665.4602
Kapa HyperPlus | 111 | 90.107 | 100.8423 | 1287.2876 | 815.5482
Truseq DNA PCR-free (Illumina adaptors) | 12.4707 | 80.9719 | 30.2664
Primer pair
Protocol step
*
*
NM
NM
*
*
*
*
NM
NM
NM
NM
Figure S2: Bar charts showing the stepwise DNA library preparation yields of the different kits tested. Initial DNA input: 500 ng. Except where mentioned otherwise all libraries were prepared using the original Illumina Paired end adaptor (Sanger adaptors) [6, 22]. The most critical steps correspond to the adaptor ligation for which the yield varies from 3.50% to 100% depending on the kit tested.

## Slide 4
Chart: Overall Yields vs. input Different DNA input
| PhiX primers | Adaptor primers | P5/P7 primers | After end repair & A-taling | After ligation | After PCR
Truseq Nano (100 ng input, Illumina adaptors) | 81.2416 | 16.7211 | 412.1719
Truseq Nano (500 ng input, Illumina adaptors) | 100.1492 | 20.3407 | 109.1663
1S Swift Accel (100 ng input, Swift adaptors) | 83.4022 | 349.8879
Accel-NGS 1S (500 ng input, Swift adaptors) | 126.0148 | 124.85
Accel-NGS 2S (20 ng input, Swift adaptors) | 64.6841 | 2342.8142
Accel-NGS 2S (500 ng input, Swift adaptors) | 101.4971 | 146.3635
KAPA HyperPlus (20 ng input, Sanger adaptors) | 116 | 88.6949 | 26000.6206
KAPA HyperPlus (500 ng input, Sanger adaptors) | 111 | 99.7551 | 813.7695
*
*
*
*
NM
NM
NM
NM
Figure S3
Figure S3: Bar charts showing the comparison of the overall DNA library preparation yields of the different kits tested depending on the initial DNA input. Although higher DNA inputs lead to slightly higher adaptor ligation yields, the final PCR yield appears much greater when the initial DNA input is low.

## Slide 5
~343 bp
~536 bp
~713 bp
lower standard
35 bp
upper standard
10380 bp
Figure S4
Figure S4: Bioanalyzer traces of 3 libraries prepared with the PhiX amplicons of 3 different sizes. The initial input sample contained a equimolar ratio of the 3 amplicons whereas this ratio varies in the final libraries presented here depending on the kit used (Truseq Nano in red, SureSelect in blue and KAPA hyper in green).

## Slide 6
Figure S5
B. pertussis
H. sapiens
S. aureus
Fragmentase incubation time on E. coli
20 min
10 min
5 min
Different GC content (15 min fragmentase)
P. falciparum 3D7 (19.4% GC)
B. pertussis (67.7% GC)
H. sapiens (40.9 % GC)
S. Aureus (32.8% GC)
Different DNA input (S. aureus, 15 min fragmentase)
10 ng
30 ng
50 ng
100 ng
400 ng
A
B
Figure S5: Enzymatic shearing using the fragmentase provided with the KAPA HyperPlus kit. A) Tunability and robustness of the fragmentase treatments depending on the GC content of the DNA sample, DNA input and the incubation time. B) KAPA HyperPlus libraries GC contents and their correlation with the theoretical values.