## Sheet1
Supplementary material 1: DNA quantity, purity and fragment length obtained after extraction of B. subtilis and E. coli mixes using the evaluated DNA extraction methods
Bacterial mix | Method | Concentration1 (ng/µL) |  | A260/A2802 | A260/A2302 | Average size3 (bp)
Mix EB | MN | 0.08 | ± 0.02 | Out of range | Out of range | Out of range
| ZR-HMW | 0.25 | ± 0.01 | Out of range | Out of range | Out of range | 1: average and standard deviation, from triplicate measures determined using Qubit Fluorometer
| ZR | Out of range |  | Out of range | Out of range | Out of range | 2: average and standard deviation, from triplicate measures determined using Nanodrop
| Qi | 0.07* |  | Out of range | Out of range | Out of range | 3: average and standard deviation, from triplicate measures determined using TapeStation
| Mo | Out of range |  | Out of range | Out of range | Out of range | Out of range: the related parameter cannot be measured because the sample concentration is below the limit of detection of Qubit, Nanodrop or TapeStation, according to the manufacturer’s specifications.
| CB | 0.11** |  | Out of range | Out of range | Out of range
Mix BE | MN | Out of range |  | Out of range | Out of range | Out of range
| ZR-HMW | 0.35 | ± 0.03 | Out of range | Out of range | Out of range | *: one of the triplicate values was out of range and the standard deviation could not be calculated
| ZR | Out of range |  | Out of range | Out of range | Out of range | **: two of the triplicate values were out of range and the standard deviation could not be calculated
| Qi | 0.15 | ± 0.03 | Out of range | Out of range | Out of range
| Mo | Out of range |  | Out of range | Out of range | Out of range | Mix EB: E. coli is overrepresented in comparison with B. subtilis
| CB | 0.14 | ± 0.06 | Out of range | Out of range | Out of range | Mix BE: B. subtilis is overrepresented in comparison with E. coli
Mix L | MN | Out of range |  | Out of range | Out of range | Out of range | Mix L: B. subtilis and E. coli are mixed at Low quantity
| ZR-HMW | 0.36** |  | Out of range | Out of range | Out of range | Mix H: B. subtilis and E. coli are mixed at High quantity.
| ZR | Out of range |  | Out of range | Out of range | Out of range
| Qi | Out of range |  | Out of range | Out of range | Out of range | MN: Nucleospin kit
| Mo | Out of range |  | Out of range | Out of range | Out of range | ZR-HMW: Quick-DNA HMW MagBead kit
| CB | Out of range |  | Out of range | Out of range | Out of range | ZR: ZymoBIOMICS DNA Miniprep kit
Mix H | MN | 0.84 | ± 0.06 | Out of range | Out of range | 36445 | Qi: Qiamp PowerFecal Pro kit
| ZR-HMW | 7.47 | ± 0.7 | 2 | 1.5 | 31220 | Mo: Moss protocol
| ZR | 0.36 | ± 0.25 | Out of range | Out of range | Out of range | CB: DNAExpress kit
| Qi | 2.88 | ± 0.83 | 2.1 | 0.1 | 15283
| Mo | 0.39 | ± 0.27 | Out of range | Out of range | Out of range
| CB | 2.34 | ± 0.49 | 1.9 | 1.6 | 15550