Supplementary Table 2 Comparison of PCR and LAMP assay results on 52 bacterial strains

|  |  | PCR |  | Sensitivity % [95% CI] | Specificity % [95% CI] | PPV % [95% CI] | NPV % [95% CI] | K |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Positive | Negative |  |  |  |  |  |
| LAMP | Positive | 4 (TP) | 0 (FP) | 100 | 100 | 100 | 100 | 1 |
|  | Negative | 0 (FN) | 48 (TN) | 39.6-100 | 90.7-100 | 56.1-100 | 90.8-100 |  |

CI, Confidence Interval; TP, true positive, FP, false positive; TN, true negative; FN, false negative; PPV, positive predictive value; NPV, negative predictive value; K,

Cohen’s Kappa.