Table S1 The conditions of Liquid chromatography coupled to tandem mass spectrometry (UHPLC-MS/MS) system to detect branched chain fatty acids (BCFAs) of Small-tail Han Sheep and Tibetan sheep

| LC/MS | Conditions | Parameters |
| --- | --- | --- |
| LC | Chromatographic column | ACQUITY UPLC BEH C18 (100 × 2.1mm, 1.7μm) |
|  | Injection | 1μL |
|  | Flow rate | 0.4mL/min |
|  | Mobile phase | A: 0.1% formic acid-water, B: acetonitrile/methanol (2:1) |
|  | Gradient elute | 0 min A/B (35:65, V/V), 1 min A/B (24:65, V/V), 6 min A/B (15:85, V/V), 6.5 min A/B (15:85, V/V), 6.51 min A/B (35:65, V/V), 7 min A/B (35:65, V/V) |
| MS | Ionization source | ESI |
|  | Curtain gas | 35psi |
|  | CAD | medium |
|  | Ion spray voltage | -4500V |
|  | Ionization temperature | 450℃ |
|  | Column temperature | 40℃ |
|  | Ion source gas I & II | 50psi |
|  | Quantitative methods | MRM |

Table S2 UPLC-MS/MS conditions for short chain fatty acids (SCFAs) of rumen contents in Small-tail Han Sheep and Tibetan sheep

| LC/MS | Conditions | Parameters |
| --- | --- | --- |
| LC | Chromatographic column | ACQUITY UPLC BEH C18 (100 × 2.1mm, 1.7μm) |
|  | Injection | 1μL |
|  | Flow rate | 0.35mL/min |
|  | Mobile phase | A: 0.1% formic acid-water, B: acetonitrile/methanol (2:1) |
|  | Gradient elute | 0 min A/B (75:25, V/V), 2 min A/B (75:25, V/V), 11 min A/B (45:55, V/V), 12 min A/B (75:25, V/V), 13 min A/B (75:25, V/V) |
| MS | Ionization source | ESI |
|  | Curtain gas | 35psi |
|  | CAD | medium |
|  | Ion spray voltage | -4500V |
|  | Ionization temperature | 450℃ |
|  | Column temperature | 40℃ |
|  | Ion source gas I & II | 50psi |
|  | Quantitative methods | MRM |

Figure S1 The alpha diversity of rumen microbiome in Small-tail Han Sheep and Tibetan sheep. ST, Small-tail Han Sheep; TS, Tibetan sheep. Six sheep per group. ** means significant difference (p < 0.01) between 2 group based on t test.

Figure S2 The PCoA plot for sheep rumen microbiome. The beta diversity of rumen microbiome was represented by PCoA plot which based on Bray-Curtis distance. ST, Small-tail Han Sheep; TS, Tibetan sheep. Six sheep per group. Anosim statistic r and p values were showed in the upper right-hand corner.