## MS
MASS SPECTROMETRY
General
Experimentator | Matthias Nagler
Instrument | Thermo Scientific Orbitrap Elite
Ion Source | Thermo Scientific ESI easy spray source
Analyser settings
Proteomics
Full scan | Full scan in FT, normal mass range, resolution 120000, positive mode, profile mode, scan range 350 to 1800 m/z
Data-dependent scans | top 20 scans in ion trap, normal mass range, rapid scan rate, centroid mode, minimum signal threshold 1000 counts,
dynamic exclusion: repeat count 1, repeat duration 30s, exclusion list size 500, exclusion duration 60, exclude mass +/-5ppm relative to reference mass, early expiration enabled with 1 cound and s/n threshold of 2
activation: CID, default charge state 2, isolation width 2m/z, normalized collision energy 35, activation q 0.25, activation time 30ms
Phosphoproteomics
Full scan | Full scan in FT, normal mass range, resolution 120000, positive mode, profile mode, scan range 350 to 1800 m/z
Data-dependent scans | top 10 scans in ion trap, normal mass range, rapid scan rate, centroid mode, minimum signal threshold 500 counts,
dynamic exclusion: repeat count 1, repeat duration 30s, exclusion list size 500, exclusion duration 60, exclude mass +/-5ppm relative to reference mass, early expiration enabled with 1 cound and s/n threshold of 2
activation: multistage activation, CID, default charge state 2, isolation width 2m/z, normalized collision energy 35, activation q 0.25, activation time 30ms
Data
Data acquisition | Thermo Xcalibur 2.2 SP1.48
Data analysis | MaxQuant 1.4.1.2

## LC
Chromatography
General
Experimentator | Matthias Nagler
Sample | reduced and alkylated Arabidopsis protein extracts, digested with Lys-C and trypsine, desalted on C18 and graphite, eluates combined; dissolved in 5% acetonitrile 0.5% formic acid prior to LC separation
Injection
Proteomics | 5µL of 0.2µg/µL solution on the column (1µg of digested protein)
Phosphoproteomics | 5µL of all desalted phosphopeptides dissolved in 10µL of 5% acetonitrile 0.5% formic acid
Equipment
Column | Thermo Scientific ES803 (easy-spray C18 column 50cm x 75µm ID, 2µm particles, 100 Å pore size)
LC-System | Thermo Scientific Dionex UltiMate 3000
Mobile phases
A | 0.1% formic acid
B | 90% acetonitrile 0.1% formic acid
Column run
Gradient
Proteomics | minutes | %B | flowrate
| 0 | 2 | 300nL
| 2 | 2 | 300nL
| 120 | 40 | 300nL
| 121 | 90 | 300nL
| 129 | 90 | 300nL
| 130 | 2 | 300nL
| 190 | 2 | 300nL
Phosphoproteomics | minutes | %B | flowrate
| 0 | 2 | 300nL
| 2 | 2 | 300nL
| 150 | 40 | 300nL
| 151 | 90 | 300nL
| 159 | 90 | 300nL
| 160 | 2 | 300nL
| 220 | 2 | 300nL