{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":[",MI157,SPL9,15 D-B-U","t-test"],"not_rendered":{"charts":3,"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":",MI157,SPL9,15 D-B-U","index":0,"n_rows":369,"n_cols":46,"rows_kept":369,"flags":["formulas_cached_only"]}
["Exported RQ Study Sample Summary and Well Information"]
[]
["Document Name: Plate1 "]
["Plate Type: ddCt Study"]
["User: Administrator"]
[]
["Document Information"]
[]
["Operator: Administrator"]
["Last Modified: "]
["Instrument Type: Applied Biosystems 7500 Real-Time PCR System"]
[]
["Comments:"]
["SDS v1.4"]
[]
["Thermal Cycler Profile"]
["Stage","Repetitions","Temperature","Time","Ramp Rate","Auto Increment"]
[1,1,"95.0 癈","10:00:00",100]
[2,40,"95.0 癈","00:15:00",100]
[null,null,"65.0 癈","01:00:00",100]
["3 (Dissociation)",1,"95.0 癈","00:15:00","Auto"]
[null,null,"60.0 癈","00:20:00","Auto"]
[null,null,"95.0 癈","00:15:00","Auto"]
[null,null,"60.0 癈","00:15:00","Auto"]
["9700 Mode"]
["Data Collection :  Stage 2 Step 2"]
["PCR Volume: 20 礚"]
[]
["Calibrator"," uva"]
[]
["Endogenous Control"," ubq"]
[]
["RQ Min/Max Calculation Type","Advanced"]
["Confidence",{"v":0.95,"d":"95.00%"}]
[]
["Plate","Well ID","Well","Sample","Detector","Task","Ct","Ct Std Err","Avg Ct","Avg dCt","dCt Std Err","ddCt","RQ","RQ Min","RQ Max","Omit","Filtered","Threshold","Auto Ct","Baseline","Start","End",null,"dCt"]
[]
["Plate2",1,"A1","uva","spl9","Target",29.292,0.003,24.329,1.269,0.144,0,1,0.814,1.229,null,null,0.2,"Manual","Manual",3,15,29.289]
["Plate2",2,"A2","uva","spl9","Target",29.286,0.003,24.329,1.269,0.144,0,1,0.814,1.229,null,null,0.2,"Manual","Manual",3,15]
["Plate2",3,"A3","blue","spl9","Target",30.658,0.89,24.902,1.099,0.214,-0.171,1.126,0.83,1.527,null,null,0.2,"Manual","Manual",3,15]
["Plate2",4,"A4","blue","spl9","Target",28.879,0.89,24.902,1.099,0.214,-0.171,1.126,0.83,1.527,null,null,0.2,"Manual","Manual",3,15,{"$nulls":14},"MI","MA","MI","MA","MI","MA"]
["Plate2",5,"A5","dark","spl9","Target",31.853,0.356,25.588,1.238,0.472,-0.032,1.022,0.522,2.001,null,null,0.2,"Manual","Manual",3,15,31.4965,{"$nulls":12},"spl9",0.2750343,0.379375603,0.597242831,0.666163886,0.977418208,1.192294553]
["Plate2",6,"A6","dark","spl9","Target",31.14,0.356,25.588,1.238,0.472,-0.032,1.022,0.522,2.001,null,null,0.2,"Manual","Manual",3,15,{"$nulls":13},"spl15",0.297742365,0.423978823,0.615442433,0.744076393,0.615042286,0.780582777]
["Plate2",13,"B1","uva","spl15","Target",29.106,0.055,23.765,3.247,0.1,0,1,0.861,1.161,null,null,0.2,"Manual","Manual",3,15,29.0505,{"$nulls":12},"mi157",0.19950377,0.249225122,0.14565541,0.1785231,0.132405782,0.162504341]
["Plate2",14,"B2","uva","spl15","Target",28.995,0.055,23.765,3.247,0.1,0,1,0.861,1.161,null,null,0.2,"Manual","Manual",3,15,{"$nulls":14},"RQ+","RQ-","RQ+","RQ-","RQ+","RQ-"]
["Plate2",15,"B3","blue","spl15","Target",29.141,0.229,23.832,-0.232,0.288,-3.478,11.146,7.356,16.888,null,null,0.2,"Manual","Manual",3,15,28.9115,{"$nulls":12},"spl9",0.7249657,1.379375603,5.175472165,6.438878882,4.446028484,6.615741245]
["Plate2",16,"B4","blue","spl15","Target",28.682,0.229,23.832,-0.232,0.288,-3.478,11.146,7.356,16.888,null,null,0.2,"Manual","Manual",3,15,{"$nulls":13},"spl15",0.702257635,1.423978823,2.944552036,4.304070863,2.285102647,3.68072771]
["Plate2",17,"B5","dark","spl15","Target",30.667,0.43,24.906,0.803,0.58,-2.444,5.441,2.358,12.554,null,null,0.2,"Manual","Manual",3,15,30.2365,{"$nulls":12},"mi157",0.80049623,1.249225122,0.645481891,0.969660401,0.582462823,0.877372946]
["Plate2",18,"B6","dark","spl15","Target",29.806,0.43,24.906,0.803,0.58,-2.444,5.441,2.358,12.554,null,null,0.2,"Manual","Manual",3,15]
["Plate2",25,"C1","uva","mi157","Target",31.079,1.282,24.026,2.299,0.209,0,1,0.744,1.345,null,null,0.2,"Manual","Manual",3,15,{"$nulls":9},0.036062,null,0.295504512,null,null,"ddct+as","ddct-as","ddct+as","ddct-as","ddct+as","ddct-as"]
["Plate2",26,"C2","uva","mi157","Target",33.643,1.282,24.026,2.299,0.209,0,1,0.744,1.345,null,null,0.2,"Manual","Manual",3,15,{"$nulls":9},0.115462837,null,0.241469,null,"spl9",0.464015355,-0.464015355,-2.371690487,-2.686809513,-2.152517191,-2.725902809]
["Plate2",27,"C3","blue","mi157","Target",30.222,2.599,24.385,1.296,0.469,-1.003,2.004,1.032,3.892,null,null,0.2,"Manual","Manual",3,15,{"$nulls":4},"ubq","stdev",null,0.284256926,null,0.125865007,null,0.241469391,null,"spl15",0.509927691,-0.509927691,-1.558048169,-2.105701831,-1.192258973,-1.879991027]
["Plate2",28,"C4","blue","mi157","Target",35.42,2.599,24.385,1.296,0.469,-1.003,2.004,1.032,3.892,null,null,0.2,"Manual","Manual",3,15,{"$nulls":5},"average stdev",null,0.321033487,null,0.293551474,null,0.295512126,null,"mi157",0.321033487,-0.321033487,0.631551474,0.044448526,0.779762126,0.188737874]
["Plate2",29,"C5","dark","mi157","Target",30.823,1.205,24.05,1.129,0.407,-1.17,2.25,1.265,4,null,null,0.2,"Manual","Manual",3,15,{"$nulls":4},"mi157","stdev",null,0.149199531,null,0.291327994,null,0.00212132]
["Plate2",30,"C6","dark","mi157","Target",33.233,1.205,24.05,1.129,0.407,-1.17,2.25,1.265,4,null,null,0.2,"Manual","Manual",3,15,{"$nulls":5},"average stdev",null,0.509927691,null,0.273826831,null,0.343866027]
["Plate2",85,"H1","uva","ubq","ENDO",20.392,0.077,19.516,{"$nulls":8},0.2,"Manual","Manual",3,15,20.4685,0.108187338,null,null,"spl15","stdev",null,0.423348851,null,0.248293106,null,0.244819457,{"$nulls":4},0.338,null,0.48425]
["Plate2",86,"H2","uva","ubq","ENDO",20.545,0.077,19.516,{"$nulls":8},0.2,"Manual","Manual",3,15,{"$nulls":5},"average stdev",null,0.464015355,null,0.157559513,null,0.286692809,{"$nulls":4},-1.831875,null,-1.536125]
["Plate2",87,"H3","blue","ubq","ENDO",20.308,0.089,20.416,{"$nulls":8},0.2,"Manual","Manual",3,15,20.397,0.125865007,null,null,"spl9","stdev",null,0.366753664,null,0.09477869,null,0.154548698,{"$nulls":4},-2.52925,null,-2.43921]
["Plate2",88,"H4","blue","ubq","ENDO",20.486,0.089,20.416,{"$nulls":8},0.2,"Manual","Manual",3,15,{"$nulls":6},"dark",null,"blue",null,"uv-a",{"$nulls":3},"dark","dark","blue ","blue","uv-a","uv-a"]
["Plate2",89,"H5","dark","ubq","ENDO",22.564,1.201,20.433,{"$nulls":8},0.2,"Manual","Manual",3,15,20.161,{"$nulls":4},"spl9",31.4965,11.3355,null,null,29.289,8.8205,null,"spl9",11.31475,null,8.7855,null,8.87554]
["Plate2",90,"H6","dark","ubq","ENDO",20.161,1.201,20.433,{"$nulls":8},0.2,"Manual","Manual",3,15,{"$nulls":6},31.437,11.294,29.2675,8.7855,29.28333,8.93058,null,"spl15",10.28275,null,8.450875,null,8.746625]
["Plate1",1,"A1","uva","spl9","Target",29.325,0.167,24.329,1.269,0.144,0,1,0.814,1.229,null,null,0.2,"Manual","Manual",3,15,29.28333333,{"$nulls":5},29.24,9.097,{"$nulls":5},"mi157",10.0485,null,10.3865,null,10.53275]
["Plate1",2,"A2","uva","spl9","Target",28.72,0.167,24.329,1.269,0.144,0,1,0.814,1.229,null,null,0.2,"Manual","Manual",3,15,{"$nulls":13},"spl9",null,1,null,5.772714996,null,5.423446692]
["Plate1",3,"A3","uva","spl9","Target",29.478,0.167,24.329,1.269,0.144,0,1,0.814,1.229,null,null,0.2,"Manual","Manual",3,15,{"$nulls":5},"spl15",30.2365,10.0755,28.9115,8.5145,29.0505,8.582,null,"spl15",null,1,null,3.55999447,null,2.900144933]
["Plate1",4,"A4","uva","spl9","Target",29.047,0.167,24.329,1.269,0.144,0,1,0.814,1.229,null,null,0.2,"Manual","Manual",3,15,{"$nulls":6},30.633,10.49,28.86925,8.38725,29.264,8.91125,null,"mi157",null,1,null,0.791137301,null,0.714868605]
["Plate1",5,"A5","blue","spl9","Target",29.249,0.048,24.902,1.099,0.214,-0.171,1.126,0.83,1.527,null,null,0.2,"Manual","Manual",3,15,29.2675,{"$nulls":5},29.5645,9.4215]
["Plate1",6,"A6","blue","spl9","Target",29.279,0.048,24.902,1.099,0.214,-0.171,1.126,0.83,1.527,null,null,0.2,"Manual","Manual",3,15,{"$nulls":18},"DARK",null,"BLUE",null,"UV-A"]
["Plate1",7,"A7","blue","spl9","Target",29.156,0.048,24.902,1.099,0.214,-0.171,1.126,0.83,1.527,null,null,0.2,"Manual","Manual",3,15,{"$nulls":5},"mi157",30.1915,10.0485,30.13,10.3865,30.8855,10.53275,{"$nulls":3},"Dark","Blue","UV-A","MI","MA","MI","MA","MI","MA"]
["Plate1",8,"A8","blue","spl9","Target",29.386,0.048,24.902,1.099,0.214,-0.171,1.126,0.83,1.527,null,null,0.2,"Manual","Manual",3,15,{"$nulls":6},32.905,12.762,34.779,15.0355,33.0505,12.69775,null,null,"SPL9",1,5.772714996,5.423446692,0.2750343,0.379375603,0.597242831,0.666163886,0.977418208,1.192294553]
["Plate1",9,"A9","dark","spl9","Target",31.707,0.645,25.588,1.238,0.472,-0.032,1.022,0.522,2.001,null,null,0.2,"Manual","Manual",3,15,31.437,{"$nulls":13},"SPL15",1,3.55999447,2.900144933,0.297742365,0.423978823,0.615442433,0.744076393,0.615042286,0.780582777]
["Plate1",10,"A10","dark","spl9","Target",31.167,0.645,25.588,1.238,0.472,-0.032,1.022,0.522,2.001,null,null,0.2,"Manual","Manual",3,15,{"$nulls":14},"mi157",1,0.791137301,0.714868605,0.19950377,0.249225122,0.14565541,0.1785231,0.132405782,0.162504341]
["Plate1",11,"A11","dark","spl9","Target",29.154,0.645,25.588,1.238,0.472,-0.032,1.022,0.522,2.001,null,null,0.2,"Manual","Manual",3,15,29.24]
["Plate1",12,"A12","dark","spl9","Target",29.326,0.645,25.588,1.238,0.472,-0.032,1.022,0.522,2.001,null,null,0.2,"Manual","Manual",3,15,null,null,"ubq"]
["Plate1",13,"B1","uva","spl15","Target",29.521,0.139,23.765,3.247,0.1,0,1,0.861,1.161,null,null,0.2,"Manual","Manual",3,15,29.264]
["Plate1",14,"B2","uva","spl15","Target",28.882,0.139,23.765,3.247,0.1,0,1,0.861,1.161,null,null,0.2,"Manual","Manual",3,15,null,null,0.122329473,0.135013]
["Plate1",15,"B3","uva","spl15","Target",29.407,0.139,23.765,3.247,0.1,0,1,0.861,1.161,null,null,0.2,"Manual","Manual",3,15]
["Plate1",16,"B4","uva","spl15","Target",29.246,0.139,23.765,3.247,0.1,0,1,0.861,1.161,null,null,0.2,"Manual","Manual",3,15,null,null,0.284256926,0.18102486]
["Plate1",17,"B5","blue","spl15","Target",28.938,0.129,23.832,-0.232,0.288,-3.478,11.146,7.356,16.888,null,null,0.2,"Manual","Manual",3,15,28.86925]
["Plate1",18,"B6","blue","spl15","Target",28.836,0.129,23.832,-0.232,0.288,-3.478,11.146,7.356,16.888,null,null,0.2,"Manual","Manual",3,15,null,null,0.284257,0.18458196]
["Plate1",19,"B7","blue","spl15","Target",29.163,0.129,23.832,-0.232,0.288,-3.478,11.146,7.356,16.888,null,null,0.2,"Manual","Manual",3,15]
["Plate1",20,"B8","blue","spl15","Target",28.54,0.129,23.832,-0.232,0.288,-3.478,11.146,7.356,16.888,null,null,0.2,"Manual","Manual",3,15,null,null,0,0.130107648]
["Plate1",21,"B9","dark","spl15","Target",30.703,0.324,24.906,0.803,0.58,-2.444,5.441,2.358,12.554,null,null,0.2,"Manual","Manual",3,15,30.633]
["Plate1",22,"B10","dark","spl15","Target",30.563,0.324,24.906,0.803,0.58,-2.444,5.441,2.358,12.554,null,null,0.2,"Manual","Manual",3,15]
["Plate1",23,"B11","dark","spl15","Target",29.798,0.324,24.906,0.803,0.58,-2.444,5.441,2.358,12.554,null,null,0.2,"Manual","Manual",3,15,29.5645]
["Plate1",24,"B12","dark","spl15","Target",29.331,0.324,24.906,0.803,0.58,-2.444,5.441,2.358,12.554,null,null,0.2,"Manual","Manual",3,15]
["Plate1",25,"C1","uva","mi157","Target",30.884,0.625,24.026,2.299,0.209,0,1,0.744,1.345,null,null,0.2,"Manual","Manual",3,15,30.8855]
["Plate1",26,"C2","uva","mi157","Target",30.887,0.625,24.026,2.299,0.209,0,1,0.744,1.345,null,null,0.2,"Manual","Manual",3,15]
["Plate1",27,"C3","uva","mi157","Target",33.041,0.625,24.026,2.299,0.209,0,1,0.744,1.345,null,null,0.2,"Manual","Manual",3,15,33.0505]
["Plate1",28,"C4","uva","mi157","Target",33.06,0.625,24.026,2.299,0.209,0,1,0.744,1.345,null,null,0.2,"Manual","Manual",3,15]
["Plate1",29,"C5","blue","mi157","Target",30.336,1.348,24.385,1.296,0.469,-1.003,2.004,1.032,3.892,null,null,0.2,"Manual","Manual",3,15,30.13]
["Plate1",30,"C6","blue","mi157","Target",29.924,1.348,24.385,1.296,0.469,-1.003,2.004,1.032,3.892,null,null,0.2,"Manual","Manual",3,15]
["Plate1",31,"C7","blue","mi157","Target",34.56,1.348,24.385,1.296,0.469,-1.003,2.004,1.032,3.892,null,null,0.2,"Manual","Manual",3,15,34.779]
["Plate1",32,"C8","blue","mi157","Target",34.998,1.348,24.385,1.296,0.469,-1.003,2.004,1.032,3.892,null,null,0.2,"Manual","Manual",3,15]
["Plate1",33,"C9","dark","mi157","Target",30.086,0.786,24.05,1.129,0.407,-1.17,2.25,1.265,4,null,null,0.2,"Manual","Manual",3,15,30.1915]
["Plate1",34,"C10","dark","mi157","Target",30.297,0.786,24.05,1.129,0.407,-1.17,2.25,1.265,4,null,null,0.2,"Manual","Manual",3,15]
["Plate1",35,"C11","dark","mi157","Target",33.012,0.786,24.05,1.129,0.407,-1.17,2.25,1.265,4,null,null,0.2,"Manual","Manual",3,15,32.905]
["Plate1",36,"C12","dark","mi157","Target",32.798,0.786,24.05,1.129,0.407,-1.17,2.25,1.265,4,null,null,0.2,"Manual","Manual",3,15]
["Plate1",85,"H1","uva","ubq","ENDO",20.492,0.148,19.516,{"$nulls":8},0.2,"Manual","Manual",3,15,20.35275,0.295504512,0.241469391]
["Plate1",86,"H2","uva","ubq","ENDO",20.703,0.148,19.516,{"$nulls":8},0.2,"Manual","Manual",3,15]
["Plate1",87,"H3","uva","ubq","ENDO",20.115,0.148,19.516,{"$nulls":8},0.2,"Manual","Manual",3,15]
["Plate1",88,"H4","uva","ubq","ENDO",20.101,0.148,19.516,{"$nulls":8},0.2,"Manual","Manual",3,15]
["Plate1",89,"H5","blue","ubq","ENDO",20.574,0.217,20.416,{"$nulls":8},0.2,"Manual","Manual",3,15,20.482,0.130107648]
["Plate1",90,"H6","blue","ubq","ENDO",20.39,0.217,20.416,{"$nulls":8},0.2,"Manual","Manual",3,15,null,null,0.135012962]
["Plate1",91,"H7","blue","ubq","ENDO",19.718,0.217,20.416,{"$nulls":8},0.2,"Manual","Manual",3,15,19.7435,0.036062446]
["Plate1",92,"H8","blue","ubq","ENDO",19.769,0.217,20.416,{"$nulls":8},0.2,"Manual","Manual",3,15]
["Plate1",93,"H9","dark","ubq","ENDO",22.531,0.67,20.433,{"$nulls":8},0.2,"Manual","Manual",3,15,22.4445,0.122329473]
["Plate1",94,"H10","dark","ubq","ENDO",22.358,0.67,20.433,{"$nulls":8},0.2,"Manual","Manual",3,15]
["Plate1",95,"H11","dark","ubq","ENDO",19.942,0.67,20.433,{"$nulls":8},0.2,"Manual","Manual",3,15,20.143,0.284256926]
["Plate1",96,"H12","dark","ubq","ENDO",20.344,0.67,20.433,{"$nulls":8},0.2,"Manual","Manual",3,15]
{"$rows_empty":147}
[{"$nulls":24},"blue"]
[{"$nulls":24},-3.047]
[{"$nulls":24},-0.618]
[{"$nulls":24},-4.207]
[{"$nulls":24},-2.349]
{"$rows_empty":40}
[{"$nulls":25},-3.346]
[{"$nulls":25},-0.807]
[{"$nulls":25},-3.461]
[{"$nulls":25},-2.157]
{"$rows_empty":59}
[{"$nulls":26},"uva"]
[{"$nulls":26},0.921,0.371]
[{"$nulls":26},-0.27,-0.202]
[{"$nulls":26},-1.163,-1.438]
[{"$nulls":26},-1.983,-2.239]

{"sheet":"t-test","index":1,"n_rows":21,"n_cols":11,"rows_kept":21,"flags":["formulas_cached_only"]}
["uv-a","uv-a",null,"dct","2-dct","ddct","2-ddct","averageddct",null,null,"T-test(UV-A vs. Dark)"]
[null,31.079,20.392,10.687000000000001,0.0006065860750900579,0.02500000000000213,0.9828205985452496,1.3161666666666676,0.4016006009778361,null,0.025873413665376602]
[null,33.643,20.545,13.097999999999999,0.00011405363121132576,2.429000000000002,0.18569411508260333]
[null,30.884,20.492,10.392,0.0007442113429393408,0.2480000000000011,0.8420629536084153]
[null,30.887,20.703,10.184000000000001,0.0008596279429327641,0.23100000000000165,0.852044095074865,{"$nulls":3},"T-test(Blue light vs. Dark)"]
[null,33.041,20.115,12.925999999999998,0.00012849501400261714,2.4449999999999967,0.18364607915978906,{"$nulls":3},0.12859877976312475]
[null,33.06,20.101,12.959000000000003,0.00012558919774091469,2.519000000000002,0.17446384551527058]
[]
["blue",30.222,20.308,9.914000000000001,0.0010365461024900333,-0.7479999999999976,1.6794629858882777,1.9776666666666671,0.25390018183921287]
[null,35.42,20.486,14.934000000000001,3.194611456221241e-05,4.265000000000004,0.05201242091947015]
[null,30.336,19.769,10.567,0.0006591982349232156,0.4230000000000018,0.7458720133457319]
[null,29.924,19.718,10.206,0.0008466187143698119,0.2530000000000001,0.8391496371065416]
[null,34.56,20.39,14.170000000000002,5.425065192667047e-05,3.689,0.07753545610721183]
[null,34.998,20.574,14.423999999999996,4.549287069088513e-05,3.9839999999999947,0.06319700505320676]
[]
["dark",30.823,20.161,10.661999999999999,0.0006171890129164104,0,1,0,1]
[null,33.233,22.564,10.668999999999997,0.0006142016464043069,0,1]
[null,30.086,19.942,10.143999999999998,0.0008837953739090884,0,1]
[null,30.297,20.344,9.953,0.001008900769222786,0,1]
[null,33.012,22.531,10.481000000000002,0.0006996883058462397,0,1]
[null,32.798,22.358,10.440000000000001,0.0007198580162554204,0,1]