.

Table S1 qPCR reaction system

| Component | Volume |
| --- | --- |
| 2× SYBR Green Pro Taq HS Premix | 10 μL |
| Primer F (10 μM) | 0.4 μL |
| Primer R (10 μM) | 0.4 μL |
| Template | 2 μL |
| RNase-free water | up to 20 μL |

Table S2 Conditions for qPCR reaction

| Reaction stage | Temperature | Time | Cycles |
| --- | --- | --- | --- |
| Pre-denaturation | 95℃ | 30 s | 1 |
| Amplification | 95℃ | 5 s | 40 |
|  | 65℃a | 30 s |  |
| Melting curve | 95℃ | 30 s | 1 |
|  | 65℃ | 30 s |  |
|  | 95℃b | - |  |
| Condensation | 40℃ | 10 s | - |

aWhen setting the annealing temperature of the amplification stage to 65°C, ‘Single’ must be selected for the Acquisition Mode to ensure fluorescence signals will be collected during this period.

bContinuous must be selected for the acquisition mode of the second 95°C stage of the melting curve without setting the time.