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Table S1 qPCR reaction system
	Component 
	Volume

	2× SYBR Green Pro Taq HS Premix
	10 μL

	Primer F (10 μM)
	0.4 μL

	Primer R (10 μM)
	0.4 μL

	Template
	2 μL

	RNase-free water
	up to 20 μL




Table S2 Conditions for qPCR reaction
	Reaction stage
	Temperature 
	Time
	Cycles

	Pre-denaturation
	95℃
	30 s
	1

	Amplification
	95℃
	5 s
	40

	
	65℃a
	30 s
	

	Melting curve
	95℃
	30 s
	1

	
	65℃
	30 s
	

	
	95℃b
	-
	

	Condensation
	40℃
	10 s
	-


aWhen setting the annealing temperature of the amplification stage to 65°C, ‘Single’ must be selected for the Acquisition Mode to ensure fluorescence signals will be collected during this period.
bContinuous must be selected for the acquisition mode of the second 95°C stage of the melting curve without setting the time.

