BMC Plant Biology

Quantitative analysis of ethylene precursor ACC in plant samples by liquid chromatography-tandem mass spectrometry

Jianhua Tong a,1, Wenkui Zhao b,1, Keming Wang c, Feiying Zhud, Danyi Denga, Langtao Xiao a *

a Hunan Provincial Key Laboratory of Phytohormones and Growth Development, College of Bioscience and Biotechnology, Hunan Agricultural University, Changsha 410128, China

b College of Chemistry and Materials, Hunan Agricultural University, Changsha 410128, China

c Assets and Laboratory Management Department, Hunan Agricultural University, Changsha 410128, China

d Hunan Academy of Agricultural Sciences, Changsha, 410125, China

*Corresponding author: Langtao Xiao

E-mail: ltxiao@hunau.edu.cn

The Supplementary material includes following items:

| Page 2 | Table S1. The extraction efficiency of ACC by different extraction conditions. |
| --- | --- |
| Page 3 | Fig. S1 The extraction ion chromatograms of ACC (A) and [2H4]ACC (B) by UPLC-ESI-MS/MS, calibration curve for ACC (C), respectively. |
| Page 4 | Fig. S2 The extraction ion chromatograms of ACC measured in various fruits’ extracts by UHPLC-ESI-MS/MS. |
| Page 5 | Fig. S3 1-Aminocyclopropane-1-carboxylic acid (ACC) oxidized to ethylene by ACC oxidase (ACO), and ACC conjugated to three derivates: 1-malonyl-ACC (MACC) by the ACC-N-malonyl transferase (AMT), r-glutamyl-ACC (GACC) by g-glutamyl-transferase (GGT), and jasmonyl-ACC (JA-ACC) by jasmonic acid resistance1 (JAR1) [32, 33]. |

Table S1. The extraction efficiency of ACC at different extraction conditions

| Extraction solvent | Extraction efficiency (%) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | vortex-shaken time (min)a |  |  | Solvent volume (μL)b |  |  | Extraction temperature (°C)c |  |  |
|  | 1 | 2 | 5 | 100 | 200 | 400 | 4 | 15 | 25 |
| Ethyl acetate | 99.42 | 98.93 | 99.12 | 99.35 | 99.51 | 99.60 | 99.33 | 99.45 | 99.39 |
| Chloroform | 97.92 | 98.03 | 97.26 | 98.43 | 97.09 | 99.24 | 98.24 | 99.02 | 98.17 |
| N-hexane | 92.05 | 93.17 | 92.16 | 91.80 | 92.15 | 92.64 | 91.84 | 92.07 | 91.40 |
| Petroleum ether | 99.08 | 98.93 | 98.24 | 98.67 | 98.79 | 99.41 | 98.03 | 98.72 | 98.93 |

The ACC standard solutions at a concentration of 100 ng.mL-1 were extracted with different extraction conditions, then detected the content of ACC in the organic phase or the aqueous phase, and obtained the extraction efficiency of ACC. The results were the average of three replicates. a, The other extraction conditions were 100 μL at room temperature. b, The other extraction conditions were 1 min at room temperature. c, The other extraction conditions were 100 μL and 1 min.

Fig. S1 The extraction ion chromatograms of ACC (A) and [2H4]ACC (B) by UPLC-ESI-MS/MS, calibration curve for ACC (C), respectively.

Fig. S2 The extraction ion chromatograms of ACC measured in various fruits’ extracts by UHPLC-ESI-MS/MS.

Fig. S3 1-Aminocyclopropane-1-carboxylic acid (ACC) oxidized to ethylene by ACC oxidase (ACO), and ACC conjugated to three derivates: 1-malonyl-ACC (MACC) by the ACC-N-malonyl transferase (AMT), r-glutamyl-ACC (GACC) by g-glutamyl-transferase (GGT), and jasmonyl-ACC (JA-ACC) by jasmonic acid resistance1 (JAR1) [70, 71].